OPEN ACCESS CHARGES NOTIFICATION

Surcharge, Wheeling Charge & Transmission Charge for HT & EHT Open Access Consumers 1MW & above and for LT Green Energy Open Access Consumers of 100 kW and above.  

EFFECTIVE FROM 1st April, 2026
In exercise of the powers conferred under Sections 39,40 and 42 of the Electricity Act, 2003 read with the provisions of  OERC (Terms and Conditions of Intra State  Open Access) Regulations, 2020, the Odisha Electricity Regulatory Commission has passed Common Order on 24.03.2025 in Case Nos. 137,126,130,134,138,127,131,135 of 2025 with regard to approval of Open Access Charges (Transmission/wheeling Charges, Surcharge and Additional Surcharge) applicable to Open Access customers at HT EHT level and Green Energy Open Access customers at LT level for use of Intra-state transmission/ distribution system which shall be effective from 1st April, 2026.

1. The wheeling charge and surcharge as indicated in Table below shall be applicable w.e.f. 01.04.2026.
Surcharge, Wheeling Charge & Transmission Charge for HT & EHT Open Access Consumers of 1MW & above and for LT Green Energy Open Access Consumers of 100 kW and above
	Name of the licensee 
	Cross Subsidy Surcharge (P/U)
	 Wheeling Charge P/U applicable to HT & LT Consumers
	 Transmission Charges for Open Access Customer (applicable for HT & EHT Consumers) 

	
	 EHT 
	 HT 
	 LT 
	
	

	TPCODL
	151.83
	56.42
	112.90
	116.56
	The Open Access customer availing Open Access shall pay Rs.5760/MW-day (Rs.240/MWh) as transmission charges.

	TPNODL
	142.73
	1.63
	34.39
	180.86
	

	TPWODL
	118.23
	17.26
	24.49
	120.90
	

	TPSODL
	250.53
	106.02
	140.34
	197.32
	


2. The normative transmission loss at EHT (3.0%) and normative wheeling loss for HT level (7.0%) are applicable for the year 2026-27.
3. Additional Surcharge: No additional surcharge over and above the Cross-Subsidy Surcharge needs to be paid to the embedded licensee. 
4. The Consumers availing renewable power through Open Access shall have to pay the transmission charge, wheeling charge and cross subsidy surcharge as applicable to Consumers availing conventional power.
Exemption under Odisha renewable Energy Policy 2022:

(1) Fifty percent (50%) of Cross-subsidy surcharge are payable by the Open Access Consumers, on consumption of energy from RE projects commissioned in the State during the policy period for fifteen (15) years.

(2) No Cross-subsidy surcharge are payable by the Industries in the State availing Renewable power from GRIDCO (with GRIDCO acting as a demand aggregator).

(3) 25% exemption on Wheeling Charges shall be provided to Captive / Open Access Consumers on consumption of energy from RE projects commissioned in the state during the during the RE Policy period for Fifteen (15) years. 

(4) OPTCL shall provide exemption of twenty (20) paise per unit on STU (Transmission) charges to captive/open access Consumers on consumption of energy from RE projects commissioned in the State during the policy period for fifteen (15) years. This exemption shall be extended for five (5) more years in case of projects commissioned before 31.03.2026.
(5) No Cross Subsidy surcharge and wheeling charge shall be levied on purchase of power by EV charging stations through Open Access from renewable energy plants located in Odisha for 10 years.
These charges as notified for FY 2026-27 will remain in force until further order.

********

