## TPWODL
33KV Planned Outages Report For the Month of JULY 2022
From Date:- 01-07-2022 to 31-07-2022 OUTAGE REQUESTED ON ACCOUNT OF TPWODL
SL No- | Name of the Circle | Name of the Division | 220/132/33kV GSS Name | Name of the 33kV feeder | Date of Outage | Isolation Time | Restoration Time | Name of Outage taken Person | Affected Load in MW | Reason of Outage | Key Areas Affected | Remarks | PRESS NOTE RELEASE REQUIREMENT (YES/NO)
1 | KALAHANDI | NUAPADA | 132/33kV Khariar GSS | Old Nuapada (Komna) | 2022-07-02 | 8:00 | 13:00 | Mr. Abinash Biswal | 9 | Feeder Maintenance | Bargaon, Komna, Kurumpuri, Batibahal etc. | Bargaon, Batibahal, Komna, Kurumpuri PSS under Outage | NO
2 | BOLANGIR | SONEPUR | SONEPUR | CHARBHATA FDR | 2022-07-02 | 8:00 | 10:00 | SDO SONEPUR | 4 | Tree Trimming,AB Switch Repairing,Pin Insulator Replacement | Tarva,Dubla,Charvata |  | NO
3 | ROURKELA | RED RKL | 132/33KV ROURKELA | 33KV JAREIKELA | 2022-07-03 | 8:00 | 14:00 | SDO,BISRA | 0 | Pin Insulator Replacement and Tree Trimming | No Area Affected |  | NO
4 | ROURKELA | RED Rajgangpur | 132/33KV KALUNGA | 33KV BALANDA | 2022-07-04 | 9:00 | 12:00 | SDO,KALUNGA | 2 | Rejumpering Work,Pin Insulator Replacement | BALANDA SECTION |  | NO
5 | SAMBALPUR | JED | 132/33KV BUDHIPADAR | 33KV BAGDIHI | 2022-07-05 | 8:00 | 13:00 | SDO-1 JHARSUGUDA | 2 | Line Maintenance(Disc &Pin replacement) , IOCL | IOCL |  | NO
6 | SAMBALPUR | JED | 132/33KV KHANDOKATA | 33KV KUSUMI | 2022-07-05 | 10:00 | 13:00 | SDO KUCHINDA | 0.1 | Line Maintenance ,Tree trimming ,Pin insulator checking,V cross arm | PSS KUSUMI,BORDA |  | NO
7 | ROURKELA | RED Rajgangpur | 132/33KV CHHEND | 33KV VEDVYAS | 2022-07-05 | 8:00 | 10:00 | SDO,KALUNGA | 8 | Rejumpering Work ,Tree Trimming work | KALUNGA INDUSTRIALS |  | NO
8 | ROURKELA | SED | 132/33KV SUNDARGARH(SANKARA) | 33KV KINJRIKELA | 2022-07-05 | 8:00 | 12:00 | SDO,UJALPUR | 2 | AB Switch Installation work and Pin Insulator Replacement | Koida Section Area |  | NO
9 | KALAHANDI | KWED | 33/11kV Dharamgarh PSS | Golamunda | 2022-07-05 | 8:00 | 13:00 | Mr. Gupta Prasad Tripathy | 3 | Pole Straightening, Tree Trimming & feeder maintenance | Tumura, Chapria, Golamunda, Kegaon, Lanji, Badchergaon | Golamunda & Kegaon Under Outage | NO
10 | SAMBALPUR | SEED | 132/33 KV GANESH NAGAR | 33KV IOCL | 2022-07-06 | 8:00 | 14:00 | SDO DHANUPALI | 2 | LINE MAINTENANCE & REPLACEMENT OF LA | IOCL |  | NO
11 | SAMBALPUR | JED | 132/33KV SARASMAL | 33KV SARBAHAL | 2022-07-06 | 8:00 | 13:00 | SDO-2 JHARSUGUDA | 6 | AB SWITCH ,ISOLATOR REPAIRING,V CROSS ARM STRAIGHTENING | SARBAHAL PSS |  | NO
12 | ROURKELA | RED Rajgangpur | 132/33KV CHHEND | 33KV BIRMITRAPUR(RAIBOGA) | 2022-07-06 | 8:00 | 12:00 | SDO,KUARMUNDA | 2 | Tree Trimming and Rejumpering work at PSS | RAIBOGA AREA |  | NO
13 | ROURKELA | RSED RKL | 132/33KV ROURKELA | 33KV LATHIKATA | 2022-07-06 | 9:00 | 13:00 | SDO.PANPOSH | 9 | Pole Straighteening,PSS Maintenance Work | LATHIKATA,RAMJODI,SUIDIHI |  | NO
14 | KALAHANDI | NUAPADA | 132/33kV Khariar GSS | Old Nuapada (Komna) | 2022-07-06 | 8:00 | 13:00 | Mr. Abinash Biswal | 9 | Feeder Maintenance | Bargaon, Komna, Kurumpuri, Batibahal etc. | Bargaon, Batibahal, Komna, Kurumpuri PSS under Outage | NO
15 | KALAHANDI | KWED | 33/11kV Dharamgarh PSS | Golamunda | 2022-07-06 | 8:00 | 13:00 | Mr. Gupta Prasad Tripathy | 3 | Pole Straightening, Tree Trimming & feeder maintenance | Tumura, Chapria, Golamunda, Kegaon, Lanji, Badchergaon | Golamunda & Kegaon Under Outage | NO
16 | KALAHANDI | KEED | 132/33kV Bhawanipatna GSS | Town No.1 (Kusadunguri) | 2022-07-06 | 8:00 | 14:00 | Mr. Rajesh Ku. Mishra | 5 | Line AB Switch installation & feeder maintenance | Raisingpur, Kusadunguri, College square etc. | Raisingpur & Kusadunguri PSS under Outage | NO
17 | SAMBALPUR | JED | 132/33KV KHANDOKATA | 33KV LAIKERA | 2022-07-07 | 8:00 | 13:00 | SDO-2 JHARSUGUDA | 0 | AB SWITCH ,ISOLATOR REPAIRING,V CROSS ARM STRAIGHTENING | NO AREA AFFECTED ,BACK FEEDING FROM OTHER SOURCE |  | NO
18 | ROURKELA | RED RKL | 33/11KV NIT | 33KV PGCIL | 2022-07-07 | 8:00 | 14:00 | SDO,BISRA | 1 | Tree Trimming & Maintenance activities | PGCIL PSS |  | NO
19 | KALAHANDI | NUAPADA | 33/11kV Khariar PSS | Sinapali | 2022-07-07 | 8:00 | 12:00 | Mr. Sukhyat Dev Parida | 6 | Feeder Maintenance | Sinapali, Hatibandh, Kendumunda | Sinapali PSS Under Outage | NO
20 | KALAHANDI | KWED | 33/11kV Dharamgarh PSS | Golamunda | 2022-07-07 | 8:00 | 13:00 | Mr. Gupta Prasad Tripathy | 3 | Pole Straightening, Tree Trimming & feeder maintenance | Tumura, Chapria, Golamunda, Kegaon, Lanji, Badchergaon | Golamunda & Kegaon Under Outage | NO
21 | KALAHANDI | KEED | 132/33kV Kesinga GSS | Bhawanipatna No.1 | 2022-07-07 | 9:00 | 14:00 | Mr. Ajit Sahu | 3.5 | Intermediate Pole erection | Utkela, Kundabandh, Pastikudi | Utkela PSS under Outage | NO
22 | SAMBALPUR | SEED | 132/33 KV MANESWAR | 33KV PADIABAHAL | 2022-07-08 | 8:00 | 14:00 | SDO DHANUPALI | 7.5 | LINE MAINTENANCE & TREE BRANCHES TRIMMING | PSS-PADIABAHAL,HERO |  | NO
23 | SAMBALPUR | JED | 132/33KV BUDHIPADAR | 33KV AIRPORT | 2022-07-08 | 8:00 | 13:00 | SDO-1 JHARSUGUDA | 0 | Pin insulator maintenance | NO AREA AFFECTED ,BACK FEEDING FROM OTHER SOURCE |  | NO
24 | ROURKELA | RED Rajgangpur | 132/33KV KALUNGA | 33KV KALUNGA INDUSTRIAL | 2022-07-08 | 9:00 | 12:00 | SDO,KALUNGA | 9 | Isolator Maintenance and Rejumpering Work | KUARMUNDA |  | NO
25 | ROURKELA | RED RKL | 33/11KV NIT | 33KV PGCIL | 2022-07-08 | 8:00 | 14:00 | SDO,BISRA | 1 | Tree Trimming & Feeder Maintenance | PGCIL PSS |  | NO
26 | KALAHANDI | KWED | 220/132/33kV Baner GSS | Temra (Ladugaon) | 2022-07-08 | 8:00 | 13:00 | Mr. Deepak Ku. Sahoo | 1.5 | Tree Trimming & Line Maintenance | Kenduguda, Temra, Kulerguda | Only Temra PSS under Outage | NO
27 | KALAHANDI | NUAPADA | 132/33kV Bhera GSS | Khariar Road | 2022-07-08 | 8:00 | 13:00 | Mr. Pradipta Khilar | 10 | Line Maintenance & Tree Trimming | Khariar road town, Nuapada town, Sarabong etc. | Kh. Road PSS, Nuapada & Sarabong PSS under Outage | NO
28 | KALAHANDI | KEED | 132/33kV Kesinga GSS | Narla | 2022-07-08 | 8:00 | 14:00 | Mr. Kamalesh Kumar Pradhan | 15 | Pole Straightening, Line Maintenance & Tree Trimming | Narla, Madanpur, M.Rampur, Rupra Road, Chhatiguda, Biswanathpur, Lanjigarh, Bandhapari, Musanal, Balipada, Kamarda, Urladani, Mohangiri etc. | Narla, Madanpur, M.Rampur, Banjamunda, Biswanathpur, Lanjigarh, Bandhapari, Rupra-Road, M/S Harapriya Agro Under Outage | NO
29 | BOLANGIR | SONEPUR | BARPALLI | PANDKITAL FDR | 2022-07-08 | 8:00 | 10:00 | SDO BINKA | 13 | Tree Trimming,V Cross Arm Straightening,Isolator repairing,Jumper tightness,Socket Replacement in Pandkital PSS | Julunda,Kapasira,Salepali,Tamaura |  | No
30 | KALAHANDI | KWED | 132/33kV Tentulikhunti GSS | Mukhiguda | 2022-07-09 | 9:00 | 14:00 | Mr. Deepak Ku. Sahoo | 2 | Tree Trimming & Feeder Maintenance | Mukhiguda, Mahulpatna, Mangalpur & Megalift Chhatabanduguda & Chandpur | Only Mukhiguda PSS & two HTC under Outage | NO
31 | KALAHANDI | NUAPADA | 132/33kV Khariar GSS | Khariar No. 2 | 2022-07-09 | 8:00 | 12:00 | Mr. Sukhyat Dev Parida | 10 | Feeder Maintenance | Khariar, Badi, Sindheikela, Borda etc. | Khariar (Partly), Badi, Muribahal, Sindeikela & Borda under Outage | NO
32 | BOLANGIR | SONEPUR | SONEPUR | MURSHUNDI FDR | 2022-07-09 | 8:00 | 10:00 | SDO-BMPUR | 4 | Tree trimming,AB Switch Repairing,Jumper Tightness in Mursundi PSS | Bithipadar,Khandahota,Manipur,Mursundi |  | No
33 | BARGARH | BWED, Bargarh | Ghenss 132/33KV GSS | 33KV Melchamunda (Ghenss GSS to Melchamunda PSS) | 2022-07-09 | 7:00 | 11:00 | Sujit Behera (SDO of Padampur Sub-Division) | 10 | PSS maintenance work | Melchamunda and Kundakhai PSS remain shutdown | Outage from GSS | NO
34 | BARGARH | BED, Bargarh | Pradhanpali 132/33KV GSS | 33KV Town | 2022-07-09 | 8:00 | 10:00 | Rashmi Ranjan Jena (SDO of Bargarh-1 Sub-division) | 18 | Feeder and PSS maintenance | 11KV Town-1,Town-2,Bandhutikra,Pvt. Bus stand and Govindpali feeder | Outage from GSS | Yes
35 | SAMBALPUR | DED | 132/33KV RENGALI | 33KV BUDHAPAL | 2022-07-10 | 7:00 | 14:00 | SDO DEOGARH | 1.5 | Line Maintenance ,Tree trimming ,Pin insulator checking,V cross arm | PSS-BUDHAPAL,AREA-PALASAMA,BUDHAPAL,KHILEI |  | NO
36 | BARGARH | BWED, Bargarh | Padampur 132/33KV GSS | 33KV Lakhmara | 2022-07-10 | 7:00 | 11:00 | Sujit Behera (SDO of Padampur Sub-Division) | 3.5 | Tree trimming and pin insulator replacement work | Sambalpuri and Badikata area | Outage from GSS | NO
37 | SAMBALPUR | JED | 132/33KV KHANDOKATA | 33KV JAMANKIRA | 2022-07-11 | 10:00 | 13:00 | SDO KUCHINDA | 0.2 | Line Maintenance ,Tree trimming ,Pin insulator checking,V cross arm | PSS BHOJPUR,JAMANKIRA |  | NO
38 | ROURKELA | RED Rajgangpur | 132/33KV CHHEND | 33KV PURUNAPANI | 2022-07-11 | 8:00 | 12:00 | SDO,KUARMUNDA | 2 | Rejumpering work and Tree Trimming | HATIBARI AND NUAGAON |  | NO
39 | KALAHANDI | KWED | 132/33kV Bhawanipatna GSS | Bhawanipatna | 2022-07-11 | 8:00 | 13:00 | Mr. Suren Rout | 1.5 | Feeder Maintenance | KGN Gas & Rabin Food under Outage | No PSS under Outage | NO
40 | BARGARH | BED, Bargarh | Pradhanpali 132/33KV GSS | 33KV Four Pole (Baragad 4P to Tangerpali) | 2022-07-11 | 7:00 | 11:00 | Bijay Tiwary (SDO of Bargarh-2 Sub-Division) | 12 | Maintenance of 33KV feeder | Kamgaon and Tangerpali PSS remain shutdown | Outage from GSS | NO
41 | SAMBALPUR | JED | 132/33KV KHANDOKATA | 33KV LAIKERA | 2022-07-12 | 8:00 | 13:00 | SDO-2 JHARSUGUDA | 2 | AB SWITCH ,ISOLATOR REPAIRING,V CROSS ARM STRAIGHTENING | SODAMAL PSS |  | NO
42 | ROURKELA | RSED RKL | 132/33KV ROURKELA | 33KV PILOT PROJECT | 2022-07-12 | 9:00 | 13:00 | SDO,INDUSTRIAL ESTATE | 4 | Intermediate Pole Erection and Tree Trimming | Industrial Estate Area |  | NO
43 | KALAHANDI | KWED | 220/132/33kV Baner GSS | Ladugaon | 2022-07-12 | 8:00 | 13:00 | Mr. Deepak Ku. Sahoo | 0 | Line Maintenance | No Area under Outage | No PSS under Outage | NO
44 | BOLANGIR | BALANGIR | LALTIKRA | TITLAGARH INCOMING FDR | 2022-07-12 | 8:00 | 10:00 | SDO-1 BALANGIR | 8 | Tree Trimming,V Cross Arm Straightening AB Switch Repairing,Jumper Tightness in Industrial Estate PSS | Palaceline,Ichapada,Khujenpali,ShastriNagar,RTO Chowk |  | No
45 | BARGARH | BWED, Bargarh | Barpali 132/33KV GSS | 33KV Agalpur(Melchamunda) Barpali GSS to Charmunda PSS | 2022-07-12 | 10:00 | 14:00 | Guru Charan Sahu (SDO of Barpali Sub-Division) | 4.8 | Tree trimming and pin insulator replacement work | Agalpur,Tinkani and Sujia | Outage from GSS | NO
46 | SAMBALPUR | BNED Brajrajnagar | 132/33KV Remja | 33kv OPGC | 2022-07-13 | 8:00 | 11:00 | SDO BELPAHAR | 0.5 | Line Maintenance,PSS-BANDHBAHAL,PANDRI | Bandhabahal to tilia |  | NO
47 | SAMBALPUR | JED | 132/33KV BUDHIPADAR | 33KV BAGDIHI | 2022-07-13 | 8:00 | 13:00 | SDO-1 JHARSUGUDA | 2 | AB SWITCH ,ISOLATOR REPAIRING,V CROSS ARM STRAIGHTENING | IOCL |  | NO
48 | ROURKELA | RED Rajgangpur | 132/33KV CHHEND | 33KV BIRAMITRAPUR O/G | 2022-07-13 | 8:00 | 12:00 | SDO,KUARMUNDA | 7 | Rejumpering Work and Tree Trimming | INDUSTRIAL AREA |  | NO
49 | ROURKELA | RSED RKL | 220/33KV BONAI | 33KV K BOLANGA | 2022-07-13 | 8:00 | 14:00 | SDO,BONAI | 2 | Tree Trimming and PSS Maintenance | K BOLANGA SECTION |  | NO
50 | ROURKELA | SED | 132/33KV BRAJRAJNAGAR | 33KV ARYAN | 2022-07-13 | 8:00 | 11:00 | SDO,UJALPUR | 6 | Tree Trimming & Straighteening of V-Cross Arm | Beleimunda,ACB India, Hemgiri |  | NO
51 | KALAHANDI | KEED | 132/33kV Bhawanipatna GSS | Town No. 2 | 2022-07-13 | 8:00 | 13:00 | Mr. Bijaya Kumar Mohapatra | 5 | Line Maintenance & Tree Trimming | Medical, TV Center pada, Satsanga bihar, SP/Collector office, Jail etc | Naktiguda (Partly) under Outage. | NO
52 | KALAHANDI | NUAPADA | 132/33kV Bhera GSS | Bisora | 2022-07-13 | 8:00 | 13:00 | Mr. Pradipta Khilar | 4 | Feeder Maintenance | Bisora, Bhaleswar, Beltukuri | Bisora PSS & Saipala PSS under Outage | NO
53 | BARGARH | BWED, Bargarh | Padampur 132/33KV GSS | 33KV Paikmal (Metalpali 4Pole to Mandosil PSS) | 2022-07-13 | 10:00 | 14:00 | Purandar sahu (SDO of Paikmal Sub-Division) | 2.5 | Tree trimming work & Line Maintenance | PSS Affected- Paikmal, Mandosil, Jhitki, Jharbandh, Dava, Dungripali | Outage from 4Pole AB Switch | NO
54 | BARGARH | BED, Bargarh | Pradhanpali 132/33KV GSS | 33KV Dungri (Bhatli PSS to Bhukta PSS) | 2022-07-13 | 10:00 | 14:00 | Subrat Ku. Seth (SDO of Bhatli Sub-division) | 6.8 | Tree trimming work & Line Maintenance | All 04Nos PSS name Bhukta,Ambabhona,Kandpala and Dungri PSS remain shutdown. | Outage from GSS | NO
55 | SAMBALPUR | JED | 132/33KV KHANDOKATA | 33KV KESEIBAHAL | 2022-07-14 | 10:00 | 13:00 | SDO KUCHINDA | 0.2 | Line Maintenance ,Tree trimming ,Pin insulator checking,V cross arm | PSS KESEIBAHAL,ARDABAHAL,GOCHRA |  | NO
56 | KALAHANDI | KWED | 33/11kV Golamunda PSS | Kegaon | 2022-07-14 | 8:00 | 13:00 | Mr. Gupta Prasad Tripathy | 2 | Line Maintenance & Tree Trimming | Kegaon, Lanji, Badchergaon | Only Kegaon PSS under Outage | NO
57 | KALAHANDI | KEED | 132/33kV Kesinga GSS | Bhawanipatna No.2 | 2022-07-14 | 9:00 | 14:00 | Mr. Ajit Sahu | 2 | Feeder Maintenance | Consumers- Airstrip (Utkela), Baishali Water Industry, Basudev Foods, Radio Station | No PSS under Outage | NO
58 | BARGARH | BED, Bargarh | Pradhanpali 132/33KV GSS | 33KV Turunga | 2022-07-14 | 9:00 | 14:00 | Bijay Tiwary (SDO of Bargarh-2 Sub-Division) | 12 | Tree trimming and pin insulator replacement work | 11KV Industrial-New,Industrial-Old,Town,Deogaon,Sohela and Barpali | Outage from GSS | NO
59 | SAMBALPUR | SEED | 132/33 KV GANESH NAGAR | 33 KV RENGALI-SBP(SASON) | 2022-07-15 | 8:00 | 14:00 | SDO RENGALI | 10 | LINE MAINTENANCE & TREE BRANCHES TRIMMING | PSS-SASON,PARMANPUR |  | NO
60 | SAMBALPUR | BNED Brajrajnagar | 132/33KV Remja | 33kv Brajarajnagar | 2022-07-15 | 8:00 | 11:00 | SDO BRAJARAJNAGAR | 0.3 | Line Maintenance,PSS-BRAJRAJNAGAR | Brajarajnagar areas |  | NO
61 | SAMBALPUR | JED | 132/33KV SARASMAL | 33KV AIRPORT | 2022-07-15 | 8:00 | 13:00 | SDO-1 JHARSUGUDA | 0 | Pin insulator maintenance | NO AREA AFFECTED ,BACK FEEDING FROM OTHER SOURCE |  | NO
62 | ROURKELA | RSED RKL | 132/33KV ROURKELA | 33KV IDC | 2022-07-15 | 8:00 | 11:00 | SDO,INDUSTRIAL ESTATE | 10 | Automation work,Panposh PSS Conductor Upgradtion | PANPOSH,CIVIL TOWNSHIP,JP HOSPITAL |  | NO
63 | ROURKELA | RSED RKL | 220/33KV BONAI | 33KV BONAI(GURUNDIA) | 2022-07-15 | 8:00 | 16:00 | SDO,BONAI | 2 | Pin Insulator Replacement and Tree Trimming | GURUNDIA BLOCK AREA |  | NO
64 | KALAHANDI | NUAPADA | 132/33kV Bhera GSS | Khariar Road | 2022-07-15 | 8:00 | 13:00 | Mr. Pradipta Khilar | 5 | PSS Maintenance work | Khariar Road town | Only Kh. Road PSS under Outage | NO
65 | KALAHANDI | KEED | 33/11kV Narla PSS | Biswanathpur | 2022-07-15 | 9:00 | 14:00 | Mr. Kamalesh Kumar Pradhan | 4 | Line Maintenance | Lanjigarh Block | Cancelled Due to Biswanathpur Line Faulty | NO
66 | BOLANGIR | TITLAGARH | KESINGA | BELGAON INCOMING FDR | 2022-07-15 | 8:00 | 10:00 | SDO-SAINTALA | 10 | Tree trimming,AB Switch Repairing,Jumper Tightness in Belgaon PSS | Bhadra,Bijepur,PHD,Ghunsar,Badipada |  | No
67 | SAMBALPUR | SED | 132/33 KV KANTAPALI | 33KV HIRAKUD | 2022-07-16 | 8:00 | 12:00 | SDO HIRAKUD | 11 | Line Maintenance ,PSS-HIRAKUD | HIRAKUD & HIRAKUD RE AREA |  | YES
68 | SAMBALPUR | BNED Brajrajnagar | 132/33KV Remja | 33kv TRL-2 | 2022-07-16 | 8:00 | 13:00 | SDO BELPAHAR | 0.5 | Line Maintenance,PSS-MUCCHBAHAL,LAKHANPUR,GOBINDPUR,JHARUPADA,DHULUNDA | Belapahar to dhulunda |  | NO
69 | SAMBALPUR | DED | 132/33KV AMBAKATA | 33KV BHAKTABADAKUDAR | 2022-07-16 | 7:00 | 14:00 | SDO DEOGARH | 1 | Line Maintenance ,Tree trimming ,Pin insulator checking,V cross arm | PSS-BHAKTABADAKUDAR,AREA-KALA,BAHADAPOSI,THIANAL |  | NO
70 | ROURKELA | SED | 132/33KV SUNDARGARH(SANKARA) | 33KV MAJHAPADA | 2022-07-16 | 8:00 | 11:00 | SDO,SUNDARGARH | 2 | Tree Trimming and PSS Maintenance | MAJHAPADA SECTION |  | NO
71 | BOLANGIR | TITLAGARH | KESINGA | TITLAGARH INCOMING FDR | 2022-07-16 | 8:00 | 10:00 | SDO-TITLAGARH | 8 | Tree Trimming,Pole Straightening,V Cross Arm Straightening | Titlagarh Town,Pipalpadar,Kholan,Gundchitra,Bandupala |  | No
72 | ROURKELA | SED | 132/33KV BRAJRAJNAGAR | 33KV ARYAN | 2022-07-17 | 8:00 | 11:00 | SDO,UJALPUR | 2 | Tree Trimming & Straighteening of V-Cross Arm | Beleimunda,ACB India, Hemgiri |  | NO
73 | SAMBALPUR | SEED | 220/132/33 KV LAPANGA | 33KV RENGALI-LPG (RENGALI) | 2022-07-18 | 8:00 | 14:00 | SDO RENGALI | 5 | LINE MAINTENANCE & TREE BRANCHES TRIMMING | PSS-RENGALI |  | NO
74 | ROURKELA | RSED RKL | 132/33KV ROURKELA | 33KV BONAI INDUSTRIAL | 2022-07-18 | 8:00 | 13:00 | SDO,PANPOSH | 18 | Tree Trimming | Jay Balaji,Rexon Strips,IDL Explosive Industry |  | NO
75 | ROURKELA | SED | 132/33KV BRAJRAJNAGAR | 33KV SARGIPALI | 2022-07-18 | 8:00 | 11:00 | SDO,UJALPUR | 11 | Pin Insulator Replacement, Straighteening of V-Cross Arm and Intermediate Pole Erection. | Sargipali Section Area |  | NO
76 | KALAHANDI | KWED | 220/132/33kV Baner GSS | Badkutru | 2022-07-18 | 8:00 | 13:00 | Mr. Deepak Ku. Sahoo | 6 | Tree Trimming & Line Maintenance | Banjibahal, Khaliabhata, Jaipatna, Baner, BadkutruDhanpur, Panigaon | Badkutru & Jaipatna PSS under Outage | NO
77 | BOLANGIR | BALANGIR | LALTIKRA | BOLANGIR INCOMING FDR | 2022-07-18 | 8:00 | 10:00 | SDO-1 BALANGIR | 7 | AB Switch Repairing,Jumper Tightness in Laltikra PSS | Hatisalpada,ShantiPada,Sadeipalli,Balangir Town |  | No
78 | SAMBALPUR | SED | 132/33 KV CHIPLIMA | 33KV GOSHALA | 2022-07-19 | 8:00 | 12:00 | SDO HIRAKUD | 16 | MAINTENANCE TREE TRIMMING | PSS -GOSALA,CHIPLIMA,GODBHAGA,LARAMBHA |  | YES
79 | SAMBALPUR | JED | 132/33KV KHANDOKATA | 33KV KUSUMI | 2022-07-19 | 10:00 | 13:00 | SDO KUCHINDA | 0.1 | Line Maintenance ,Tree trimming ,Pin insulator checking,V cross arm | PSS KUSUMI,BORDA |  | NO
80 | KALAHANDI | KEED | 132/33kV Kesinga GSS | Belgaon | 2022-07-19 | 8:00 | 14:00 | Mr. Devi Prasad Dixit | 8 | Line & PSS Maintenance | Karlamunda, Nunmath, Sisakhal | Nunmath, Sisakhal, Karlamunda PSSs under Outage | NO
81 | SAMBALPUR | BNED Brajrajnagar | Muchbahal PSS | 33kv TRL-2(Panchgaon side) | 2022-07-20 | 8:00 | 12:00 | SDO BELPAHAR | 0.4 | Line Maintenance,PSS-LAKHANPUR,GOBINDPUR,JHARUPADA,DHULUNDA | Jharupada nearby areas |  | NO
82 | ROURKELA | RSED RKL | 220/33KV BARKOT | 33KV MAHULIDIHA | 2022-07-20 | 8:00 | 16:00 | SDO,BONAI | 2 | Tree Trimming,PSS Maintenance | MAHULIDIHA,KHANDADHRA,KULIPOSH,BADGAON |  | NO
83 | ROURKELA | SED | 132/33KV BRAJRAJNAGAR | 33KV ARYAN | 2022-07-20 | 8:00 | 11:00 | SDO,UJALPUR | 2 | Tree Trimming & Straighteening of V-Cross Arm | Beleimunda,ACB India, Hemgiri |  | NO
84 | KALAHANDI | KEED | 33/11kV Narla | M. Rampur | 2022-07-20 | 8:00 | 13:00 | Mr. Kamalesh Kumar Pradhan | 5.5 | Line Maintenance | Urladani, M.Rampur Town, Ambagaon |  | NO
85 | KALAHANDI | NUAPADA | 132/33kV Bhera GSS | Bisora | 2022-07-20 | 8:00 | 13:00 | Mr. Pradipta Khilar | 4 | Feeder Maintenance | Bisora, Bhaleswar, Beltukuri | Bisora PSS & Saipala PSS under Outage | NO
86 | BOLANGIR | TITLAGARH | KHARIAR | KHARIAR-SINDHEKELA | 2022-07-20 | 8:00 | 10:00 | SDO-TITLAGARH | 5 | Tree Trimming,Conductor restringging,AB Switch Jumper Tightness in Sindhekela PSS | Tutla,Chandatara,Sindhekela, |  | No
87 | BARGARH | BED, Bargarh | 132 / 33 KV GSS Katapali | 33KV Attabira | 2022-07-20 | 8:00 | 12:00 | Manmatha Nath Das (SDO of Attabira Sub-Division) | 26 | Feeder Maintenance work | Attabira,Patrapali,Thuapali and Bheden PSS remain shutdown. | Outage from GSS | NO
88 | SAMBALPUR | SED | 132/33KV KANTAPALI | 33KV CHOURPUR | 2022-07-21 | 8:00 | 12:00 | SDO HIRAKUD | 6 | MAINTENANCE TREE TRIMMING | PSS-CHORPUR BR STEEL |  | NO
89 | SAMBALPUR | SEED | 132/33 KV RAIRAKHOL | 33KV NAKTIDEUL | 2022-07-21 | 8:00 | 14:00 | SDO RAIRAKHOL | 4.5 | LINE MAINTENANCE & TREE BRANCHES TRIMMING | PSS-NAKTIDEUL,KISINDA |  | NO
90 | SAMBALPUR | JED | 132/33KV KHANDOKATA | 33KV JAMANKIRA | 2022-07-21 | 10:00 | 13:00 | SDO KUCHINDA | 0.2 | Line Maintenance ,Tree trimming ,Pin insulator checking,V cross arm | PSS BHOJPUR,JAMANKIRA |  | NO
91 | SAMBALPUR | SEED | 132/33 KV CHIPLIMA | 33KV HATIBAL | 2022-07-22 | 8:00 | 14:00 | SDO RAIRAKHOL | 4.5 | LINE MAINTENANCE & TREE BRANCHES TRIMMING | PSS-HATIBARI,JUJOMURA |  | NO
92 | ROURKELA | RSED RKL | 220/33KV BONAI | 33KV BONAI | 2022-07-22 | 8:00 | 13:00 | SDO,BONAI | 6 | Pin Insulator Replacement, Straighteening of V-Cross Arm | BONAI BLOCK AREA |  | NO
93 | ROURKELA | RSED RKL | 132/33KV CHHEND | 33KV CHHEND | 2022-07-22 | 9:00 | 13:00 | SDO,INDUSTRIAL ESTATE | 12 | PSS Renovation Work and Conductor Upgradtion Work | Chhend & Kalinga bihar section |  | NO
94 | SAMBALPUR | BNED Brajrajnagar | 132/33KV Remja | 33kv TRL-2 | 2022-07-23 | 8:00 | 13:00 | SDO BELPAHAR | 0.5 | Line Maintenance,PSS-LAKHANPUR,GOBINDPUR,JHARUPADA,DHULUNDA | Belapahar to dhulunda |  | NO
95 | SAMBALPUR | JED | 132/33KV KHANDOKATA | 33KV KUCHINDA | 2022-07-23 | 10:00 | 13:00 | SDO KUCHINDA | 0.4 | Line Maintenance ,Tree trimming ,Pin insulator checking,V cross arm | PSS KUCHINDA ,KESEIBAHAL,ARDABAHAL,GOCHRA,LASA,BHOJPUR,JAMANKIRA |  | NO
96 | ROURKELA | RSED RKL | 220/33KV JODA | 33KV JODA-TENSA | 2022-07-23 | 8:00 | 16:00 | SDO,BONAI | 7 | Tree Trimming and PSS Maintenance | Koida Section Area |  | NO
97 | KALAHANDI | KEED | 132/33kV Kesinga GSS | Narla | 2022-07-23 | 8:00 | 13:00 | Mr. Kamalesh Kumar Pradhan | 15 | Pole Straightening, Line Maintenance & Tree Trimming | Narla, Madanpur, M.Rampur, Rupra Road, Chhatiguda, Biswanathpur, Lanjigarh, Bandhapari, Musanal, Balipada, Kamarda, Urladani, Mohangiri etc. | Narla, Madanpur, M.Rampur, Banjamunda, Biswanathpur, Lanjigarh, Bandhapari, Rupra-Road, M/S Harapriya Agro Under Outage | NO
98 | ROURKELA | RSED RKL | 132/33KV ROURKELA | 33KV JALDA T-OFF LATHIKATA FEEDER | 2022-07-25 | 9:00 | 13:00 | SDO,PANPOSH | 2 | Capex Work and PSS Maintenance | JALDA SECTION |  | NO
99 | BOLANGIR | BALANGIR | SADEIPALLI | MADHIAPALI INCOMING FDR | 2022-07-25 | 8:00 | 10:00 | SDO-2 BALANGIR | 7 | Tree Trimming,AB Switch repairing, | Sadeipalli,Madhiapalli Industrial ,Odiapali,Mahimunda,Kurla |  | No
100 | SAMBALPUR | BNED Brajrajnagar | Muchbahal PSS | 33kv TRL-2(Panchgaon side) | 2022-07-26 | 8:00 | 12:00 | SDO BELPAHAR | 0.5 | Line Maintenance,PSS-MUCCHBAHAL,LAKHANPUR,GOBINDPUR,JHARUPADA,DHULUNDA | Dhulunda areas |  | NO
101 | SAMBALPUR | JED | 132/33KV KHANDOKATA | 33KV KESEIBAHAL | 2022-07-26 | 10:00 | 13:00 | SDO KUCHINDA | 0.2 | Line Maintenance ,Tree trimming ,Pin insulator checking,V cross arm | PSS KESEIBAHAL,ARDABAHAL,GOCHRA |  | NO
102 | SAMBALPUR | BNED Brajrajnagar | 132/33KV Remja | 33kv OPGC | 2022-07-27 | 8:00 | 11:00 | SDO BELPAHAR | 0.5 | Line Maintenance,PSS-BANDHBAHAL,PANDRI | Bandhabahal to tilia |  | NO
103 | SAMBALPUR | SEED | 132/33 KV RAIRAKHOL | 33KV KISINDA | 2022-07-28 | 8:00 | 14:00 | SDO RAIRAKHOL | 1 | LINE MAINTENANCE & TREE BRANCHES TRIMMING | PSS-KISINDA |  | NO
104 | ROURKELA | RED RKL | 132/33KV CHHEND | 33KV NIT(DALPOSH) | 2022-07-28 | 9:00 | 13:00 | SDO,KOLENAGAR | 2 | Tree Trimming and PSS Maintenance | DALPOSH AREA |  | NO
105 | BOLANGIR | SONEPUR | SONEPUR | BINKA INCOMING FDR | 2022-07-28 | 8:00 | 10:00 | SDO-BINKA | 5 | Tree Trimming,V Cross Arm Straightening,AB Switch repairing,Jumper tightness,Socket Replacement ,CT Erection in Binka PSS | Headtikra,Saledi,Binka,Bisalpalli |  | No
106 | BOLANGIR | BALANGIR | TUSURA | DEOGAON INCOMING FDR | 2022-07-29 | 8:00 | 10:00 | SDO-TUSURA | 4 | Deogaon PSS Lighting Arrangement,Tree Trimming and Pin Insulator replacement | Deogaon,Jarasingha,Budhabahal,Kudasingha |  | No

## Master (hidden)
Circle | Circle | Division | SAMBALPUR | ROURKELA | KALAHANDI | BOLANGIR | BARGARH | Start Date | End Date | Start Time | End Time
SAMBALPUR | SAMBALPUR | SED | SED | RED RKL | KEED | BED,Bolangir | BED, Bargarh | 2021-01-01 | 2030-12-31 | 0:00 | 24:00 PM
ROURKELA | SAMBALPUR | SEED | SEED | RSED RKL | KWED | TED, Titilagarh | BWED, Bargarh
KALAHANDI | SAMBALPUR | JED, Jharsuguda | JED, Jharsuguda | RED Rajgangpur | NUAPADA | SED,SONEPUR
BOLANGIR | SAMBALPUR | BNED Brajrajnagar | BNED Brajrajnagar | SED
BARGARH | SAMBALPUR | DEOGARH | DEOGARH
| ROURKELA | RED RKL
| ROURKELA | RSED RKL
| ROURKELA | RED Rajgangpur
| ROURKELA | SED
| KALAHANDI | KEED
| KALAHANDI | KWED
| KALAHANDI | NUAPADA
| BOLANGIR | BED,Bolangir
| BOLANGIR | TED, Titilagarh
| BOLANGIR | SED,SONEPUR
| BARGARH | BED, Bargarh
| BARGARH | BWED, Bargarh

## OPTCL
Planned Outages Report For the Month of Oct 2021
From Date:- 01.10.2021 to 31.10.2021 OUTAGE REQUESTED ON ACCOUNT OF OPTCL
SL No. | Name of the Circle | Name of the Division | 220/132/33 KV GSS Name | Name of 33 KV O/G Feeder or Name of Equipment | Date of Outage | Isolation Time | Restoration Time | Name of Outage taken Person | Affected Load in MW | Reason of Outage | Key Areas Affected | Remarks | PRESS NOTE RELEASE REQUIREMENT (YES/NO)