## TPWODL
Planned Outages Report For the Month of FEB 2022
From Date:- 01-02-2022 to 28-02-2022 OUTAGE REQUESTED ON ACCOUNT OF TPWODL
SL No- | Name of the Circle | Name of the Division | 220/132/33kV GSS Name | Name of the 33kV feeder | Date of Outage | Isolation Time | Restoration Time | Name of Outage taken Person | Affected Load in MW | Reason of Outage | Key Areas Affected | Remarks | PRESS NOTE RELEASE REQUIREMENT (YES/NO)
1 | ROURKELA | RED,RAJGANGPUR | 132/33KV RAJGANGPUR | 33KV SUNDARGARH | 2022-02-01 | 09.00 AM | 02.00 PM | SDO,RAJGANGPUR NO -I | 4 | MAINTENANCE AND TREE TRIMMING | ALANDA AREAS |  | NO
2 | SAMBALPUR | JED | Khandokata | 33kV Kuchinda | 2022-02-02 | 10:00 | 14:00 | SDO KUCHINDA | 0.5 | PSS Maintenance | jamankira |  | NO
3 | KALAHANDI | KWED | 132/33kV Tentulikhunti GSS | Mukhiguda | 2022-02-02 | 10:00 | 14:30 | Mr. P. Majhi | 2 | Tree Trimming | Mukhiguda, Mahulpatna, Mangalpur & Megalift Chhatabanduguda & Chandpur | Only Mukhiguda PSS & two HTC under Outage | NO
4 | ROURKELA | RED,RAJGANGPUR | 132/33 KV KALUNGA | 33KV IDC | 2022-02-02 | 1.00 PM | 02.00 PM | SDO,KALUNGA | 16 | Maintainance and Tree Trimmng | KALUNGA |  | NO
5 | BARGARH | Bargarh West Electrical Division (BWED) | Padampur 132/33KV GSS | 33KV Paikmal (Paikmal to Mandosil) | 2022-02-02 | 9:00 | 14:00 | Purandar sahu (SDO of Paikmal Sub-Division) | 2.6 | Tree trimming work | PSS Affected- Dungripali | Outage from Paikmal PSS | NO
6 | BARGARH | Bargarh Electrical Division (BED) | Pradhanpali 132/33KV GSS | 33KV Tora | 2022-02-02 | 9:00 | 14:00 | Anant Kumar Sahu (SDO of Bargarh-2 Sub-Division) | 6 | GIS switchgear panel maintenance work | 11KV Remunda,Tora,Sugarmill and Gaisima feeder | Outage from GSS | NO
7 | SAMBALPUR | JED | Khandokata | 33kV Hadipali | 2022-02-03 | 10:00 | 13:00 | SDO KUCHINDA | 1 | Tree branch trimming | Kusumi |  | NO
8 | KALAHANDI | KWED | 220/132/33kV Baner GSS | Badkutru | 2022-02-03 | 10:00 | 14:30 | Mr. K.P. Das | 6 | Tree Trimming & Line Maintenance | Banjibahal, Khaliabhata, Jaipatna, Baner, BadkutruDhanpur, Panigaon | Badkutru & Jaipatna PSS under Outage | NO
9 | KALAHANDI | KWED | 33/11kV Dharamgarh PSS | Golamunda | 2022-02-03 | 9:00 | 14:00 | Mr. Saroj Shukla | 3 | Tree Trimming | Tumura, Chapria, Golamunda, Kegaon, Lanji, Badchergaon | Golamunda & Kegaon Under Outage | NO
10 | ROURKELA | RED,RAJGANGPUR | 132/33KV RAJGANGPUR | 33KV RAJGANGPUR | 2022-02-03 | 09.00 AM | 01.00 PM | SDO,RAJGANGPUR NO -I | 4 | MAINTENANCE AND TREE TRIMMING | RAJGANGPUR TOWN |  | NO
11 | BARGARH | Bargarh West Electrical Division (BWED) | Padampur 132/33KV GSS | 33KV Paikmal (Cut point to Jhitki) | 2022-02-03 | 9:00 | 14:00 | Purandar sahu (SDO of Paikmal Sub-Division) | 2.6 | Tree trimming work | PSS Affected- Dungripali | Outage from Paikmal PSS | NO
12 | SAMBALPUR | JED | Khandokata | 33kV Kuchinda | 2022-02-04 | 10:00 | 12:00 | SDO KUCHINDA | 0.5 | Tree branch trimming | Gochara |  | NO
13 | SAMBALPUR | SEED | Ganesh Nagar | 33kV Sason | 2022-02-04 | 9:00 | 15:00 | SDO RENGALI | 10 | Tree Trimming & Feeder Maintenance | Sason |  | YES
14 | SAMBALPUR | SEED | Maneswar | 33kV Padiabahal | 2022-02-04 | 8:00 | 14:00 | SDO Dahnuapli | 6 | Tree branch trimming and feeder maintenance | Padiabahal,Hero |  | NO
15 | KALAHANDI | NUAPADA | 132/33kV Bhera GSS | Khariar Road | 2022-02-04 | 9:00 | 14:00 | Mr. Pradipta Ku. Khilar | 5 | Line Maintenance & Tree Trimming | Nuapada Town, Sakhatora, Sarabong, Khariar Road Town, Patel Nagar, Biromal, Banka etc, | Only Kh. Road PSS under Outage | NO
16 | KALAHANDI | KWED | 220/132/33kV Baner GSS | Jaipatna (Badkutru) | 2022-02-04 | 10:00 | 14:30 | Mr. P. Majhi | 2 | Tree Trimming & Line Maintenance | Banjibahal, Khaliabhata, Jaipatna, Baner | Only Jaipatna PSS under Outage | NO
17 | KALAHANDI | KEED | 33/11kV Biswanathpur PSS | Bandhapari | 2022-02-04 | 10:00 | 14:30 | Mr. Deepak Ku. Behera | 1.5 | Tree Trimming & PSS Maintenance | Bijepur, Musanal, Hatisal, Bandhapari | Only Bandhapari PSS Under Outage | NO
18 | ROURKELA | RED,RAJGANGPUR | 132/33 KV CHHEND | 33KV KUARMUNDA INDUSTRIAL | 2022-02-04 | 08.00 AM | 05.00 PM | SDO,KUARMUNDA | 18 | Maintainance and Tree Trimmng | KUARMUNDA INDUSTRIAL AREA |  | YES
19 | ROURKELA | RED,RAJGANGPUR | 132/33 KV CHHEND | 33KV BIRAMITRAPUR | 2022-02-04 | 08.00 AM | 05.00 PM | SDO,KUARMUNDA | 15 | Maintainance and Tree Trimmng | KUARMUNDA |  | NO
20 | ROURKELA | RED,ROURKELA | 132/33KV CHHEND | 33KV BASANTI | 2022-02-04 | 09.00 AM | 04.00 PM | SDO,BASANTI | 4 | MAINTENANCE AND TREE TRIMMING | BASANTI COLONY |  | NO
21 | ROURKELA | RED,ROURKELA | 132/33KV ROURKELA | 33KV PILOT PROJECT | 2022-02-04 | 09.00 AM | 04.00 PM | SDO,BASANTI | 4 | MAINTENANCE AND TREE TRIMMING | BASANTI COLONY |  | NO
22 | BARGARH | Bargarh West Electrical Division (BWED) | Ghenss 132/33KV GSS | 33KV Melchamunda (Melchamunda PSS to Kundakhai PSS) | 2022-02-04 | 9:00 | 14:00 | Sujit Behera (SDO of Padampur Sub-Division) | 2.8 | Mid span pole erection work | Kundakhai and Jamutpali area | Outage from GSS | NO
23 | SAMBALPUR | SED | Ganesh Nagar | Cheruapada | 2022-02-05 | 10:00 | 13:00 | Pravat Kumar Sahoo | 6 | Tree Trimming | Cheruapada |  | NO
24 | SAMBALPUR | BNED | REMJA | 33kV OPGC | 2022-02-05 | 9:00 | 15:00 | SDO BELPAHAR | 2 | CAPEX WORK | Bandhbahal,Pandri |  | NO
25 | SAMBALPUR | SEED | Lapanga | 33kV Rengali | 2022-02-05 | 9:00 | 15:00 | SDO RENGALI | 5 | Tree Trimming & Feeder Maintenance | Rengali |  | YES
26 | KALAHANDI | NUAPADA | 33/11kV Khariar PSS | Sinapali | 2022-02-05 | 9:00 | 14:00 | Mr. Gagan Bihari Jena | 8 | Tree Trimming & Line Maintenance | Sinapali Town, Bargaon, Hatibandh, Timanpur, Sardhapur, Bharuamunda, Chalna | Sinapali & Chalna PSS under Outage | NO
27 | KALAHANDI | KWED | 132/33kV Tentulikhunti GSS | Mukhiguda | 2022-02-05 | 10:00 | 14:30 | Mr. P. Majhi | 2 | Tree Trimming | Mukhiguda, Mahulpatna, Mangalpur & Megalift Chhatabanduguda & Chandpur | Only Mukhiguda PSS & two HTC under Outage | NO
28 | KALAHANDI | KEED | 33/11kV Naktiguda PSS | Attanguda | 2022-02-05 | 9:00 | 14:00 | Mr. Binayak Rout | 2.5 | Line Maintenance & Tree Trimming | Saidham, Jugasaipatna, Keroguda, Sagada | Only Attanguda PSS under Outage | NO
29 | BARGARH | Bargarh West Electrical Division (BWED) | Padampur 132/33KV GSS | 33KV Lakhmara | 2022-02-05 | 9:00 | 14:00 | Sujit Behera (SDO of Padampur Sub-Division) | 3.048 | Tree trimming and pin insulator replacement work | Sambalpuri and Badikata area | Outage from GSS | NO
30 | BARGARH | Bargarh Electrical Division (BED) | Pradhanpali 132/33KV GSS | 33KV Turunga | 2022-02-05 | 9:00 | 14:00 | Anant Kumar Sahu (SDO of Bargarh-2 Sub-Division) | 23.2 | Tree trimming and pin insulator replacing work at 33KV Turunga feeder | Turunga and Dasmile PSS remain shutdown | Outage from GSS | NO
31 | ROURKELA | RED,RAJGANGPUR | 132/33 KV CHHEND | 33KV PURUNAPANI | 2022-02-06 | 09.00 AM | 02.00 PM | SDO,KUARMUNDA | 12 | Maintainance and Tree Trimmng | HATIBARI |  | NO
32 | KALAHANDI | NUAPADA | 33/11kV Komna PSS | Kurumpuri | 2022-02-07 | 9:00 | 14:00 | Mr. Bholanath Naik | 3 | Line Maintenance & Tree Trimming | Tarbod, Lakhna, Silati, JNV, Bhela | Only Kurumpuri PSS under Outage | NO
33 | KALAHANDI | KEED | 33/11kV Biswanathpur PSS | Lanjigarh | 2022-02-07 | 10:00 | 14:30 | Mr. Deepak Ku. Behera | 1 | Line Maintenance & Tree Trimming | New Lanjigarh | Only Lanjigarh PSS under Outage | NO
34 | KALAHANDI | KWED | 33/11kV Golamunda PSS | Kegaon | 2022-02-07 | 9:00 | 14:00 | Mr. Saroj Shukla | 2 | Line Maintenance & Tree Trimming | Kegaon, Lanji, Badchergaon | Only Kegaon PSS under Outage | NO
35 | ROURKELA | RED,RAJGANGPUR | 132/33KV RAJGANGPUR | 33KV ROURKELA -1 | 2022-02-07 | 09.00 AM | 02.00 PM | SDO,RAJGANGPUR NO-I | 20 | MAINTENANCE AND TREE TRIMMING | BELEIGARH,KANSHBAHAL,KALUNGA |  | NO
36 | BARGARH | Bargarh West Electrical Division (BWED) | Padampur 132/33KV GSS | 33KV Paikmal (Padampur GSS to Paikmal PSS) | 2022-02-07 | 9:00 | 14:00 | Purandar sahu (SDO of Paikmal Sub-Division) | 19.6 | 33KV ISO repairing work at Barikel Village(Padampur to Paikmal) (Near Rinku Pani welding shop) | PSS Affected- Paikmal, Mandosil, Jhitki, Jharbandh, Dava, Dungripali | Outage from Paikmal PSS | NO
37 | SAMBALPUR | JED | Khandokata | 33kV Kuchinda | 2022-02-08 | 10:00 | 13:00 | SDO KUCHINDA | 1 | Tree branch trimming | Keseibahal |  | NO
38 | SAMBALPUR | SEED | Rairakhol | 33kV Naktideol | 2022-02-08 | 9:00 | 16:00 | SDO RAIRAKHOL | 1.5 | Tree branch trimming | Naktideol,Kisinda |  | NO
39 | KALAHANDI | KWED | 220/132/33kV Baner GSS | Gadramal (Ladugaon) | 2022-02-08 | 10:00 | 14:30 | Mr. Deepak Ku. Sahoo | 5 | Tree Trimming & Line Maintenance | Gadramal, Koksara, Cikili, Chiliguda, Kenduguda, Temra, Kulerguda | Gadramal & Temra PSSs under Outage | NO
40 | KALAHANDI | KEED | 132/33kV Kesinga | Belgaon | 2022-02-08 | 10:00 | 15:00 | Mr. Amiya Ranjan Panda | 5 | Line Maintenance & Pole Erection | Karlamunda, Nunmath, Sisakhal | Nunmath, Sisakhal PSSs under Outage | NO
41 | ROURKELA | RED,RAJGANGPUR | 132/33KV RAJGANGPUR | 33KV KUTRA | 2022-02-08 | 09.00 AM | 03.00 PM | SDO,RAJGANGPUR NO -II | 14 | MAINTENANCE AND TREE TRIMMING | KUTRA |  | NO
42 | ROURKELA | RED,ROURKELA | 132/33KV CHHEND | 33KV NIT | 2022-02-08 | 09.00 AM | 03.00 PM | SDO,KOLENAGAR | 8 | MAINTENANCE AND TREE TRIMMING | NIT INSTITUTE |  | NO
43 | ROURKELA | RED,ROURKELA | 33/11KV NIT | 33KV BISRA O/G | 2022-02-08 | 09.00 AM | 03.00 PM | SDO,BISRA | 3.5 | MAINTENANCE AND TREE TRIMMING | BISRA AREA |  | NO
44 | BARGARH | Bargarh West Electrical Division (BWED) | Ghenss 132/33KV GSS | 33KV Melchamunda (Ghenss GSS to Melchamunda PSS) | 2022-02-08 | 9:00 | 14:00 | Sujit Behera (SDO of Padampur Sub-Division) | 7.9 | PTR erection work | Melchamunda and Kundakhai PSS remain shutdown | Outage from GSS | NO
45 | BARGARH | Bargarh West Electrical Division (BWED) | Barpali 132/33KV GSS | 33KV Sarandapali (Rajib lochan rice mill) | 2022-02-08 | 9:00 | 14:00 | Guru Charan Sahu (SDO of Barpali Sub-Division) | 0.5 | Tree trimming work | 33KV Rajib lochan customer feeder remain shutdown | Outage from GSS | NO
46 | BARGARH | Bargarh Electrical Division (BED) | 132 / 33 KV GSS Katapali | 33KV Attabira | 2022-02-08 | 9:00 | 14:00 | Bijay Behera (SDO of Attabira Sub-Division) | 22.6 | Insulator replacement work | Attabira,Patrapali,Thuapali and Bheden PSS remain shutdown. | Outage from GSS | NO
47 | SAMBALPUR | JED | Khandokata | 33kV Kuchinda | 2022-02-09 | 10:00 | 13:00 | SDO KUCHINDA | 0.5 | Tree branch trimming | jamankira |  | NO
48 | SAMBALPUR | SEED | Ganesh Nagar | 33kV Hero | 2022-02-09 | 9:00 | 16:00 | SDO RAIRAKHOL | 0.5 | Tree branch trimming | Hero |  | NO
49 | SAMBALPUR | SEED | Lapanga | 33kV Katarbaga | 2022-02-09 | 9:00 | 15:00 | SDO RENGALI | 3 | Tree Trimming & Feeder Maintenance | Katarbaga |  | YES
50 | KALAHANDI | KWED | 220/132/33kV Baner GSS | Temra (Ladugaon) | 2022-02-09 | 10:00 | 14:30 | Mr. Deepak Ku. Sahoo | 1.5 | Tree Trimming & Line Maintenance | Kenduguda, Temra, Kulerguda | Only Temra PSS under Outage | NO
51 | KALAHANDI | KEED | 33/11kV Khariar PSS | Borda (Sindheikela) | 2022-02-09 | 10:00 | 15:00 | Mr. Sudhir Ku. Mohapatra | 2.2 | Line Maintenance | Borda town, Seinpur, Artal, Mahaling | Outage taken for Only Borda PSS | NO
52 | ROURKELA | RED,RAJGANGPUR | 132/33KV RAJGANGPUR | 33KV ROURKELA -2 | 2022-02-09 | 09.00 AM | 02.00 PM | SDO,RAJGANGPUR NO -I | 18 | MAINTENANCE AND TREE TRIMMING | INDUSTRIAL AREA |  | NO
53 | ROURKELA | RED,ROURKELA | 132/33KV ROURKELA | 33KV TOWN 1 | 2022-02-09 | 09.00 AM | 03.00 PM | SDO,BISRA | 5 | MAINTENANCE AND TREE TRIMMING | MADHUSUDANPALI,BONDHAMUNDA AREA |  | NO
54 | KALAHANDI | NUAPADA | 33/11kV Komna PSS | Batibahal | 2022-02-10 | 9:00 | 14:00 | Mr. Bholanath Naik | 1.5 | Line Maintenance & Tree Trimming | Sunabeda, Kutribahal | Only Batibahal PSS under Outage | NO
55 | KALAHANDI | KWED | 33/11kV Charbahal PSS | Gadramal | 2022-02-10 | 10:00 | 14:30 | Mr. Deepak Ku. Sahoo | 0 | Tree Trimming & Line Maintenance | No Area under Outage | No PSS under Outage | NO
56 | KALAHANDI | KEED | 132/33kV Kesinga GSS | Belgaon | 2022-02-10 | 9:00 | 14:00 | Mr. Deepak Ku. Behera | 5 | Line Maintenance & Tree Trimming | Kendubahali, Karlamunda, Regeda, Kusurla, Tundla, Risida, Putigaon etc. | Nunmath, Sisakhal & Karlamunda PSS under Outage | NO
57 | ROURKELA | RED,RAJGANGPUR | 132/33KV RAJGANGPUR | 33KV SUNDARGARH | 2022-02-10 | 10.00 AM | 02.00 PM | SDO,RAJGANGPUR NO -II | 15 | MAINTENANCE AND TREE TRIMMING | KUTRA,LANJIBERNA |  | NO
58 | ROURKELA | RED,ROURKELA | 132/33KV CHHEND | 33KV KOLENAGAR | 2022-02-10 | 10.00 AM | 02.00 PM | SDO,KOLENAGAR | 1 | MAINTENANCE AND TREE TRIMMING | HAMRIPUR AREA |  | NO
59 | BARGARH | Bargarh West Electrical Division (BWED) | Padampur 132/33KV GSS | 33KV Gaisilet | 2022-02-10 | 9:00 | 14:00 | Sujit Behera (SDO of Padampur Sub-Division) | 5.315 | Tree trimming work | Gaisilet,lebidi,firingimal,buromunda and talpali area | Outage from GSS | NO
60 | SAMBALPUR | JED | Rajgangpur | 33kV Garposh | 2022-02-11 | 10:00 | 13:00 | SDO KUCHINDA | 0.5 | Tree branch trimming & PSS Maintenance | Garposh |  | NO
61 | SAMBALPUR | BNED | REMJA | 33kV OPGC | 2022-02-11 | 9:00 | 15:00 | SDO BELPAHAR | 2 | CAPEX WORK | Bandhbahal,Pandri |  | NO
62 | SAMBALPUR | SEED | Khandokata | 33kV Laida | 2022-02-11 | 9:00 | 15:00 | SDO RENGALI | 1.5 | Tree Trimming & Feeder Maintenance | Laida |  | YES
63 | KALAHANDI | NUAPADA | 132/33kV Bhera GSS | Bisora | 2022-02-11 | 9:00 | 14:00 | Mr. Bholanath Naik | 3 | Line Maintenance & Tree Trimming | Bisora, Bhaleswar, Beltukuri, Saipala, Khairani, Darlimunda | Bisora & Saipala PSS under Outage | NO
64 | KALAHANDI | KWED | 33/11kV Charbahal PSS | Badkutru | 2022-02-11 | 10:00 | 14:30 | Mr. K.P. Das | 0 | Line Maintenance & Tree Trimming | No Area under Outage | No PSS under Outage | NO
65 | BOLANGIR | Balangir | 132/33KV Balangir | Barpalli | 2022-02-11 | 8:00 | 17:00 | SDO Balangir | 40 | Tree Trimming,AB Switch Repairing | Jharmunda,Kandajuri,Sargad,Sujia,Kusmel,Chatamakhna |  | NO
66 | BOLANGIR | Titlagarh | 132/33KV Balangir | Patnagarh | 2022-02-11 | 8:00 | 17:00 | SDO patnagarh | 40 | Tree Trimming,AB Switch Repairing | Sibtala,garjan,Hardatal,Chudapalli,Pipalkani |  | NO
67 | BOLANGIR | Titlagarh | 132/33KV Patnagarh | Belpda | 2022-02-11 | 8:00 | 17:00 | SDO patnagarh | 30 | Tree trimming,AB Switch Repairing | Kahapani,Nunhad,Padampur,Mandal,Ghanguli, |  | NO
68 | BOLANGIR | Titlagarh | 132/33KV Patnagarh | Juria | 2022-02-11 | 8:00 | 17:00 | SDO patnagarh | 30 | V Cross Arm straightening | Luhasingha,Juria,Dameipalli,Ghagra,Bhatli |  | NO
69 | ROURKELA | RED,RAJGANGPUR | 33/11KV VEDVYAS | 33KV EASTREN O/G FEEDER | 2022-02-11 | 10.00 AM | 01.00 PM | SDO,KALUNGA | 5 | Maintainance and Tree Trimmng | KALUNGA INDUSTRIALS |  | NO
70 | ROURKELA | RED,ROURKELA | 132/33KV ROURKELA | 33KV PILOT PROJECT | 2022-02-11 | 09.00 AM | 03.00 PM | SDO,BASANTI | 0 | MAINTENANCE AND TREE TRIMMING | NO AREA AFFECTED |  | NO
71 | BARGARH | Bargarh Electrical Division (BED) | 132 / 33 KV GSS Chiplima | 33KV Dhama-II (Dhatukpali to mahulpali) | 2022-02-11 | 9:00 | 14:00 | Banchha Nidhi Naik (SDO of Bheden Sub-division) | 22.8 | AB switch repairing work | Khuntulipali,Dhatukpali and Gondturum (Mahulpali) PSS remain shutdown. | Outage from GSS | NO
72 | KALAHANDI | NUAPADA | 33/11kV Nuapada PSS | Sarabong | 2022-02-12 | 9:00 | 14:00 | Mr. Bholanath Naik | 2.5 | Line Maintenance | Dharmabandha, Sarabong, Bhainsmundi | Only Sarabong PSS under Outage | NO
73 | KALAHANDI | NUAPADA | 33/11kV Khariar PSS | Sinapali | 2022-02-12 | 9:00 | 14:00 | Mr. Gagan Bihari Jena | 8 | Tree Trimming & Line Maintenance | Sinapali Town, Bargaon, Hatibandh, Timanpur, Sardhapur, Bharuamunda, Chalna | Sinapali & Chalna PSS under Outage | NO
74 | KALAHANDI | KWED | 33/11kV Charbahal PSS | Badkutru | 2022-02-12 | 10:00 | 14:30 | Mr. K.P. Das | 0 | Line Maintenance & Tree Trimming | No Area under Outage | No PSS under Outage | NO
75 | KALAHANDI | KEED | 132/33kV Bhawanipatna GSS | Town No.1 & 2 | 2022-02-12 | 9:00 | 14:00 | Mr. Binayak Rout | 15 | Line Maintenance & Tree Trimming | Bhawanipatna Town, Medical, Doordarsan | Naktiguda, Banduapala, Attanguda, Kusadunguri, Raisingpur, PHD, GCE under Outage | NO
76 | BOLANGIR | Sonepur | 132/33KV Sonepur | Dumerbahal | 2022-02-12 | 10:00 | 12:00 | SDO Sonepur | 12 | 33 KV Line Intermediate Pole Erection | Hardokhol Rural,Baidyanath,Bisimunda,Majhimunda,Khamsiripali |  | NO
77 | ROURKELA | RED,RAJGANGPUR | 132/33KV SUNDARGARH | 33KV BARGAON | 2022-02-12 | 09.00 AM | 03.00 PM | SDO,RAJGANGPUR NO -II | 14 | MAINTENANCE AND TREE TRIMMING | JARANGLOI |  | NO
78 | BARGARH | Bargarh West Electrical Division (BWED) | Barpali 132/33KV GSS | 33KV Sarandapali (Rajib lochan rice mill) | 2022-02-12 | 9:00 | 14:00 | Guru Charan Sahu (SDO of Barpali Sub-Division) | 0.5 | Tree trimming work | 33KV Rajib lochan customer feeder remain shutdown | Outage from GSS | NO
79 | SAMBALPUR | SEED | Rairakhol | 33kV Rairakhol | 2022-02-14 | 9:00 | 16:00 | SDO RAIRAKHOL | 2.5 | Tree branch trimming | Rairakhol |  | NO
80 | KALAHANDI | KWED | 132/33kV Junagarh GSS | Charbahal | 2022-02-14 | 10:00 | 14:30 | Mr. S. S. Barik | 0 | Line Maintenance & Tree Trimming | No Area under Outage | No PSS under Outage | NO
81 | KALAHANDI | KEED | 132/33kV Kesinga GSS | Narla | 2022-02-14 | 9:00 | 14:00 | Mr. Deepak Ku. Behera | 15 | Line Maintenance & Tree Trimming | Narla, Madanpur, M.Rampur, Rupra Road, Chhatiguda, Biswanathpur, Lanjigarh, Bandhapari, Musanal, Balipada, Kamarda, Urladani, Mohangiri etc. | Narla, Madanpur, M.Rampur, Banjamunda, Biswanathpur, Lanjigarh, Bandhapari, Rupra-Road, M/S Harapriya Agro Under Outage | NO
82 | BOLANGIR | Sonepur | 132/33KV Sonepur | BMPUR | 2022-02-14 | 10:00 | 12:00 | SDO BMPUR | 12 | V Cross Arm Straightening,Tree Trimming | Hingma,Hikudi Chowk,Bagalpur |  | NO
83 | ROURKELA | RED,RAJGANGPUR | 132/33 KV KALUNGA | 33KV KALUNGA INDUSTRIAL | 2022-02-14 | 10.00 AM | 02.00 PM | SDO,KALUNGA | 8 | Maintainance and Tree Trimmng | KALUNGA |  | NO
84 | BARGARH | Bargarh West Electrical Division (BWED) | Ghenss 132/33KV GSS | 33KV Melchamunda (Ghenss GSS to Melchamunda PSS) | 2022-02-14 | 9:00 | 14:00 | Sujit Behera (SDO of Padampur Sub-Division) | 7.9 | Tree trimming work | Melchamunda and Kundakhai PSS remain shutdown | Outage from GSS | NO
85 | SAMBALPUR | JED | Sundergarh | 33kV Bamra | 2022-02-15 | 10:00 | 14:00 | SDO KUCHINDA | 1 | Feeder Maintenance | Bamra |  | NO
86 | KALAHANDI | KEED | 132/33kV Kesinga GSS | Kesinga | 2022-02-15 | 9:00 | 14:00 | Mr. Devi Prasad Dixit | 7 | Line & PSS Maintenance | Kesinga Town, Boringpadar, Jaganathpada, Durga Rice Mill, Kasurpada | Only Kesinga PSS under Outage | NO
87 | KALAHANDI | KWED | 220/132/33kV Baner GSS | Ladugaon | 2022-02-15 | 10:00 | 14:30 | Mr. Deepak Ku. Sahoo | 0 | Line Maintenance | No Area under Outage | No PSS under Outage | NO
88 | ROURKELA | RED,RAJGANGPUR | 132/33 KV CHHEND | 33KV BIRAMITRAPUR | 2022-02-15 | 09.00 AM | 04.00 PM | SDO,KUARMUNDA | 15 | Maintainance and Tree Trimmng | KUARMUNDA |  | NO
89 | BARGARH | Bargarh West Electrical Division (BWED) | Ghenss 132/33KV GSS | 33KV Melchamunda (Melchamunda PSS to Kundakhai PSS) | 2022-02-15 | 9:00 | 14:00 | Sujit Behera (SDO of Padampur Sub-Division) | 2.8 | Mid span pole erection work | Kundakhai and Jamutpali area | Outage from GSS | NO
90 | BARGARH | Bargarh Electrical Division (BED) | Pradhanpali 132/33KV GSS | 33KV Turunga | 2022-02-15 | 9:00 | 14:00 | Anant Kumar Sahu (SDO of Bargarh-2 Sub-Division) | 23.2 | Tree trimming and pin insulator replacing work at 33KV Turunga feeder | Turunga and Dasmile PSS remain shutdown | Outage from GSS | NO
91 | SAMBALPUR | BNED | REMJA | 33kV OPGC | 2022-02-16 | 9:00 | 15:00 | SDO BELPAHAR | 2 | CAPEX WORK | Bandhbahal,Pandri |  | NO
92 | KALAHANDI | KEED | 132/33kV Kesinga GSS | Bhawanipatna No.1 | 2022-02-16 | 9:00 | 14:00 | Mr. Ajit Sahu | 3.5 | Feeder Maintenance | Utkela, Kundabandh, Pastikudi, Karlapada | Karlapada & Utkela PSS under Outage | NO
93 | ROURKELA | RED,RAJGANGPUR | 132/33 KV KALUNGA | 33KV KALUNGA | 2022-02-16 | 09.30 AM | 02.00 PM | SDO,KALUNGA | 12 | Maintainance and Tree Trimmng | KALUNGA |  | NO
94 | BARGARH | Bargarh West Electrical Division (BWED) | Barpali 132/33KV GSS | 33KV Agalpur(Melchamunda) Barpali GSS to Charmunda PSS | 2022-02-16 | 9:00 | 14:00 | Guru Charan Sahu (SDO of Barpali Sub-Division) | 4.8 | Tree trimming and pin insulator replacement work | Agalpur,Tinkani and Sujia | Outage from GSS | NO
95 | SAMBALPUR | JED | Khandokata | 33kV Kuchinda | 2022-02-17 | 10:00 | 13:00 | SDO KUCHINDA | 0.5 | Tree branch trimming | jamankira |  | NO
96 | KALAHANDI | KWED | 132/33kV Junagarh GSS | Daspur | 2022-02-17 | 9:00 | 14:00 | Mr. Umesh Pradhan | 2 | Line Maintenance & Tree Trimming | Daspur, Farang, Kummari, Brundabahal | Only Daspur PSS Outage | NO
97 | BOLANGIR | Balangir | 132/33KV Barpalli | Melchamunda | 2022-02-17 | 10:00 | 12:00 | SDO Loisinga | 5 | Pin Inulator Replacement,Intermediate Pole erection | Rengali,Roth,Bharsuja,Nagaon |  | NO
98 | SAMBALPUR | SED | Ganesh Nagar | Cheruapada | 2022-02-18 | 10:00 | 13:00 | Pravat Kumar Sahoo | 6 | Tree Trimming | Cheruapada |  | NO
99 | SAMBALPUR | SEED | Chiplima | 33kV Hatibari | 2022-02-18 | 9:00 | 16:00 | SDO RAIRAKHOL | 2.5 | Tree branch trimming | Hatibari,Jujomura |  | NO
26 | SAMBALPUR | SEED | Chiplima | Dhama-1 | 2022-02-18 | 8:00 | 14:00 | SDO Dhanupali | 5 | Tree branch trimming and feeder maintenance | Dhama,Hatibari,Jujomura |  | NO
101 | KALAHANDI | KEED | 132/33kV Kesinga GSS | Bhawanipatna No.2 | 2022-02-18 | 9:00 | 14:00 | Mr. Ajit Sahu | 1 | Feeder Maintenance | Consumers- Airstrip (Utkela), Baishali Water Industry, Basudev Foods, Radio Station | only HTC under Outage | NO
102 | BOLANGIR | Titlagarh | 132/33KV Kesinga | Belgaon | 2022-02-18 | 10:00 | 12:00 | SDO Saintala | 3.5 | Tree Trimming,AB Switch Maintainance | Ghunsar,Badipada,Bhadra,Bijepur |  | NO
103 | ROURKELA | RED,RAJGANGPUR | 132/33 KV CHHEND | 33KV KUARMUNDA INDUSTRIAL | 2022-02-18 | 09.00 AM | 04.00 PM | SDO,KUARMUNDA | 18 | Maintainance and Tree Trimmng | KUARMUNDA INDUSTRIAL AREA |  | YES
104 | SAMBALPUR | JED | Khandokata | 33kV Hadipali | 2022-02-19 | 10:00 | 13:00 | SDO KUCHINDA | 1 | Tree branch trimming | Kusumi |  | NO
105 | KALAHANDI | KWED | 132/33kV Junagarh GSS | Dharamgarh | 2022-02-19 | 9:00 | 14:00 | Mr. Umesh Pradhan | 7 | Line & PSS Maintenance | Chilpa, Chhendia, Behera, Dharamgarh, | Only Dharamgarh PSS under Outage | NO
106 | KALAHANDI | KEED | 132/33kV Kesinga GSS | Bhawanipatna No.1 | 2022-02-19 | 9:00 | 14:00 | Mr. Binayak Rout | 2 | Tree Trimming & PSS Maintenance | Marding, Cheliamal, Karlapada, Chahgaon | Only Karlapada PSS under Outage | NO
107 | BARGARH | Bargarh West Electrical Division (BWED) | Padampur 132/33KV GSS | 33KV Paikmal (Padampur GSS to Paikmal PSS) | 2022-02-19 | 9:00 | 14:00 | Purandar sahu (SDO of Paikmal Sub-Division) | 19.6 | 33KV ISO's male contact replacement work at Jhankarpada(Near Padampur GSS) | PSS Affected- Paikmal, Mandosil, Jhitki, Jharbandh, Dava, Dungripali | Outage from Paikmal PSS | NO
108 | BARGARH | Bargarh West Electrical Division (BWED) | Padampur 132/33KV GSS | 33KV Gaisilet | 2022-02-20 | 9:00 | 14:00 | Sujit Behera (SDO of Padampur Sub-Division) | 5.315 | PSS maintenance work | Gaisilet,lebidi,firingimal,buromunda and talpali area | Outage from GSS | NO
109 | SAMBALPUR | JED | Khandokata | 33kV Kuchinda | 2022-02-22 | 10:00 | 13:00 | SDO KUCHINDA | 1 | Feeder Maintenance | Keseibahal |  | NO
110 | BOLANGIR | Sonepur | 132/33KV Sonepur | BMPUR | 2022-02-22 | 8:00 | 17:00 | SDO BMPUR | 10 | V Cross Arm Straightening,Tree Trimming | Hingma,Hikudi Chowk,Bagalpur |  | NO
111 | BOLANGIR | Sonepur | 132/33KV Sonepur | BINKA | 2022-02-22 | 8:00 | 17:00 | SDO BINKA | 12 | Pin Insulator Change,V Cross Arm Straightening | Kalapathar,Janmura,Industry,Sankara,Mahadevpali,Gulunda,Rampur,Binka Town |  | NO
112 | BOLANGIR | Sonepur | 132/33KV Sonepur | Sonepur | 2022-02-22 | 8:00 | 17:00 | SDO Sonepur | 10 | Tree trimming,AB Switch Repairing | Badbazar,Collectorate,Hospital,Majhipada,Santinagar,Janmura-I,Hardokhol Urban |  | NO
113 | BARGARH | Bargarh West Electrical Division (BWED) | Padampur 132/33KV GSS | 33KV Paikmal (Paikmal PSS to Jharbandh PSS) | 2022-02-23 | 9:00 | 14:00 | Purandar sahu (SDO of Paikmal Sub-Division) | 11.5 | Tree trimming work | PSS Affected-Jharbandh, Dava, Dungripali | Outage from Paikmal PSS | NO
114 | SAMBALPUR | JED | Khandokata | 33kV Kuchinda | 2022-02-24 | 10:00 | 13:00 | SDO KUCHINDA | 1 | Tree branch trimming | Kusumi |  | NO
115 | BARGARH | Bargarh Electrical Division (BED) | 132 / 33 KV GSS Katapali | 33KV Attabira | 2022-02-24 | 9:00 | 14:00 | Bijay Behera (SDO of Attabira Sub-Division) | 22.6 | Tree trimming work | Attabira,Patrapali,Thuapali and Bheden PSS remain shutdown. | Outage from GSS | NO
116 | BARGARH | Bargarh West Electrical Division (BWED) | Padampur 132/33KV GSS | 33KV Paikmal (Jharbandh to Dova) | 2022-02-25 | 9:00 | 14:00 | Purandar sahu (SDO of Paikmal Sub-Division) | 2.6 | Tree trimming work | PSS Affected- Dova | Outage from Paikmal PSS | NO
117 | KALAHANDI | KWED | 33/11kV Dharamgarh PSS | Behera | 2022-02-26 | 9:00 | 14:00 | Mr. Umesh Pradhan | 1 | Tree Trimming & PSS Maintenance | Behera, Parla, Chhanchanabahali | Only Behera PSS under Outage | NO
118 | BARGARH | Bargarh West Electrical Division (BWED) | Padampur 132/33KV GSS | 33KV Paikmal (Jharbandh to Dungripali) | 2022-02-27 | 9:00 | 14:00 | Purandar sahu (SDO of Paikmal Sub-Division) | 2.6 | Tree trimming work | PSS Affected- Dungripali | Outage from Paikmal PSS | NO

## Master (hidden)
Circle | Circle | Division | SAMBALPUR | ROURKELA | KALAHANDI | BOLANGIR | BARGARH | Start Date | End Date | Start Time | End Time
SAMBALPUR | SAMBALPUR | SED | SED | RED RKL | KEED | BED,Bolangir | BED, Bargarh | 2021-01-01 | 2030-12-31 | 0:00 | 24:00 PM
ROURKELA | SAMBALPUR | SEED | SEED | RSED RKL | KWED | TED, Titilagarh | BWED, Bargarh
KALAHANDI | SAMBALPUR | JED, Jharsuguda | JED, Jharsuguda | RED Rajgangpur | NUAPADA | SED,SONEPUR
BOLANGIR | SAMBALPUR | BNED Brajrajnagar | BNED Brajrajnagar | SED
BARGARH | SAMBALPUR | DEOGARH | DEOGARH
| ROURKELA | RED RKL
| ROURKELA | RSED RKL
| ROURKELA | RED Rajgangpur
| ROURKELA | SED
| KALAHANDI | KEED
| KALAHANDI | KWED
| KALAHANDI | NUAPADA
| BOLANGIR | BED,Bolangir
| BOLANGIR | TED, Titilagarh
| BOLANGIR | SED,SONEPUR
| BARGARH | BED, Bargarh
| BARGARH | BWED, Bargarh

## OPTCL
Planned Outages Report For the Month of Oct 2021
From Date:- 01.10.2021 to 31.10.2021 OUTAGE REQUESTED ON ACCOUNT OF OPTCL
SL No. | Name of the Circle | Name of the Division | 220/132/33 KV GSS Name | Name of 33 KV O/G Feeder or Name of Equipment | Date of Outage | Isolation Time | Restoration Time | Name of Outage taken Person | Affected Load in MW | Reason of Outage | Key Areas Affected | Remarks | PRESS NOTE RELEASE REQUIREMENT (YES/NO)