## TPWODL
Planned Outages Report For the Month of Sep 2021
From Date:- 01.09.2021 to 30.09.2021 OUTAGE REQUESTED ON ACCOUNT OF TPWODL
SL No. | Name of the Circle | Name of the Division | 220/132/33kV GSS Name | Name of the 33kV feeder | Date of Outage | Isolation Time | Restoration Time | Name of Outage taken Person | Affected Load in MW | Reason of Outage | Key Areas Affected | Remarks | PRESS NOTE RELEASE REQUIREMENT (YES/NO)
1 | Sambalpur | Brajraj nagar | Remja-1 | TRL-2 | 2021-09-01 | 9.00 AM | 2.00 PM | Khandu Toppo | 3 | Commissioning of New Breaker for megalift line | Dhulunda,Megalift | Only Dhulunda and Megalift in off Supply | No
2 | Sambalpur | Jharsuguda | Khandokata | Kuchinda | 2021-09-01 | 10.00 AM | 12.00PM | Tanuram Behera | 4 | AB Switch reparing work | Lasa,Bhojpur,Jamankira |  | No
3 | Kalahandi | KEED | Bhawanipatna | 33kV BHPT,Town 1 | 2021-09-01 | 9AM | 1PM | Abhishek Swain | 6 | Tree Trimming & Maintenance | Kusadungri, College fdr, Raisingpur |  | NO
4 | Sambalpur | SED | Kantapali | Burla and Burla Medical | 2021-09-02 | 9.00 AM | 2.00 PM | Somnath Seth | 4 | Tree Trimming work and PSS Maintenance | Burla, Burla Medical and Hirakud |  | No
5 | Sambalpur | Jharsuguda | Khandokata | Kuchinda | 2021-09-02 | 10.00 AM | 12.00PM | Tanuram Behera | 4 | Pole Straightening work | Lasa,Bhojpur,Jamankira |  | No
6 | Bargarh | Bargarh Electrical Division (BED) | Pradhanpali 132/33KV GSS | 33KV Turunga | 2021-09-02 | 9:00 | 14:00 | Anant Kumar Sahu (SDO of Bargarh-2 Sub-Division) | 23.2 | Tree trimming and pin insulator replacing work at 33KV Turunga feeder | Turunga and Dasmile PSS remain shutdown | Outage from GSS | NO
7 | Bargarh | Bargarh West Electrical Division (BWED) | Barpali 132/33KV GSS | 33KV Melchamunda (Barpali GSS to Charmunda PSS) | 2021-09-02 | 9:00 | 14:00 | Guru Charan Sahu (SDO of Barpali Sub-Division) | 4.8583 | Tree trimming and pin insulator replacement work | Agalpur,Tinkani and Sujia | Outage from GSS | NO
8 | ROURKELA | SED | 132/33KV BRAJRAJNAGAR | 33KV SARGIPALI | 2021-09-02 | 8.00 AM | 5.00 PM | SDO,UJALPUR | 12 MW | TREE TRIMMING | SARGIPALI TO RAIBOGA, SAHAJBAHAL TO REMJA |  | NO
9 | Kalahandi | KEED | Khariar | 33kV Sindheikela feeder | 2021-09-02 | 9AM | 1PM | Mr. S K Mohapatra | 2.5 | Tree Trimming | Borda town, Seinpur, Artal, Mahaling |  | NO
10 | Sambalpur | Jharsuguda | Budhipadar | Airport | 2021-09-03 | 9.00 AM | 2.00 PM | Bibeka nand Sarangi | 2 | Tree Trimming | Airport |  | No
11 | Sambalpur | SED | Kantapali | Burla and Burla Medical | 2021-09-03 | 9.00 AM | 2.00 PM | Somnath Seth | 4 | Tree Trimming work and PSS Maintenance | Burla, Burla Medical and Hirakud |  | No
12 | Sambalpur | SED | Sambalpur | Cheruapada | 2021-09-03 | 9.00 AM | 2.00 PM | Ranjit Gaya | 12 | Conductor replacement,PSS,Line Maintenance | Cheruapada,Badbazar |  | Yes
13 | Bargarh | Bargarh West Electrical Division (BWED) | Padampur 132/33KV GSS | 33KV Padampur | 2021-09-03 | 9:00 | 14:00 | Sujit Behera (SDO of Padampur Sub-Division) | 12.232 | Tree trimming work | Padampur Town-I,Gaisilet,Melchamunda,Boden,Barikel,Lakhmara and Padampur Town-II | Outage from GSS | NO
14 | ROURKELA | RED | 132/33KV CHHEND | 33KV DALPOSH | 2021-09-03 | 9.00 AM | 3.00 PM | SDO,BISRA | 1.5 MW | Maintainance and Tree Trimmng | BARTOLI, JAMSERA |  | NO
15 | ROURKELA | RSED | 220/33KV BARKOT | 33KV MAHULDHIA | 2021-09-03 | 8.00 AM | 1.00 PM | SDO,BONAI | 2MW | TREE TRIMMING | MAHULDHIA SECTION |  | NO
16 | ROURKELA | RAJGANGPUR | 132/33KV RAJGANGPUR | 33KV ROURKELA 1 | 2021-09-03 | 10.00 AM | 2.00 PM | SDO,RAJGANGPUR 1 | 8 MW | Maintainance and Tree Trimmng | BILEIGARH , RANOBAHAL |  | NO
17 | ROURKELA | RAJGANGPUR | 132/33KV CHHEND | 33KV BIRMITRAPUR | 2021-09-03 | 8.00 AM | 05:00PM | SDO,KUARMUNDA | 15 MW | Maintainance and Tree Trimmng | KUANRMUNDA |  | YES
18 | Kalahandi | KEED | Kesinga | 33kV Bhawanipatna-1 | 2021-09-03 | 8AM | 2PM | Mr.Sushant Ku. Behera | 3.5 | Line Maintenance | Karlapada, Utkela |  | NO
19 | Sambalpur | Jharsuguda | Jharsuguda | Sarbahal | 2021-09-04 | 10.00 AM | 12.00 PM | Bibeka nand Sarangi | 6 | Tree trimming and V cross arm alighment | Sarbahal |  | No
20 | Sambalpur | SEED | Lapanga | RENGALI-LPG | 2021-09-04 | 9.00 AM | 3.00 PM | RAJU SAHA | 8 | TREE TRIMMING AND MAINTENANCE | RENGALI, SALAD, GANESHNAGAR, NISHANBHANGA, RAMPELLA |  | No
21 | Bargarh | Bargarh Electrical Division (BED) | Pradhanpali 132/33KV GSS | 33KV Town | 2021-09-04 | 09:00 | 14:00 | Himansu Kumar Samantaray (SDO of Bargarh-1 Sub-Division) | 11.085 | Tree trimming and V-cross arm straightning | Town,Pvt Bus stand,Govindpali and Bandhutikra area | Outage from GSS | Yes
22 | Bargarh | Bargarh West Electrical Division (BWED) | Ghenss 132/33KV GSS | 33KV Sohela | 2021-09-04 | 9:00 | 14:00 | Adikanda Das (SDO of Sohela Sub-Division) | 23.4721 | Tree trimming and pin insulator replacement work | Sohella Town,Chhuriapali ,Luhurachati, Industrial,Grinjal,Kangaon and Padampur Feeder | Outage from GSS | NO
23 | Bargarh | Bargarh Electrical Division (BED) | 132 / 33 KV GSS Katapali | 33KV Attabira | 2021-09-04 | 9:00 | 14:00 | Bijay Behera (SDO of Attabira Sub-Division) | 28.2 | AB Switch repairing,re-jumpering and tree trimming work at 33KV Attabira feeder | Attabira,Patrapali,Thuapali and Bheden PSS remain shutdown. | Outage from GSS | Yes
24 | ROURKELA | RED | 132/33 KV ROURKELA | 33KV BISRA | 2021-09-04 | 9.00 AM | 3.00 PM | SDO,BISRA | 7.5 MW | Maintainance and Tree Trimmng | DHADRI, BARSUAN, BISRA 1, BISRA 2, JAREIKELA, BAMBUA |  | NO
25 | ROURKELA | RSED | 132/33KV CHHEND | 33KV CHHEND | 2021-09-04 | 10.00 AM | 3.00 PM | SDO,INDUSTRIAL ESTATE | 11MW | Maintainance and Tree Trimmng | CHEND, KALINGA VIHAR |  | NO
26 | ROURKELA | RAJGANGPUR | 132/33KV RAJGANGPUR | 33KV ROURKELA 2 | 2021-09-04 | 10.00 AM | 2.00 PM | SDO,RAJGANGPUR 1 | 25 MW | Maintainance and Tree Trimmng | INDUSTRIAL |  | YES
27 | ROURKELA | RAJGANGPUR | 132/33KV CHHEND | 33KV PURNAPANI | 2021-09-04 | 8.00 AM | 05:00PM | SDO,KUARMUNDA | 12 MW | Maintainance and Tree Trimmng | HATIBARI |  | NO
28 | ROURKELA | SED | 132/33KV SANKARA | 33KV MAJHAPADA | 2021-09-04 | 8.00 AM | 5.00 PM | SDO,SUNDARGARH | 4 MW | TREE TRIMMING | GADIAJOR TO BHAWANIPUR |  | NO
29 | Kalahandi | KEED | Kesinga | 33kV Belgaon Feeder | 2021-09-04 | 9AM | 2PM | Mr. Amiya Ranjan Panda | 5 | Tree Trimming | Karlamunda, Nunmath, Sisakhal |  | NO
30 | Kalahandi | NED | Khariar | 33kV Sinapali feeder | 2021-09-04 | 8AM | 2PM | Mr. Gagan Bihari Jena | 9 | Tree Trimming | Sinapali, Bargaon, Hatibandh, Kendumunda, Chalna, Sardhapur, Bharuamunda |  | NO
31 | Sambalpur | Brajraj nagar | Remja-1 | TRL-2 | 2021-09-05 | 9.00 AM | 2.00 PM | Khandu Toppo | 8 | Tree Trimming and Replacement of CT | Muchbahal,Lakhanpur,Dhulunda,Megalift |  | No
32 | Balangir | Balangir | 132/33KV Laltikra | Titlagarh | 2021-09-05 | 8:00 | 12:00 | Mr.Kamlesh Pradhan (SDO-1,Balangir) | 11 | Line Maintainnance | Balangir Town,Industrial Area | High Revenue Feeders | NO
33 | Balangir | Titlagarh | 132/33KV Kantabanji | Industrial Feeder | 2021-09-05 | 8:00 | 12:00 | Mr.Abani Kanta Maharana (SDO-Kantabanji) | 2 | Tree trimming | Kantabanji Industrial Areas |  | NO
34 | Balangir | Titlagarh | 132/33KV Khariar | Bongamunda | 2021-09-05 | 9:00 | 13:00 | Mr.Abani Kanta Maharana (SDO-Kantabanji) | 4 | Tree trimming,AB Switch Repairing | Bangomunda Town,Gohiriapadar,Bhalumunda,Lukapada |  | NO
35 | ROURKELA | SED | 132/33KV SANKARA | 33KV KFM | 2021-09-05 | 8.00 AM | 5.00 PM | SDO,SUNDARGARH | 12 MW | TREE TRIMMING | INDUSTRIAL |  | NO
36 | Sambalpur | Jharsuguda | Khandokata | Laikera | 2021-09-06 | 9.00 AM | 2.00 PM | Bibeka nand Sarangi | 5 | Tree Trimming and Pole straightening,Jumpring inside PSS | Laikera and Kirmira |  | No
37 | Bargarh | Bargarh West Electrical Division (BWED) | Padampur 132/33KV GSS | 33KV Paikmal (Paikmal PSS to Jhitki PSS) | 2021-09-06 | 9:00 | 14:00 | Purandar sahu (SDO of Paikmal Sub-Division) | 3.5 | Tree trimming work | PSS Affected- Paikmal, Mandosil, Jhitki, Jharbandh, Dava, Dungripali | Outage from Paikmal PSS | NO
38 | Bargarh | Bargarh Electrical Division (BED) | Pradhanpali 132/33KV GSS | 33KV Dungri | 2021-09-06 | 9:00 | 14:00 | Subrat Ku. Seth (SDO of Bhatli Sub-division) | 10.581 | Tree trimming work | All 07Nos PSS name Bhatli,Bhukta,Raisobha,Udeypali,Ambabhona,Kandpala and Dungri PSS remain shutdown. | Outage from GSS | NO
39 | Bargarh | Bargarh Electrical Division (BED) | 132 / 33 KV GSS Chiplima | 33KV Dhama-II (Chiplima GSS to Khuntlipali PSS) | 2021-09-06 | 9:00 | 14:00 | Banchha Nidhi Naik (SDO of Bheden Sub-division) | 22.8 | Re-jumpering and tree trimming work at Dhama-II feeder | Khuntulipali,Dhatukpali and Gondturum (Mahulpali) PSS remain shutdown. | Outage from GSS | NO
40 | Bargarh | Bargarh West Electrical Division (BWED) | Ghenss 132/33KV GSS | 33KV Bijepur | 2021-09-06 | 9:00 | 14:00 | Adikanda Das (SDO of Sohela Sub-Division) | 18.9 | 33KV AB switch maintenance and tree trimming | Barmunda,Bijepur town,Sarandapali,Jaring ,Kharmunda,Laumunda,Jokhipali and Saipali area | Outage from GSS | NO
41 | ROURKELA | RED | 132/33KV CHHEND | 33KV KOELNAGAR | 2021-09-06 | 10.00 AM | 2.00 PM | SDO,KOELNAGAR | 7MW | Maintainance and Tree Trimmng | KOEL NAGAR, JHIRPANI, |  | NO
42 | ROURKELA | RAJGANGPUR | 132/33KV RAJGANGPUR | 33KV KUTRA | 2021-09-06 | 10.00 AM | 3.00 PM | SDO,RAJGANGPUR 2 | 20 MW | Maintainance and Tree Trimmng | KUTRA |  | NO
43 | ROURKELA | RAJGANGPUR | 132/33 KV KALUNGA | 33KV IDC | 2021-09-06 | 9.00 AM | 02.00 PM | SDO,KALUNGA | 16 MW | Maintainance and Tree Trimmng | BAJRANGI INDUSTRY |  | NO
44 | ROURKELA | SED | 132/33KV BRAJRAJNAGAR | 33KV SARGIPALI | 2021-09-06 | 10.00 AM | 3.00PM | SDO,UJALPUR | 8 MW | TREE TRIMMING | SARGIPALI TO RAIBOGA, SAHAJBAHAL TO REMJA |  | NO
45 | Kalahandi | KEED | Kesinga | 33kV Narla Feeder | 2021-09-06 | 8AM | 2PM | Mr. Deepak Behera | 14.5 | 33kV AB Switch Installation & 33kV Railway Crossing work & Tree Trimming | Narla block, M. Rampur block, Lanjigarh feeder |  | NO
46 | Sambalpur | Jharsuguda | Khandokata | Laikera | 2021-09-07 | 9.00 AM | 2.00 PM | Bibeka nand Sarangi | 2 | Tree Trimming and Pole straightening,Jumpring inside PSS | Sodamal |  | No
47 | Sambalpur | Jharsuguda | Khandokata | Kuchinda | 2021-09-07 | 10.00 AM | 12.00PM | Tanuram Behera | 4 | Tree Trimming Work | Lasa,Bhojpur,Jamankira |  | No
48 | Bargarh | Bargarh West Electrical Division (BWED) | 132/33KV GSS Barpali | 33KV Barpali | 2021-09-07 | 9:00 | 14:00 | Guru Charan Sahu (SDO of Barpali Sub-Division) | 19.433 | Tree trimming and pin insulator replacing work | Barpali Town,Rampur,Bandhpali,Fulapali,Agalpur,Badgaon and Lenda feeder remain shutdown | Outage from GSS | NO
49 | Bargarh | Bargarh West Electrical Division (BWED) | Ghenss 132/33KV GSS | 33KV Melchamunda (Ghenss GSS to Melchamunda PSS) | 2021-09-07 | 9:00 | 14:00 | Sujit Behera (SDO of Padampur Sub-Division) | 18.15 | Tree trimming and pin insulator replacing work | Melchamunda,Ghenss,Belmunda and Sargibahal area | Outage from GSS | NO
50 | Bargarh | Bargarh Electrical Division (BED) | 132 / 33 KV GSS Chiplima | 33KV Goshala | 2021-09-07 | 9:00 | 14:00 | Banchha Nidhi Naik (SDO of Bheden Sub-division) | 7.531 | Tree trimming and pin insulator replacement work | Larambha and Godbhaga area | Outage from Godbhaga PSS | NO
51 | ROURKELA | RSED | 132/33 KV ROURKELA | 33KV INDUSTRIAL ESTATE | 2021-09-07 | 10.00 AM | 3.00 PM | SDO,INDUSTRIAL ESTATE | 6MW | Maintainance and Tree Trimmng | INDUSTRIAL |  | NO
52 | ROURKELA | RAJGANGPUR | 132/33 KV KALUNGA | 33KV KALUNGA | 2021-09-07 | 9.00 AM | 02.00 PM | SDO,KALUNGA | 8 MW | Maintainance and Tree Trimmng | KALUNGA |  | NO
53 | ROURKELA | SED | 132/33KV BRAJRAJNAGAR | 33KV ARYAN | 2021-09-07 | 10.00 AM | 5.00 PM | SDO,UJALPUR | 5 MW | TREE TRIMMING | ACB INDIA |  | NO
54 | Kalahandi | KEED | Kesinga | 33kV Kesinga Feeder | 2021-09-07 | 9AM | 12AM | Mr. Surya Kanta Pusti | 10 | Tree Trimming | Kesinga Town, Boringpadar, Jaganathpur, Durga Rice Mill |  | NO
55 | Sambalpur | Brajraj nagar | Remja-1 | TRL-2 | 2021-09-08 | 9.00 AM | 2.00 PM | Khandu Toppo | 5 | Tree Trimming and AB Switch maintenance in PSS | Jharuapada,Dhulunda,Megalift |  | No
56 | Sambalpur | Jharsuguda | Jharsuguda | Kolabira | 2021-09-08 | 9.00 AM | 2.00 PM | Bibeka nand Sarangi | 0 | Tree Trimming | NA | No PSS will affect | No
57 | Sambalpur | Jharsuguda | Khandokata | Kuchinda | 2021-09-08 | 10.00 AM | 12.00PM | Tanuram Behera | 4 | Tree Trimming Work | Lasa,Bhojpur,Jamankira |  | No
58 | Bargarh | Bargarh West Electrical Division (BWED) | Padampur 132/33KV GSS | 33KV Paikmal (Paikmal PSS to Jharbandh PSS) | 2021-09-08 | 9:00 | 14:00 | Purandar sahu (SDO of Paikmal Sub-Division) | 11.5 | Tree trimming work | PSS Affected- Paikmal, Mandosil, Jhitki, Jharbandh, Dava, Dungripali | Outage from Paikmal PSS | NO
59 | Bargarh | Bargarh Electrical Division (BED) | Pradhanpali 132/33KV GSS | 33KV 4Pole | 2021-09-08 | 9:00 | 14:00 | Anant Kumar Sahu (SDO of Bargarh-2 Sub-Division) | 6.101 | Tree trimming and pin insulator replacing work at 33KV 4Pole feeder | Kamgaon and Landijuri feeder remain shutdown | Outage from 4Pole AB Switch | NO
60 | ROURKELA | RED | 132/33KV CHHEND | 33KV BASANTI | 2021-09-08 | 9.00 AM | 3.00 PM | SDO,BASANTI | 6.5MW | Maintainance and Tree Trimmng | DAV, PHD |  | NO
61 | ROURKELA | RSED | 220/33KV BONAI | 33KV BONAI | 2021-09-08 | 8.00 AM | 1.00 PM | SDO,BONAI | 8MW | A/B SWITCH MAINTAINANCE | BONAI & GURUNDIA |  | NO
62 | ROURKELA | RAJGANGPUR | 132/33KV RAJGANGPUR | 33KV RAJGANGPUR | 2021-09-08 | 10.00 AM | 2.00 PM | SDO,RAJGANGPUR 1 | 4 MW | Maintainance and Tree Trimmng | RAJGANGPUR TOWN |  | NO
63 | ROURKELA | RAJGANGPUR | 132/33 KV KALUNGA | 33KV INDUSTRIAL | 2021-09-08 | 9.00 AM | 02.00 PM | SDO,KALUNGA | 12 MW | Maintainance and Tree Trimmng | KALUNGA |  | NO
64 | ROURKELA | SED | 132/33KV SANKARA | 33KV SUBDEGA (KINJERKELA) | 2021-09-08 | 10.00 AM | 5.00 PM | SDO,UJALPUR | 2.5 MW | TREE TRIMMING | BALISANKARA,KINJERKELA |  | NO
65 | Sambalpur | Jharsuguda | Khandokata | Kuchinda | 2021-09-09 | 10.00 AM | 12.00PM | Tanuram Behera | 4.1 | Tree Trimming Work | Kesiabahal,Ardabahal,Gochar |  | No
66 | Sambalpur | SEED | Lapanga | RENGALI-LPG | 2021-09-09 | 9.00 AM | 3.00 PM | RAJU SAHA | 8 | TREE TRIMMING AND MAINTENANCE | LAPANGA,SHRADHAPALI,TALABIRA,THELKOLI,DHUBENCHAPAL,KHINDA |  | No
67 | ROURKELA | RAJGANGPUR | 132/33KV RAJGANGPUR | 33KV SUNDARGARH | 2021-09-09 | 10.00 AM | 3.00 PM | SDO,RAJGANGPUR 1 | 14 MW | Maintainance and Tree Trimmng | KUTRA, ALANDA, |  | NO
68 | ROURKELA | RAJGANGPUR | 132/33 KV KALUNGA | 33KV BALANDA | 2021-09-09 | 9.00 AM | 02.00 PM | SDO,KALUNGA | 2 MW | Maintainance and Tree Trimmng | GOTIDHARA |  | NO
69 | Sambalpur | Brajraj nagar | Remja-1 | OPGC | 2021-09-10 | 9.00 AM | 2.00 PM | Khandu Toppo | 3 | Tree Trimming and Line AB switch maintenance | Bandhabahal and Pandri |  | No
70 | Sambalpur | Jharsuguda | Budhipadar | Industrial-1 | 2021-09-10 | 9.00 AM | 2.00 PM | Bibeka nand Sarangi | 1 | Tree Trimming | Sevenstar | No PSS will affect | No
71 | Sambalpur | SED | Sambalpur | Cheruapada | 2021-09-10 | 9.00 AM | 2.00 PM | Ranjit Gaya | 12 | Conductor replacement,PSS,Line Maintenance | Cheruapada,Badbazar |  | Yes
72 | Balangir | Balangir | 132/33KV Sadeipalli | Madhiapalli | 2021-09-10 | 9:00 | 13:00 | Mr.Kamlesh Pradhan (SDO-2,Balangir) | 6 | Line Maintainnance | Kurul,Odiapali,Mahimunda | High Revenue Feeders | NO
73 | Sambalpur | Deogarh | Brakote | Deogarh | 2021-09-11 | 8.00 AM | 2.00 PM | Ananda Kalo | 8 | Conductor replacement and PSS Maintenance | Deogarh,Regalbeda,Telibani,Telimunda,kandhal |  | No
74 | Sambalpur | Jharsuguda | Budhipadar | Industrial-1 | 2021-09-11 | 9.00 AM | 2.00 PM | Bibeka nand Sarangi | 1 | Tree trimming | Allen Metalic | No PSS will affect | No
75 | Sambalpur | SEED | Lapanga | KATARBAGA | 2021-09-11 | 9.00 AM | 3.00 PM | RAJU SAHA | 4 | TREE TRIMMING AND MAINTENANCE | KATARBAGA, GULAMAL,JHANKARPALI,TAMPERKELA,GUMLOI,KUSUMDIDHI |  | No
76 | ROURKELA | RSED | 220/33KV JODA | 33KV TENSA | 2021-09-11 | 9.00 AM | 3.00 PM | SDO,BONAI | 10MW | TREE TRIMMING | KOIDA |  | NO
77 | Kalahandi | KEED | Khariar | 33kV Sindheikela feeder | 2021-09-11 | 9AM | 1PM | Mr. S K Mohapatra | 7.5 | Tree Trimming | Borda town, Seinpur, Artal, Mahaling |  | NO
78 | Kalahandi | NED | Khariar | 33kV Khariar 1,2 feeder | 2021-09-11 | 9AM | 1PM | Mr. Gagan Bihari Jena | 25 | Tree Trimming | Khariar Town, Sikuan, Areda, Sinapali, Bargaon, Hatibandha, Kendumunda, Chalna, Tukla, Thana chowk |  | NO
79 | Sambalpur | Jharsuguda | Khandokata | Kuchinda | 2021-09-13 | 10.00 AM | 12.00PM | Tanuram Behera | 0.8 | PSS Maintenance | Fasimal |  | No
80 | Balangir | Titlagarh | 132/33KV Kantabanji | Kantabanji | 2021-09-13 | 10:00 | 14:00 | Mr.Abani Kanta Maharana (SDO-Kantabanji) | 6.5 | Line Maintainnance | Kantabanji Town -1,2,Ashrampara,Dhamandanga | High Revenue Feeders | NO
81 | ROURKELA | RSED | 132/33 KV ROURKELA | 33KV PILOT PROJECT | 2021-09-13 | 10.00 AM | 3.00 PM | SDO,INDUSTRIAL ESTATE | 6MW | Maintainance and Tree Trimmng | INDUSTRIAL |  | NO
82 | ROURKELA | RSED | 220/33KV BONAI | 33KV K.BALANGA | 2021-09-13 | 9.00 AM | 4.00 PM | SDO,BONAI | 2MW | TREE TRIMMING | KOIDA BLOCK AREA |  | NO
83 | ROURKELA | RAJGANGPUR | 132/33KV CHHEND | 33KV VEDVYAS | 2021-09-13 | 9.00 AM | 02.00 PM | SDO,KALUNGA | 8 MW | Maintainance and Tree Trimmng | VEDVYAS |  | NO
84 | Kalahandi | KEED | Kesinga | 33kV Narla Feeder | 2021-09-13 | 8AM | 1PM | Mr. Deepak Behera | 4.5 | Tree Trimming | Lanjigarh block |  | NO
85 | Sambalpur | Jharsuguda | Rajgangpur | Kutra | 2021-09-14 | 10.00 AM | 12.00PM | Tanuram Behera | 1.3 | AB Switch Installation | Garposh |  | No
86 | ROURKELA | RED | 132/33KV CHHEND | 33KV NIT | 2021-09-14 | 9.00 AM | 3.00 PM | SDO,KOELNAGAR | 10MW | Maintainance and Tree Trimmng | NIT CAMPUS,JAGDA,NAYABAZAR |  | NO
87 | ROURKELA | RAJGANGPUR | 132/33KV SUNDARGARH | 33KV BARGAON | 2021-09-14 | 10.00 AM | 3.00 PM | SDO,RAJGANGPUR 2 | 2 MW | Maintainance and Tree Trimmng | SAHAJBAHAL |  | NO
88 | ROURKELA | SED | 132/33KV BRAJRAJNAGAR | 33KV OCPL | 2021-09-14 | 10.00 AM | 5.00 PM | SDO,UJALPUR | 0.5 MW | TREE TRIMMING | OCPL |  | NO
89 | Sambalpur | Jharsuguda | Rajgangpur | Kutra | 2021-09-15 | 10.00 AM | 02.00PM | Tanuram Behera | 1.3 | AB Switch Installation | Garposh |  | No
90 | Sambalpur | SEED | Khandokata | LAIDA | 2021-09-15 | 9.00 AM | 3.00 PM | SUJIT THAKUR | 4 | TREE TRIMMING AND MAINTENANCE | LAIDA,GUCHAPALI,RENGLOI, KANTAPALI, MAHADA,KINALOI |  | No
91 | Bargarh | Bargarh West Electrical Division (BWED) | Ghenss 132/33KV GSS | 33KV Melchamunda (Melchamunda PSS to kundakhai PSS) | 2021-09-15 | 9:00 | 14:00 | Sujit Behera (SDO of Padampur Sub-Division) | 3.2 | Tree trimming work | Kundakhai and Jamutpali | Outage from Melchamunda PSS | NO
92 | ROURKELA | RSED | 220/33KV BARKOT | 33KV MAHULDHIA | 2021-09-15 | 8.00 AM | 1.00 PM | SDO,BONAI | 2MW | TREE TRIMMING | MAHULDHIA SECTION |  | NO
93 | ROURKELA | SED | 132/33KV BRAJRAJNAGAR | 33KV ARYAN | 2021-09-15 | 10.00 AM | 5.00 PM | SDO,UJALPUR | 5 MW | TREE TRIMMING | ACB INDIA |  | NO
94 | Kalahandi | KEED | Bhawanipatna | 33kV Attanguda feeder | 2021-09-15 | 9AM | 1PM | Mr. Binayak Rout | 2.5 | Tree Trimming | Saidham, Jugsaipatna, Kruguda, Sagada |  | NO
95 | Sambalpur | Jharsuguda | Khandokata | Kuchinda | 2021-09-16 | 10.00 AM | 1.00PM | Tanuram Behera | 1 | PSS Maintenance | Bhojpur |  | No
96 | Bargarh | Bargarh West Electrical Division (BWED) | Padampur 132/33KV GSS | 33KV Lakhmara | 2021-09-16 | 9:00 | 14:00 | Sujit Behera (SDO of Padampur Sub-Division) | 3.048 | Tree trimming and pin insulator replacement work | Sambalpuri and Badikata area | Outage from GSS | NO
97 | ROURKELA | RED | 132/33 KV ROURKELA | 33KV BONDAMUNDA | 2021-09-16 | 10.00 AM | 01.30 PM | SDO,BISRA | 4MW | Maintainance and Tree Trimmng | BONDOMUNDA, BALABHADRA MARKET |  | NO
98 | ROURKELA | RSED | 132/33 KV ROURKELA | 33KV IDC | 2021-09-16 | 10.00 AM | 3.00 PM | SDO,PANPOSH | 10MW | Maintainance and Tree Trimmng | CIVIL TOWNSHIP,PANPOSH, JAYAPRAKASH HOSHPITAL |  | NO
99 | ROURKELA | RAJGANGPUR | 132/33KV RAJGANGPUR | 33KV KUTRA | 2021-09-16 | 10.00 AM | 3.00 PM | SDO,RAJGANGPUR 2 | 14 MW | Maintainance and Tree Trimmng | KUTRA TO BIRINGA TOLI |  | NO
100 | ROURKELA | SED | 132/33KV SANKARA | 33KV SADAR | 2021-09-16 | 10.00 AM | 5.00 PM | SDO,UJALPUR | 3 MW | TREE TRIMMING | BALJHURI, SADAR,BANDHPALI, KALOBAHAL |  | NO
101 | ROURKELA | SED | 132/33KV SANKARA | 33KV SUBDEGA | 2021-09-17 | 8.00 AM | 5.00 PM | SDO,SUNDARGARH | 8 MW | TREE TRIMMING | KARAMDIHI TO RANPUR |  | NO
102 | Kalahandi | KEED | Bhawanipatna | 33kV Junagarh feeder | 2021-09-17 | 9AM | 1PM | Mr. Binayak Rout | 4 | Tree Trimming
103 | Sambalpur | Deogarh | Rengali | Budhapal | 2021-09-18 | 8.00 AM | 2.00 PM | Ananda Kalo | 2.5 | Tree Trimming and PSS maintenance | Budhapal |  | No
104 | Sambalpur | SED | Sambalpur | Cheruapada | 2021-09-18 | 9.00 AM | 2.00 PM | Ranjit Gaya | 12 | Conductor replacement,PSS,Line Maintenance | Cheruapada,Badbazar |  | Yes
105 | Sambalpur | SEED | Sambalpur | RENGALI-SBP | 2021-09-18 | 9.00 AM | 3.00 PM | RAJU SAHA | 7 | TREE TRIMMING AND MAINTENANCE | SASAN, MAJHIPALI, TALAB, PRADHANPALI, GAMBHARKANTA,BISHALKHINDA,PARMANPUR,SERSUTAL,MURA,PANDRI,TABDABAHAL |  | No
106 | Balangir | Balangir | 132/33KV Laltikra | Boudh | 2021-09-18 | 9:00 | 11:00 | Mr.Kamlesh Pradhan (SDO-1,Balangir) | 12 | Line Maintainance(Jumpering,Line AB Switch repair) | Gandhi nagar pada, Rameswar Nagar, Sambalpur Road, Jagannath pada, Fishery office chowk,Beherapali near over bridge, Durga mandap , sahu colony, Junadihi pada, Satya narayan pada. | Industrial Feeders | Yes
107 | Balangir | Balangir | 132/33KV Sadeipalli | Medical Feeder | 2021-09-18 | 09:00 | 13:00 | Mr.Kamlesh Pradhan (SDO-1,Balangir) | 2.2 | Tree Trimming | Govt.Medical College & Hospital |  | Yes
108 | ROURKELA | RED | 132/33 KV ROURKELA | 33KV GOPABANDHUPALI | 2021-09-18 | 9.00 AM | 3.00 PM | SDO,BASANTI | 2.5MW | Maintainance and Tree Trimmng | GB PALI, MS PALI, TIMBER COLONY |  | NO
109 | ROURKELA | RSED | 220/33KV BONAI | 33KV GURUNDIA | 2021-09-18 | 8.00 AM | 3.00 PM | SDO,BONAI | 1MW | TREE TRIMMING | GURUNDIA BLOCK |  | NO
110 | ROURKELA | RAJGANGPUR | 132/33KV SUNDARGARH | 33KV BARGAON | 2021-09-18 | 10.00 AM | 3.00 PM | SDO,RAJGANGPUR 2 | 4 MW | Maintainance and Tree Trimmng | JORONGOLAI |  | NO
111 | Kalahandi | NED | Khariar | 33kV Boden feeder | 2021-09-18 | 08:30AM | 1PM | Mr. Gagan Bihari Jena | 2.5 | Tree Trimming | Boden, Larka, Nagpada, Boirgaon, Timanpur, Niljee, Babebir, Gorla |  | NO
112 | Sambalpur | Brajraj nagar | Remja-1 | TRL-2 | 2021-09-19 | 9.00 AM | 2.00 PM | Khandu Toppo | 5 | Tree Trimming and AB Switch maintenance in PSS | Jharuapada,Dhulunda,Megalift |  | No
113 | Sambalpur | Jharsuguda | Khandokata | Kuchinda | 2021-09-19 | 10.00 AM | 1.00PM | Tanuram Behera | 0.8 | Tree trimming Work | Gochara |  | No
114 | ROURKELA | SED | 132/33KV SANKARA | 33KV SANKARA | 2021-09-19 | 8.00 AM | 5.00 PM | SDO,SUNDARGARH | 8 MW | TREE TRIMMING | SUNDARGARH TOWN |  | YES
115 | Sambalpur | Jharsuguda | Khandokata | Kuchinda | 2021-09-20 | 10.00 AM | 1.00PM | Tanuram Behera | 1.8 | Tree trimming Work | Gochara |  | No
116 | Bargarh | Bargarh West Electrical Division (BWED) | Barpali 132/33KV GSS | 33KV Sarandapali | 2021-09-20 | 9:00 | 14:00 | Adikanda Das (SDO of Sohela Sub-Division) | 10.4786 | Re-jumpering and tree trimming work | Sarandapali,Banbaspali,S.Dumerpali and Kantapali | Outage from GSS | NO
117 | Bargarh | Bargarh Electrical Division (BED) | Pradhanpali 132/33KV GSS | 33KV Tora | 2021-09-20 | 9:00 | 14:00 | Anant Kumar Sahu (SDO of Bargarh-2 Sub-Division) | 8.58 | Tree trimming and pin insulator replacement work | Remunda,Tora and Gaisima area | Outage from GSS | NO
118 | ROURKELA | RSED | 132/33 KV ROURKELA | 33KV LATHIKATA | 2021-09-20 | 10.00 AM | 3.00 PM | SDO,PANPOSH | 9MW | Maintainance and Tree Trimmng | JALDA SECTION , LATHIKATA SECTION |  | NO
119 | ROURKELA | RAJGANGPUR | 132/33KV RAJGANGPUR | 33KV SUNDARGARH | 2021-09-20 | 10.00 AM | 3.00 PM | SDO,RAJGANGPUR 2 | 9 MW | Maintainance and Tree Trimmng | KUTRA ,LANJIBERNA AREA |  | NO
120 | ROURKELA | RAJGANGPUR | 132/33KV CHHEND | 33KV KUANRMUNDA INDUSTRIAL | 2021-09-20 | 8.00 AM | 05:00PM | SDO,KUARMUNDA | 18 MW | Maintainance and Tree Trimmng | KUANRMUNDA |  | YES
121 | Kalahandi | KEED | Kesinga | 33kV Narla Feeder | 2021-09-20 | 8AM | 1PM | Mr. Deepak Behera | 4.5 | Tree Trimming | Lanjigarh block |  | NO
122 | Balangir | Titlagarh | 132/33KV Kesinga | Belgaon | 2021-09-21 | 11:00 | 15:00 | Mr. Nrusinghananda Prusty ( SDO-Saintala) | 3.5 | Line Maintainnance | Ghunsar,Badipada,Bhadra,Bijepur | High Revenue Feeders | NO
123 | Bargarh | Bargarh West Electrical Division (BWED) | Padampur 132/33KV GSS | 33KV Lakhmara | 2021-09-21 | 9:00 | 14:00 | Sujit Behera (SDO of Padampur Sub-Division) | 3.048 | Tree trimming and pin insulator replacement work | Sambalpuri and Badikata area | Outage from GSS | NO
124 | Bargarh | Bargarh Electrical Division (BED) | Pradhanpali 132/33KV GSS | 33KV Dungri | 2021-09-21 | 8:00 | 14:00 | Subrat Ku. Seth (SDO of Bhatli Sub-division) | 4.194 | AB Switch repairing,re-jumpering and tree trimming work at 33KV Dungri feeder | Badmal,Dunguri and Lakhanpur | Outage from Bhatli PSS | NO
125 | ROURKELA | RED | 132/33KV CHHEND | 33KV KOELNAGAR | 2021-09-21 | 9.00 AM | 12.30 PM | SDO,KOELNAGAR | 7 MW | Maintainance and Tree Trimmng | KOEL NAGAR, JHIRPANI |  | NO
126 | ROURKELA | RSED | 220/33KV BONAI | 33KV RAJAMUNDA | 2021-09-21 | 9.00 AM | 3.00 PM | SDO,BONAI | 3MW | TREE TRIMMING | INDUSTRY |  | NO
127 | ROURKELA | RSED | 220/33KV BONAI | 33KV MEGALIFT | 2021-09-21 | 9.00 AM | 3.00 PM | SDO,BONAI | 1MW | TREE TRIMMING | MEGALIFT |  | NO
128 | Bargarh | Bargarh West Electrical Division (BWED) | Padampur 132/33KV GSS | 33KV Gaisilet | 2021-09-22 | 9:00 | 14:00 | Sujit Behera (SDO of Padampur Sub-Division) | 5.315 | 33KV AB switch maintenance and tree trimming | Gaisilet,lebidi,firingimal,buromunda and talpali area | Outage from GSS | NO
129 | Kalahandi | KEED | Bhawanipatna | 33kV Attanguda feeder | 2021-09-22 | 9AM | 1PM | Mr. Binayak Rout | 2.5 | Tree Trimming | Saidham, Jugsaipatna, Kruguda, Sagada |  | NO
130 | Bargarh | Bargarh West Electrical Division (BWED) | Padampur 132/33KV GSS | 33KV Dahita | 2021-09-23 | 9:00 | 14:00 | Sujit Behera (SDO of Padampur Sub-Division) | 2.286 | Tree trimming and pin insulator replacement work | Siletpali,jamartala and dangachhancha area | Outage from GSS | NO
131 | ROURKELA | RED | 132/33KV CHHEND | 33KV BASANTI | 2021-09-23 | 9.00 AM | 3.00 PM | SDO,BASANTI | 6.5MW | Maintainance and Tree Trimmng | DAV, PHD |  | NO
132 | ROURKELA | RSED | 132/33 KV ROURKELA | 33KV LATHIKATA | 2021-09-23 | 10.00 AM | 3.00 PM | SDO,PANPOSH | 9MW | Maintainance and Tree Trimmng | JALDA SECTION , LATHIKATA SECTION |  | NO
133 | ROURKELA | RAJGANGPUR | 132/33KV SUNDARGARH | 33KV BARGAON | 2021-09-23 | 10.00 AM | 3.00 PM | SDO,RAJGANGPUR 2 | 8 MW | Maintainance and Tree Trimmng | BARGAON, TUDALOGA AREA |  | NO
134 | Sambalpur | SED | Sambalpur | Cheruapada | 2021-09-24 | 9.00 AM | 2.00 PM | Ranjit Gaya | 12 | Conductor replacement,PSS,Line Maintenance | Cheruapada,Badbazar |  | Yes
135 | Sambalpur | Jharsuguda | Sundergarh | Badgaon | 2021-09-24 | 10.00 AM | 02.00PM | Tanuram Behera | 4 | Tree trimming Work | Bamra |  | No
136 | Bargarh | Bargarh West Electrical Division (BWED) | Barpali 132/33KV GSS | 33KV Pandkital | 2021-09-24 | 9:00 | 14:00 | Guru Charan Sahu (SDO of Barpali Sub-Division) | 8.192 | Tree trimming work | Tulundi and Resam | Outage from GSS | NO
137 | ROURKELA | RSED | 220/33KV JODA | 33KV TENSA | 2021-09-24 | 9.00 AM | 4.00 PM | SDO,BONAI | 10MW | TREE TRIMMING | KOIDA BLOCK AREA |  | NO
138 | Kalahandi | KEED | Kesinga | 33kV Bhawanipatna-1 | 2021-09-24 | 9AM | 1PM | Mr. Binayak Rout | 3.5 MW | Tree Trimming | Karlapada, Utkela |  | NO
139 | Sambalpur | Jharsuguda | Sundergarh | Badgaon | 2021-09-25 | 10.00 AM | 02.00PM | Tanuram Behera | 4 | Tree trimming Work | Bamra |  | No
140 | Balangir | Balangir | 132/33KV Laltikra | Boudh | 2021-09-25 | 9:00 | 11:00 | Mr.Kamlesh Pradhan (SDO-1,Balangir) | 12 | Line Maintainance(Jumpering,Line AB Switch repair) | Gandhi nagar pada, Rameswar Nagar, Sambalpur Road, Jagannath pada, Fishery office chowk,Beherapali near over bridge, Durga mandap , sahu colony, Junadihi pada, Satya narayan pada. |  | NO
141 | Bargarh | Bargarh West Electrical Division (BWED) | Padampur 132/33KV GSS | 33KV Paikmal (Metalpali 4Pole to Mandosil PSS) | 2021-09-25 | 9:00 | 14:00 | Purandar sahu (SDO of Paikmal Sub-Division) | 2.5 | Tree trimming work | PSS Affected- Paikmal, Mandosil, Jhitki, Jharbandh, Dava, Dungripali | Outage from 4Pole AB Switch | NO
142 | ROURKELA | RAJGANGPUR | 132/33KV RAJGANGPUR | 33KV SUNDARGARH | 2021-09-25 | 10.00 AM | 3.00 PM | SDO,RAJGANGPUR 2 | 9 MW | Maintainance and Tree Trimmng | KUTRA, JHARBEDA, JAMPALI |  | NO
143 | Kalahandi | NED | Khariar | 33kV Timanpur feeder | 2021-09-25 | 9AM | 2PM | Mr. Gagan Bihari Jena | 1.5 | Tree Trimming | Timanpur, Niljee, Gorla, Babebir |  | NO
144 | Bargarh | Bargarh West Electrical Division (BWED) | Padampur 132/33KV GSS | 33KV Paikmal (Jharbandh PSS to Dungripali) | 2021-09-26 | 9:00 | 14:00 | Purandar sahu (SDO of Paikmal Sub-Division) | 3.5 | Tree trimming work | PSS Affected- Paikmal, Mandosil, Jhitki, Jharbandh, Dava, Dungripali | Outage from Jharbandh PSS | NO
145 | Bargarh | Bargarh West Electrical Division (BWED) | Padampur 132/33KV GSS | 33KV Paikmal (Jharbandh PSS to Dova) | 2021-09-27 | 9:00 | 14:00 | Purandar sahu (SDO of Paikmal Sub-Division) | 6.5 | Tree trimming work | PSS Affected- Paikmal, Mandosil, Jhitki, Jharbandh, Dava, Dungripali | Outage from Jharbandh PSS | NO
146 | Kalahandi | KEED | Bhawanipatna | 33kV Attanguda feeder | 2021-09-27 | 9AM | 1PM | Mr. Binayak Rout | 2.5MW | Tree Trimming | Saidham, Jugsaipatna, Kruguda, Sagada |  | NO
147 | ROURKELA | RSED | 220/33KV BONAI | 33KV BONAI | 2021-09-28 | 8.00 AM | 1.00 PM | SDO,BONAI | 2MW | TREE TRIMMING | BONAI BLOCK PART |  | NO
148 | Sambalpur | Jharsuguda | Rajgangpur | Kutra | 2021-09-29 | 10.00 AM | 01.00PM | Tanuram Behera | 1.3 | Tree trimming Work | Garposh |  | No
149 | Balangir | Titlagarh | 132/33KV Rampur | Belpada | 2021-09-29 | 11:00 | 15:00 | Mr.Ram Chandra Meher (SDO-Patnagarh) | 4 | Line Maintainnance | Belpada,Town,Kahapani,Nunhad,Padampur,Mandal, Ghanguli | High Revenue Feeders | NO
150 | Sambalpur | Jharsuguda | Rajgangpur | Kutra | 2021-09-30 | 10.00 AM | 01.00PM | Tanuram Behera | 1.3 | Tree trimming Work | Garposh |  | No
Note on D22: Author: Charged on dt.21.04.2017
Note on D37: Author: Charged on dt.21.04.2017
Note on L37: Author: Charged on dt.21.04.2017

## OPTCL
Planned Outages Report For the Month of Sep 2021
From Date:- 01.09.2021 to 30.09.2021 OUTAGE REQUESTED ON ACCOUNT OF OPTCL
SL No. | Name of the Circle | Name of the Division | 220/132/33 KV GSS Name | Name of 33 KV O/G Feeder or Name of Equipment | Date of Outage | Isolation Time | Restoration Time | Name of Outage taken Person | Affected Load in MW | Reason of Outage | Key Areas Affected | Remarks | PRESS NOTE RELEASE REQUIREMENT (YES/NO)