## Sheet1
Planned Outages for the month of Apr'22
OUTAGE REQUESTED ON ACCOUNT OF TPWODL
Sl No | Name of Circle | Name Of Division | 33/11KV PSS Name | 11KV Feeder or Name of Equipment | Date Of Outage | Isolation Time | Restoration Time | Name Of Person, outage to be availed | Affected Load in MW | Reason Of Outage | Key area affected | Remark
1 | KALAHANDI | KWED | 33KV/11KV GOLAMUNDA GSS | KHALIAKANI | 2022-05-01 | 7:00 | 11:00 | ESO GOLAMUNDA | 1 | FEEDER CONDUCTOR UPGRADATION | DHAMANPUR,KHALIAKANI
2 | KALAHANDI | KWED | 33KV/11KV MUKHIGUDA GSS | Makhiguda,Mangalpur | 2022-05-02 | 9:00 | 14:30 | Mr. Pabiraj Majhi | 1 | Line Maintenance & Tree Trimming | Makhiguda, Mangalpur, Dhansuli, Mahulpatna | only Mukhiguda pss is under outage
3 | KALAHANDI | KEED | 33/11kV Khariar PSS | Borda town, Seinpur, Artal, Mahaling | 2022-05-03 | 8:30 | 13:00 | Mr. Sudhir Ku. Mohapatra | 2.5 | Line Maintenance & Tree Trimming | Borda town, Seinpur, Artal, Mahaling | Outage taken for Only Borda PSS
4 | KALAHANDI | KWED | 33/11kV Junagarh GSS | Kalampur | 2022-05-04 | 8:00 | 14:00 | Mr. S.S. Swain | 2 | Line Maintenance & Tree Trimming | Kalampu, Bankapala, Bandhakana, Th.Rampur, Gopalpur, Badchergaon, Adri, Gopinathpur, Maligaon etc. | Th.Rampur, Kalampur & Adri PSS under Outage
5 | KALAHANDI | NUAPADA | 33/11kV Bisora PSS | Bisora | 2022-05-05 | 8:00 | 11:00 | Mr. Nigama Nanda Sutar | 5 | Line Maintenance & Tree Trimming | Bisora, Bhaleswar, Beltukuri, Saipala, Khairani, Darlimunda | Bisora & Saipala PSS under Outage
6 | KALAHANDI | NUAPADA | 33/11kV Khariar Road PSS | Khariar Road | 2022-05-06 | 8:00 | 11:00 | Mr. Monaraanjan Biswal | 5 | Line Maintenance & Tree Trimming | Nuapada Town, Sakhatora, Sarabong, Khariar Road Town, Patel Nagar, Biromal, Banka etc, | Only Kh. Road PSS under Outage
7 | KALAHANDI | NUAPADA | 33/11kV Nuapada PSS | Sarabong | 2022-05-07 | 8:00 | 13:00 | Mr. Gobinda Rana | 2.5 | Line Maintenance | Dharmabandha, Sarabong, Bhainsmundi | Only Sarabong PSS under Outage
8 | KALAHANDI | KWED | 33KV/11KV MUKHIGUDA GSS | Makhiguda, Mangalpur, Mahulpatna | 2022-05-09 | 9:00 | 14:30 | Mr. Pabiraj Majhi | 1 | Line Maintenance & Tree Trimming | Makhiguda, Mangalpur, Dhansuli, Mahulpatna | only makhiguda pss is under outage
9 | KALAHANDI | KEED | 33KV/11KV Kesinga GSS | Utkela | 2022-05-10 | 8:00 | 13:00 | Mr. Ajit Sahu | 3.5 | Feeder Maintenance | Utkela, Kundabandh, Pastikudi, Karlapada | Karlapada & Utkela PSS under Outage
10 | KALAHANDI | KWED | 33/11kV Junagarh PSS | Th. Rampur | 2022-05-10 | 8:00 | 14:00 | Mr. S.S. Swain | 1.2 | Line Maintenance & Tree Trimming | Dumerpadar, Badchatarang, Gopalpur, Th.Rampur, Adri, Dalguda, Gopinathpur etc | Th. Rampur & Adri PSS under Outage
11 | KALAHANDI | NUAPADA | 33/11kV Bisora PSS | Bisora | 2022-05-11 | 8:00 | 11:00 | Mr. Nigama Nanda Sutar | 5 | Line Maintenance & Tree Trimming | Bisora, Bhaleswar, Beltukuri, Saipala, Khairani, Darlimunda | Bisora & Saipala PSS under Outage
12 | KALAHANDI | KEED | 33KV/11KV Kesinga GSS | Karlamunda, Nunmath, | 2022-05-12 | 8:30 | 13:00 | Mr. Amiya Ranjan Panda | 5 | Line Maintenance | Karlamunda, Nunmath, Sisakhal | Nunmath, Sisakhal PSSs under Outage
13 | KALAHANDI | NUAPADA | 33/11kV Khariar Road PSS | Khariar Road | 2022-05-13 | 8:00 | 11:00 | Mr. Monaraanjan Biswal | 5 | Line AB Switch maintenance & tree trimming | Nuapada Town, Sakhatora, Sarabong, Khariar Road Town, Patel Nagar, Biromal, Banka etc, | Only Kh. Road PSS under Outage
14 | KALAHANDI | NUAPADA | 33/11kV Komna PSS | Kurumpuri | 2022-05-16 | 8:00 | 13:00 | Mr. Gobinda Rana | 3 | Line Maintenance & Tree Trimming | Tarbod, Lakhna, Silati, JNV, Bhela | Only Kurumpuri PSS under Outage
15 | KALAHANDI | KWED | 33KV/11 KV MUKHIGUDA GSS | Mukhiguda | 2022-05-17 | 9:00 | 14:30 | Mr. Pabiraj Majhi | 1 | Line Maintenance & Tree Trimming | Makhiguda, Mangalpur, Dhansuli, Mahulpatna | only makhiguda pss is under outage
16 | KALAHANDI | NUAPADA | 33/11kV Bisora PSS | Bhaleswar | 2022-05-18 | 8:00 | 11:00 | Mr. Nigama Nanda Sutar | 3 | Line Maintenance & Tree Trimming | Bisora, Bhaleswar, Beltukuri, Saipala, Khairani, Darlimunda | Only Bisora PSS under Outage
17 | KALAHANDI | KWED | 33/11kV Th.Rampur PSS | Adri | 2022-05-20 | 8:00 | 14:00 | Mr. S.S. Swain | 0.6 | Line Maintenance & Tree Trimming | Gopinathpur, Maligaon, Adri & Dalguda | Only Adri PSS under Outage
18 | KALAHANDI | KWED | 33kV/11KV TEMRA ,GADRAMAL GSS | Gadramal, Koksara, Dangriguda, Phubgaon, Temra | 2022-05-23 | 9:00 | 14:30 | Mr. B M Dalei | 5 | Line Maintenance & Tree Trimming | Gadramal, Koksara, Dangriguda, Phubgaon, Temra & Majhiguda | Gadramal & Temra PSS under Outage
19 | KALAHANDI | KWED | 33KV/11 KV MUKHIGUDA GSS | Makhiguda, Mangalpur, Mahulpatna | 2022-05-25 | 9:00 | 14:30 | Mr. Pabiraj Majhi | 1 | Line Maintenance & Tree Trimming | Makhiguda, Mangalpur, Dhansuli, Mahulpatna | only makhiguda pss is under outage
20 | KALAHANDI | NUAPADA | 33/11kV Bisora PSS | Bisora | 2022-05-25 | 8:00 | 11:00 | Mr. Nigama Nanda Sutar | 3 | Line Maintenance & Tree Trimming | Bisora, Bhaleswar, Beltukuri, Saipala, Khairani, Darlimunda | Only Bisora PSS under Outage
21 | KALAHANDI | KEED | 33KV/11KV Kesinga GSS | Karlamunda, Nunmath, | 2022-05-26 | 8:30 | 13:00 | Mr. Amiya Ranjan Panda | 5 | Line Maintenance | Karlamunda, Nunmath, Sisakhal | Nunmath, Sisakhal PSSs under Outage
22 | ROURKELA | RSED | Panposh | Balughat | 2022-05-06 | 9AM | 11PM | Santosh Dash | 1MW | Line Maintenance | Balughat
23 | ROURKELA | RSED | Chhend | Self finance | 2022-05-04 | 9AM | 12PM | Sanjay Behera | 1.5MW | Line Maintenance | Chhend 2nd Phase
24 | ROURKELA | RSED | Chhend | Kalinga Vihar | 2022-05-06 | 9AM | 12PM | Sanjay Behera | 1.5MW | Line Maintenance | Panitanki,kanak manjari
25 | ROURKELA | RSED | Chhend | Luhakera | 2022-05-16 | 8AM | 12PM | Rajat ku Mohanty | 1.5MW | Line Maintenance | Bagudi,Luhakera
26 | ROURKELA | RSED | Chhend | Phase-1 | 2022-05-09 | 8AM | 12PM | Rajat ku Mohanty | 1.5MW | Line Maintenance | 1st phase Area Chhend
27 | ROURKELA | RSED | Lathikata | Modern india 1 | 2022-05-17 | 8AM | 11AM | Manoranjan Panda | 1.5MW | Line Maintenance | Balijodi,MK nagar
28 | ROURKELA | RSED | Lathikata | Modern india 2 | 2022-05-18 | 8AM | 11AM | Manoranjan Panda | 1.5MW | Line Maintenance | Lathikata
29 | ROURKELA | RSED | Lathikata | Banki | 2022-05-24 | 8AM | 11AM | Manoranjan Panda | 1MW | Line Maintenance | Banki
30 | ROURKELA | RSED | Lathikata | Ramjodi | 2022-05-25 | 8AM | 11AM | Manoranjan Panda | 1MW | Line Maintenance | Ramjodi
31 | ROURKELA | RSED | Lathikata | Feeder 3 | 02.05.2022 | 7AM | 10AM | Rakesh Kumar Ray | 1MW | Line Maintenance | C.C Colony
32 | ROURKELA | RSED | Lathikata | Feeder 2 | 03.05.2022 | 7AM | 10AM | Rakesh Kumar Ray | 1.5MW | Line Maintenance | Deogan
33 | ROURKELA | RSED | Lathikata | Feeder 1 | 04.05.2022 | 7AM | 10AM | Rakesh Kumar Ray | 1MW | Line Maintenance | C Block
34 | ROURKELA | RSED | Lathikata | Feeder 3 | 05.05.2022 | 7AM | 10AM | Rakesh Kumar Ray | 1KW | Line Maintenance | C.C Colony
35 | ROURKELA | RSED | Lathikata | Feeder 2 | 06.05.2022 | 7AM | 10AM | Rakesh Kumar Ray | 1.5MW | Line Maintenance | Deogan
36 | ROURKELA | RSED | Lathikata | Feeder 3 | 07.05.2022 | 7AM | 10AM | Rakesh Kumar Ray | 1MW | Line Maintenance | C.C Colony
37 | ROURKELA | RSED | Civiltownship | Hanuman vatika | 06.05.2022 | 9AM | 12PM | Atman Mishra | 1.5MW | Line Maintenance | Hanuman vatika
38 | ROURKELA | RSED | Bonai | Bonai Town | 13.05.2022 | 08:00AM | 11:00AM | Mr. Krishna Chandra Panda | 1MW | Routine Maintenance | Bonai Town
39 | ROURKELA | RSED | Bonai | Gurundia | 16.05.2022 | 08:00AM | 11:00AM | Mr. Krishna Chandra Panda | 2MW | Routine Maintenance | kendrikala,narndra, jibika,turamura, satakuta
40 | ROURKELA | RSED | Bonai | Kenaveta | 18.05.2022 | 08:00AM | 11:00AM | Mr. Krishna Chandra Panda | 1MW | Routine Maintenance | Jareikela,Dharanidharapali, Upperbahal
41 | ROURKELA | RSED | Rajamunda | Lalei | 09.05.2022 | 08:00AM | 11:00AM | Mr. Manoranjan Nayak | 2MW | DTR Maintainance and Tree Trimming | Lalei, Sardhapur, Gamalei, Kurda, Kenapali,Tumukela
42 | ROURKELA | RSED | Rajamunda | Darjing | 13.05.2022 | 08:00AM | 11:00AM | Mr. Manoranjan Nayak | 2MW | DTR Maintainance and Tree Trimming | Darjing, Chandiposh, Purunapani, Budhiposh
43 | ROURKELA | RSED | Rajamunda | Lahunipada | 16.05.2022 | 08:00AM | 11:00AM | Mr. Manoranjan Nayak | 2MW | DTR Maintainance and Tree Trimming | Lahunipada, Rajamunda, Kudeikala, Basubhal, Lahangapara
44 | ROURKELA | RSED | Rajamunda | Gopna | 18.05.2022 | 08:00AM | 11:00AM | Mr. Manoranjan Nayak | 1MW | DTR Maintainance and Tree Trimming | Lamsi, Hatikucha, Gopna talsahi,Kudapada, Shajbhala
45 | ROURKELA | RSED | Kbolang | Roxy | 19.05.2022 | 08:00AM | 11:00AM | Mr. Manoranjan Nayak | 1MW | DTR Maintainance and Tree Trimming | Roxy, Chordhara, Ragada, Manchabeda
46 | ROURKELA | RSED | Kbolang | Jharbeda | 21.05.2022 | 08:00AM | 11:00AM | Mr. Manoranjan Nayak | 0.5MW | DTR Maintainance and Tree Trimming | Kharibhala, Bagadhia, Badgaon, Jharbeda, kuruda
47 | ROURKELA | RSED | Rajamunda | Kbolang | 25.05.2022 | 08:00AM | 11:00AM | Mr. Manoranjan Nayak | 1MW | DTR Maintainance and Tree Trimming | Kbolanga, Bimlagarh, Phakiramunda, Damadhi
48 | ROURKELA | RSED | Mahuldiha | Phuljhar | 10.05.2022 | 08:00AM | 11:00AM | Mr. Binaya Bhusan Mishra | 0.5MW | Tree Trimming, AB Switch Maintainance, DTR Maintainance & Feeder Maintaninance | Phuljhar, Haladikudar, Nagaria, Rugudi, Pindikasahi
49 | ROURKELA | RSED | Mahuldiha | Mahulpada | 12.05.2022 | 08:00AM | 11:00AM | Mr. Binaya Bhusan Mishra | 0.5MW | Tree Trimming, AB Switch Maintainance, DTR Maintainance & Feeder Maintaninance | Mahulpada, Rengali, Jagati, Laxmiposh
50 | ROURKELA | RSED | Mahuldiha | Badgaon | 16.05.2022 | 08:00AM | 11:00AM | Mr. Binaya Bhusan Mishra | 0.5MW | Tree Trimming, AB Switch Maintainance, DTR Maintainance & Feeder Maintaninance | Badgaon, Ruguda, Jangla, Shyamasundarpur
51 | ROURKELA | RSED | Mahuldiha | Kuliposh | 20.05.2022 | 08:00AM | 11:00AM | Mr. Binaya Bhusan Mishra | 1MW | Tree Trimming, AB Switch Maintainance, DTR Maintainance & Feeder Maintaninance | Kuliposh, Khuntagaon, Nuadihi, Barsuan
52 | ROURKELA | RSED | Koida | Kalta | 10.05.2022 | 8:00AM | 11:00AM | Mr. Chandan Dandapat | 1.5MW | Maintainance and Tree Trimming, AB Switch repairing | Narayanposh,commondo,kalta kusumdihii ,kalta toda
53 | ROURKELA | RSED | Koida | Kalta | 13.05.2022 | 8:00AM | 11:00AM | Mr. Chandan Dandapat | 1.5MW | DTR Maintainance and Tree Trimming | Shakti trasport,essel mining,harichandanpur,nuagaon
54 | ROURKELA | RSED | Koida | Kalta | 18.05.2022 | 8:00AM | 11:00AM | Mr. Chandan Dandapat | 1.5MW | DTR Maintainance and Tree Trimming, AB Switch repairing | Dadhimata,raunta colony,omm,bus stand ,jitu pattnaik,bhanjapali,tarinimandir
55 | ROURKELA | RSED | Koida | Kalta | 21.05.2022 | 8:00AM | 11:00AM | Mr. Chandan Dandapat | 1.5MW | DTR Maintainance and Tree Trimming | Kadodiha,gaffur sahi,forest ofc,thana chowk,BLT
56 | ROURKELA | RSED | Koida | Kalta | 23.05.2022 | 8:00AM | 11:00AM | Mr. Chandan Dandapat | 1.5MW | DTR Maintainance and Tree Trimming | Jhripani,Kalta,Kalta,
57 | ROURKELA | RSED | Koida | Kalta | 27.05.2022 | 8:00AM | 11:00AM | Mr. Chandan Dandapat | 1.5MW | DTR Maintainance and Tree Trimming | Narayanposh,commondo,kalta kusumdihii ,kalta toda
58 | ROURKELA | RSED | Koida | Kalta | 31.05.2022 | 8:00AM | 11:00AM | Mr. Chandan Dandapat | 1.5MW | DTR Maintainance and Tree Trimming | Jhripani,Kalta,Kalta,
59 | ROURKELA | RSED | Tensa | Koira | 26.05.2022 | 8:00AM | 11:00AM | Mr. Chandan Dandapat | 1MW | Maintainance and Tree Trimming | Dagula, Tensa, Jaldhi, Koira
60 | ROURKELA | RSED | Koida | Industry-1 | 19.05.2022 | 8:00AM | 11:00AM | Mr. Chandan Dandapat | 2MW | DTR Maintainance and Tree Trimming | Sunua, Seragada, katamunda, jaldhi, malada
61 | ROURKELA | RSED | Koida | Industry-1 | 22.05.2022 | 8:00AM | 11:00AM | Mr. Chandan Dandapat | 2MW | DTR Maintainance and Tree Trimming | Sunua, Seragada, katamunda, jaldhi, malada
62 | ROURKELA | RSED | Koida | Industry-2 | 20.05.2022 | 8:00AM | 11:00AM | Mr. Chandan Dandapat | 2MW | DTR Maintainance and Tree Trimming | Sunua, Seragada, katamunda, jaldhi, malada
63 | ROURKELA | RSED | Koida | Industry-2 | 24.05.2022 | 8:00AM | 11:00AM | Mr. Chandan Dandapat | 0.5MW | DTR Maintainance and Tree Trimming | Bhanjapalli, Kasira, Nadidihi
64 | ROURKELA | RED | Koelnagar | Hamirpur | 2022-05-07 | 8:00 | 1.00 PM | Sanjay sahoo | 2 MW | Tree trimming /line maintenanace | Hamirpur | 33 KV OUTAGE
65 | ROURKELA | RED | Koelnagar | Ramgarh | 2022-05-07 | 8:00 | 1.00 PM | Sanjay sahoo | 2 MW | Tree trimming /line maintenanace | Ramgarh | 33 KV OUTAGE
66 | ROURKELA | RED | Koelnagar | ADBE | 2022-05-07 | 8:00 | 1.00 PM | Sanjay sahoo | 2.5 MW | Tree trimming /line maintenanace | ADBE | 33 KV OUTAGE
67 | ROURKELA | RED | Koelnagar | C-block | 2022-05-07 | 8:00 | 1.00 PM | Prabhanshu Tripathi | 2 MW | Tree trimming /line maintenanace | C-block | 33 KV OUTAGE
68 | ROURKELA | RED | Koelnagar | JHIRPANI | 2022-05-07 | 8:00 | 1.00 PM | Prabhanshu Tripathi | 2 MW | Tree trimming /line maintenanace | JHIRPANI | 33 KV OUTAGE
69 | ROURKELA | RED | Koelnagar | HAMIRPUR | 2022-05-07 | 8:00 | 1.00 PM | Sanjay sahoo | 1 MW | Tree trimming /line maintenanace | HAMIRPUR | 33 KV OUTAGE
70 | ROURKELA | RED | Koelnagar | JAGDA | 2022-05-04 | 8:00 | 1.00 PM | Jyotipraksh Nayak | 2.5 MW | Tree trimming /line maintenanace | JAGDA | 33 KV OUTAGE
71 | ROURKELA | RED | NIT | OSAP | 2022-05-04 | 8:00 | 1.00 PM | NARAYAN SAHU | 2.26MW | TREE TRIMMING AND FEEDER MAINTENANCE | OSAP MARKET ,NANDA PADA | 33 KV OUTAGE
72 | ROURKELA | RED | NIT | NAYABAZAR | 2022-05-04 | 8:00 | 1.00 PM | NARAYAN SAHU | 0.37MW | TREE TRIMMING AND FEEDER MAINTENANCE | KALYANI BASTI ,GANJU BASTI | 33 KV OUTAGE
73 | ROURKELA | Sundergarh | HEMGIRI | HEMGIR | 2022-05-07 | 7:00 | 11:00 AM | ESO Sushanta patel | 1 | Regular Maintenance | HEMGIR | Tree trimming,DT maintenance,Pole eraction
74 | ROURKELA | Sundergarh | HEMGIRI | KANIKA | 2022-05-09 | 7:00 | 11:00 AM | ESO Sushanta patel | 1 | Regular Maintenance | kanika,ankelbera,julumbhal | Tree trimming,DT maintenance,Pole eraction
75 | ROURKELA | Sundergarh | BILAIMUNDA | TAPRIA | 2022-05-07 | 7:00 | 11:00 AM | ESO Prashanta Behera | 0.5 | Regular Maintenance | TAPRIA | Tree trimming,DT maintenance,Pole eraction
76 | ROURKELA | Sundergarh | BILAIMUNDA | BADIBAHAL | 2022-05-09 | 7:00 | 11:00 AM | ESO Prashanta Behera | 1 | Regular Maintenance | BADIBAHAL | Tree trimming,DT maintenance,Pole eraction
77 | ROURKELA | Sundergarh | TUMBAPALI | UJALPUR | 2022-05-10 | 7:00 | 11:00 AM | ESO Adhikari Debasish das | 0.3 | Regular Maintenance | UJALPUR,Beldipa | Tree trimming,DT maintenance,Pole eraction
78 | ROURKELA | Sundergarh | LEPHRIPARA | LEPHRIPARA | 2022-05-10 | 7:00 | 11:00 AM | ESO Jitendra Panda | 0.3 | Regular Maintenance | LEPHRIPARA | Tree trimming,DT maintenance,Pole eraction
79 | ROURKELA | Sundergarh | SARGIPALI | SARGIPALI | 2022-05-10 | 7:00 | 11:00 AM | ESO Ramkrishna Patel | 1 | Regular Maintenance | SARGIPALI | Tree trimming,DT maintenance,Pole eraction
80 | ROURKELA | Sundergarh | SANKARA | NO-1 | 2022-05-03 | 7:00 | 10:00AM | ESO aditya patel | 0.5 | Regular Maintenance | NO-1 | Tree trimming,DT maintenance,Pole eraction
81 | ROURKELA | Sundergarh | SANKARA | PMU | 2022-05-05 | 7:00 | 10:00AM | ESO aditya patel | 3 | Regular Maintenance | PMU | Tree trimming,DT maintenance,Pole eraction
82 | ROURKELA | Sundergarh | SANKARA | Sankara | 2022-05-07 | 7:00 | 10:00AM | ESO aditya patel | 1 | Regular Maintenance | Sankara | Tree trimming,DT maintenance,Pole eraction
83 | ROURKELA | Sundergarh | COLLEGE | College | 2022-05-04 | 7:00 | 10:00AM | ESO prabhat Malik | 1 | Regular Maintenance | College | Tree trimming,DT maintenance,Pole eraction
84 | ROURKELA | Sundergarh | Majhapara | Majhapara | 2022-05-08 | 6:00AM | 10:00AM | ESO Manasranjan Mahana | 0.5 | Regular Maintenance | Majhapara | Tree trimming,DT maintenance,Pole eraction
85 | ROURKELA | Sundergarh | Kulta | Kulta | 2022-05-18 | 6:00AM | 10:00AM | ESO Manasranjan Mahana | 0.5 | Regular Maintenance | Kulta | Tree trimming,DT maintenance,Pole eraction
86 | ROURKELA | Sundergarh | KUNDUKELA | Kinjirma | 2022-05-05 | 7:00 | 11:00AM | ESO Banmali Hota | 0.5 | Regular Maintenance | Kinjirma | Tree trimming,DT maintenance,Pole eraction
87 | ROURKELA | Sundergarh | SUBDEGA | Rauldega | 2022-05-06 | 6:00AM | 10:00AM | ESO Pragyan Ranjan Pati | 1 | Regular Maintenance | Rauldega | Tree trimming,DT maintenance,Pole eraction
88 | ROURKELA | Sundergarh | SUBDEGA | Subdega | 2022-05-10 | 6:00AM | 10:00AM | ESO Pragyan Ranjan Pati | 1 | Regular Maintenance | Subdega | Tree trimming,DT maintenance,Pole eraction
89 | ROURKELA | Rajgangpur | vedvyas | vedvyas | 2022-05-04 | 8:00 | 12:00 | Eso Kalunga | 150 amp | Tree trimming,Oil top up,Jumper tightning,silica gel replacement | Anand nagar , Viswakarmavihar,Main road
90 | ROURKELA | Rajgangpur | BIRMITRAPUR PSS | TOWN-2 | 2022-05-05 | 08.00 AM | 12.00 PM | Abhinash Eoshan Ekka | 90 amp | Tree trimming,Oil top up,Jumper tightning,silica gel replacement | Sundaymarket,BHATI ROAD,.
91 | ROURKELA | Rajgangpur | BIRINGATOLI | BIRINGATOLI | 2022-05-06 | 8:00 | 11:00 | SUSANTH NATH SHARMA | 50 AMP | Tree trimming,Oil top up,Jumper tightning,silica gel replacement | BIRNIGATOLIU,KARMABAHAL,KIRINGSERA
92 | ROURKELA | Rajgangpur | Pss Rajgangpur | ALANDA | 2022-05-07 | 8:00 | 12:00 | SAMRA LAKRA | 35 AMP | Tree trimming,Oil top up,Jumper tightning,silica gel replacement | ALANDA,KESHRAMAL
93 | ROURKELA | Rajgangpur | Pss Rajgangpur | KUKUDAMUNDA | 2022-05-07 | 8:00 | 12:00 | BIMAL TIRKEY | 25 AMP | Tree trimming,Oil top up,Jumper tightning,silica gel replacement | HATIMUNDA,KUKUDAMUNDA
94 | ROURKELA | Rajgangpur | Pss Rajgangpur | LAXMIPOSH | 2022-05-07 | 8:00 | 12:00 | BERNERD BARA | 50 AMP | Tree trimming,Oil top up,Jumper tightning,silica gel replacement | LAXMIPOSH,KUKUDA
95 | ROURKELA | Rajgangpur | pss mandiakudar | BILAIGARH | 2022-05-13 | 08.00 AM | 02.00PM | Lalu Minz | 42 AMP | Tree trimming,Oil top up,Jumper tightning,silica gel replacement | BILAIGARH AREA
96 | ROURKELA | Rajgangpur | BADGAON | TUDALAGA | 2022-05-14 | 8:00 | 12:00 | RAVI CH. KUJUR | 70 | Tree trimming,Jumper tightning,AB Switch Repair, Cable Change | TUDALAGA,PANCHORA
97 | ROURKELA | Rajgangpur | JARANGLOI PSS | JARANGLOI | 2022-05-14 | 8:00 | 12:00 | RAGHU NAIK | 45 | Tree trimming,Jumper tightning,AB Switch Repair, Cable Change | JARANGLOI,BARGAONKHHACGAR
98 | ROURKELA | Rajgangpur | BIRINGATOLI PSS | KHURAPALI | 2022-05-14 | 8:00 | 12:00 | BABLU KUJUR | 40 | Tree trimming,Jumper tightning,AB Switch Repair, Cable Change | KHURAPALI,GANGAJAL,PURKHAPALI
99 | ROURKELA | Rajgangpur | NUAGOAN PSS | PATRAPALI | 2022-05-11 | 9:00 | 14:00 | RABANI ANSARI | 65 AMP | Tree trimming,Jumper tightning,AB Switch Repair, Cable Change | PATRAPALI,PARILEPTA
100 | ROURKELA | Rajgangpur | NUAGOAN PSS | SORDA | 2022-05-11 | 9:00 | 14:00 | BASANT KISAN | 70 AMP | Tree trimming,Jumper tightning,AB Switch Repair, Cable Change | SORDA,KATEPUR
101 | ROURKELA | Rajgangpur | HATIBARI PSS | BAUNSJORE | 2022-05-20 | 8:00 | 14:00 | SANTOSH SINGH | 35 AMP | Tree trimming,Jumper tightning,AB Switch Repair, Cable Change | BAUNSJORE, KANJARKELA
102 | ROURKELA | Rajgangpur | KUARMUNDA PSS | SARVESH | 2022-05-05 | 8:00 | 14:00 | ESO KUARMUNDA | 50 AMP | Tree trimming,Jumper tightning,AB Switch Repair, Cable Change | SARVESH,MEDICAL
103 | ROURKELA | Rajgangpur | KUARMUNDA PSS | KALOSIRIA | 2022-05-05 | 8:00 | 14:00 | ESO KUARMUNDA | 40 AMP | Tree trimming,Jumper tightning,AB Switch Repair, Cable Change | KALOSHIRIA, PUTRIKHAMAN
104 | ROURKELA | Rajgangpur | RAJGANGPUR PSS | TOWN-2 | 2022-05-02 | 06:00AM | 09:00AM | NILAKANTHA BARIK | 110 AMP | Tree trimming,Jumper tightning,AB Switch Repair, Cable Change | RAJGANGPUR TOWN
105 | BARGARH | BED, BARGARH | TURUNGA | DEOGOAN | 2022-05-06 | 7AM | 12:00 | Prasanta nanda(L-B) | 3.6 | AB switch install, tree trimming, double jumpering | Deogoan, mahulpali, guesar
106 | BARGARH | BED, BARGARH | TORA | REMUNDA | 2022-05-09 | 7AM | 12 PM | kishor nanda(L-B) | 2.3 | Tree trimming | Adgoan , kandumunda,kuruan, talsrigida, patarpali
107 | BARGARH | BED, BARGARH | PADHANPALI | ATTABIRA | 2022-05-09 | 7:00 | 12:00 | Meher das(L-B) | 3.5 | TREE TRIMMING,AB SWITCH MAINTANANCE | AMBASADA, BARAHAGODA, TILAPALI,JAMURDA
108 | BARGARH | BED, BARGARH | ATTABIRA | KANDPALI | 2022-05-09 | 7AM | 11AM | Bhabani Kumar Pandey (ESO),Punendu Sahu(Lineman A) ,Bala Krishna Gade (Lineman B) | 4 | •Kandpali Feeder •Tree Trimming • DTR Maintenance 2 Nos • DTR AB switch Repairing | Lurupali,Kandpali ,tupapoda.sudhapali,putputpal i..Tangarpali,Kantal
109 | BARGARH | BED, BARGARH | ATTABIRA | RENGALI CAMP | 2022-05-09 | 7AM | 11AM | Rengali Camp ESO | 3.8 | •Tree trimming patrapali Sarla. •Line AB switch maintenance rengalicamp •DTR maintenance | patrapali,janhapada,Sarla,Jampali,Kalapani,Rengali camp
110 | BARGARH | BED, BARGARH | BHEDEN | BHEDEN | 2022-05-09 | 7AM | 11AM | Bheden ESO | 0.7 | •Feeder Bheden •new jumpering, tree trimmimg, •DTR maintenance•11 kv and LT POLE straightning. | Bheden
111 | BARGARH | BED, BARGARH | TANGARPALI | TANGARPALI | 2022-05-09 | 7AM | 11AM | Bhabani Kumar Pandey (ESO),Punendu Sahu(Lineman A) ,Bala Krishna Gade (Lineman B) | 4 | •Tangarpali •DTR Maintenance,Bushing Oil Top Up and Fencing Work.Tree Trimming | Tangarpali, Paharsrigida
112 | BARGARH | BED, BARGARH | ATTABIRA | SARANDA | 2022-05-09 | 7AM | 11AM | Attabira-1 ESO | 4 | •Tree Trimming ,Pole Straightening,AB Switch Repair ,Cross Arm Change. •Earthing , DTR maintenance, tree trimmimg. | Saranda
113 | BARGARH | BED, BARGARH | PATRAPALI | DUNGURIPALI | 2022-05-09 | 7AM | 11AM | Rengali Camp ESO | 2.2 | •Tree trimming , rengalicamp. •DTR ab switch oiling and greasing.and Maintenance | Dunguripali,janhapada, Tajtikra.
114 | BARGARH | BED, BARGARH | BHEDEN | BARPADAR | 2022-05-09 | 7AM | 11AM | Bheden ESO | 0.7 | •Feeder Barpadar •LT stringing, DTR, Maintenance,tree trimming, Ab switch repair,pole straightening | Barpadar
115 | BARGARH | BED, BARGARH | THUAPALI | OLD PAPANGA | 2022-05-09 | 7AM | 11AM | Thuapali ESO | 1.5 | •LT stringing, DTR, Maintenance AND •TREE TRIMMING ,• EARTHING WORK. | Panpanga old,Papanga old,Rupa Pali,Bakti,Lupursingha
116 | BARGARH | BED, BARGARH | KHUNTLIPALI | TURUM | 2022-05-11 | 7AM | 11AM | Khuntlipali ESO | 2.6 | •LT stringing, DTR, Maintenance AND • TREE TRIMMING , •EARTHING WORK,•11KV POLE STRAIGHTNING | Turum
117 | BARGARH | BED, BARGARH | GODBAGHA | LARAMBHA | 2022-05-11 | 7AM | 11AM | Larambha ESO | 6 | •Tree Trimming • Line AB switch repair 2 Nos • DTR Maintenance | Radhapada, Barhmunda,Bhaludunhri, kadobahal, larambha, podbadi
118 | BARGARH | BED, BARGARH | GODBAGHA | GODBAGHA | 2022-05-11 | 7AM | 11AM | Pratul Kumar Mahana (Lineman A) | 3.5 | •Tree Trimming • Line AB switch repair 2 Nos • DTR Maintenance | Goadbhaga,Saharatikira,Larasara village
119 | BARGARH | BED, BARGARH | MAHULPALI | MAHULPALI | 2022-05-11 | 7AM | 11AM | Khuntlipali ESO | 2.8 | •Tree Trimming ,• DTR Maintenance •Earthing Work , •Pole Straightening . | Mahulpali
120 | BARGARH | BED, BARGARH | TORA | GAISIMA | 2022-05-12 | 7:00 | 12:00 | DILLIP SAHU(L-B) | 2.5 | Tree trimming | GAISIMA, KHANDATA, MALIPALI
121 | BARGARH | BED, BARGARH | BHUKTA | BHUKTA | 2022-05-12 | 8AM | 11AM | SAMARENDRA SINGH | 1.2 | CONDOCTOR STRINGING | BHUKTA,PRAKASHPUR,MAHAPALI,DULHAPALI
122 | BARGARH | BED, BARGARH | KEDAPALI | KATAPALI | 2022-05-13 | 7 AM | 12:00 | SIKA BABU(L-B) | 2.7 | SPACERS INSTALLATION, TREE TRIMMING, AB SWITCH MAINTANACE | KATAPALI
123 | BARGARH | BED, BARGARH | TURUNGA | BARPALI TOWN | 2022-05-14 | 7:00 | 12:00 | Aditya panda(L-B) | 3.7 | New AB switch install, pole shifting | Behera, kutpali, sarsara
124 | BARGARH | BED, BARGARH | BHUKTA | KAPASIRA | 2022-05-14 | 8AM | 11AM | SAMARENDRA SINGH | 1 | Tree triming,v-cross arm change,Dis insulator change | KAPASIRA,SATIDADRA,KHAIRPALI
125 | BARGARH | BED, BARGARH | BHATLI | BARTUNDA | 18.05.2022 | 7.00 AM | 10.00 AM | SIIKANDAR BAG/MD UMAR FARUK | 3 | TREE TRIMMING AND DTR MAINTENANCE,V-CROSS ARM STRAIGHTENING,PIN INSULATOR REPLACE | NUAGARH,KUISIRA,SULSULIA,BALIJURI,PATRAPALI,PURRAKHAI
126 | BARGARH | BED, BARGARH | BHUKTA | DARLIPALI | 18.05.2022 | 8AM | 11AM | ESO GAJENDRA ROUT | 1.2 | TREE BRANCES TRIMING, V CROSS ARM FITTING,CONDUCTOR STRINGING, PIN INSULATOR FITTING | RUCHIDA, NARANGPUR,BARANGKOT,BHALUTAL, SALEPALI,BADSARIPALI
127 | BARGARH | BED, BARGARH | BHATLI | BARTUNDA | 19.05.2022 | 7.00 AM | 10.00 AM | SIIKANDAR BAG/MD UMAR FARUK | 3 | TREE TRIMMING AND DTR MAINTENANCE,V-CROSS ARM STRAIGHTENING,PIN INSULATOR REPLACE | NUAGARH,KUISIRA,SULSULIA,BALIJURI,PATRAPALI,PURRAKHAI
128 | BARGARH | BED, BARGARH | BHATLI | BHATLI TOWN | 22.05.2022 | 7:00 | 11:00AM | SIIKANDAR BAG/MD UMAR FARUK | 2.5 | TREE TRIMMING AND DTR MAINTENANCE OF 315 BIJAYA CHOWK,POLE ERECTION,CROSS ARM STRAIGHTENING, STUD-POLE fixing , AB cable clamp fixing. | BHATLI TOWN,KUISIRA,KUSANPURI
129 | BARGARH | BED, BARGARH | TORA | sugermill | 2022-05-23 | 7:00 | 0.5 | BAIRAGI DAS(L-C) | 2.5 | AB switch maintanance, tree trimming | TORA MARKET, AADARSHAPADA, MISSION HOSPITAL,DHANGER VILLAGE
130 | BARGARH | BED, BARGARH | BHATLI | BARTUNDA | 25.05.2022 | 7.00 AM | 10.00 AM | SIIKANDAR BAG/MD UMAR FARUK | 3 | TREE TRIMMING AND DTR MAINTENANCE,V-CROSS ARM STRAIGHTENING,PIN INSULATOR REPLACE | NUAGARH,KUISIRA,SULSULIA,BALIJURI,PATRAPALI,PURRAKHAI
131 | BARGARH | BED, BARGARH | ATTABIRA | ATTABIRA TOWN | 2022-05-25 | 7AM | 11AM | Attabira-1 ESO | 4 | •Pole Straighting work •Cable Stringing •LAB switch Repair• V cross-arm Change •Tree Trimming. | Attabira town
132 | BARGARH | BED, BARGARH | BHEDEN | SAHARATIKRA | 2022-05-25 | 7AM | 11AM | Bheden ESO | 1.2 | •Feeder Saharatikra •Tree trimming DTR maintenance •Pole straightening, new jumpering | Saharatikra
133 | BARGARH | BED, BARGARH | ATTABIRA | KANDPALI | 2022-05-25 | 7AM | 11AM | Bhabani Kumar Pandey (ESO),Punendu Sahu(Lineman A) ,Bala Krishna Gade (Lineman B) | 4 | •Kandpali Feeder •Tree Trimming • DTR Maintenance 2 Nos • DTR AB switch Repairing | Lurupali,Kandpali ,tupapoda.sudhapali,putputpal i..Tangarpali,Kantal
134 | BARGARH | BED, BARGARH | TANGARPALI | TANGARPALI | 2022-05-25 | 7AM | 11AM | Bhabani Kumar Pandey (ESO),Punendu Sahu(Lineman A) ,Bala Krishna Gade (Lineman B) | 4 | •Tangarpali •DTR Maintenance,Bushing Oil Top Up and Fencing Work.Tree Trimming | Tangarpali, Paharsrigida
135 | BARGARH | BED, BARGARH | THUAPALI | REMUNDA | 2022-05-25 | 7AM | 11AM | Thuapali ESO | 1 | •LT stringing, DTR, Maintenance AND •TREE TRIMMING ,• EARTHING WORK. | Remunda,Jkapabari
136 | BARGARH | BED, BARGARH | PATRAPALI | JANHAPADA | 2022-05-25 | 7AM | 11AM | Rengali Camp ESO | 1 | •Tree trimming , rengalicamp. •DTR ab switch oiling and greasing.and Maintenance | Janhapada
137 | BARGARH | BED, BARGARH | PATRAPALI | PATRAPALI | 2022-05-25 | 7AM | 11AM | Rengali Camp ESO | 0.2 | •Tree trimming , rengalicamp. •DTR ab switch oiling and greasing.and Maintenance | patrapali
138 | BARGARH | BED, BARGARH | BHATLI | BARTUNDA | 26.05.2022 | 7.00 AM | 10.00 AM | SIIKANDAR BAG/MD UMAR FARUK | 3 | TREE TRIMMING AND DTR MAINTENANCE,V-CROSS ARM STRAIGHTENING,PIN INSULATOR REPLACE | NUAGARH,KUISIRA,SULSULIA,BALIJURI,PATRAPALI,PURRAKHAI
139 | BARGARH | BED, BARGARH | KHUNTLIPALI | KHUNTLIPALI | 2022-05-27 | 7AM | 11AM | Khuntlipali ESO | 4.8 | •new jumpering, tree trimmimg, •DTR maintenance • 11 kv and LT POLE straightning. | Khuntlipali
140 | BARGARH | BED, BARGARH | KHUNTLIPALI | SANKIRDA | 2022-05-27 | 7AM | 11AM | Khuntlipali ESO | 0.8 | •Tree Trimming ,• DTR Maintenance •Earthing Work , •Pole Straightening . | Sankirda
141 | BARGARH | BED, BARGARH | GODBAGHA | LARAMBHA | 2022-05-27 | 7AM | 11AM | Larambha ESO | 6 | •Tree Trimming • Line AB switch repair• DTR Maintenance | sindurbahal,Tamparsara village
142 | BARGARH | BED, BARGARH | GODBAGHA | GODBAGHA | 2022-05-27 | 7AM | 11AM | Pratul Kumar Mahana (Lineman A) | 3.5 | •Tree Trimming • Line AB switch repair• DTR Maintenance | Goadbhaga Camp &Goadbhaga village
143 | BARGARH | BED, BARGARH | BHATLI | TOWN FEEDER | 29.05.2022 | 7:00 | 11:00AM | SIIKANDAR BAG/MD UMAR FARUK | 2.5 | TREE TRIMMING AND DTR MAINTENANCE OF 315 BIJAYA CHOWK,POLE ERECTION,CROSS ARM STRAIGHTENING, STUD-POLE fixing , AB cable clamp fixing. | BHATLI TOWN,KUISIRA,KUSANPURI
144 | BARGARH | BWED | Gaisilet | Gaisilet | 04.05.2022 | 8am | 1pm | Rajkumar Sahu | 2.5 | Tree triming & conductor Restringing work | Gaisilet | Gaisilet
145 | BARGARH | BWED | Sohela | Industrial | 04.05.2022 | 8am | 12pm | Lokeshkanta Choudury | 1.5 | Tree triming & conductor Restringing work | Garvana ,Dumerpali | sohela1
146 | BARGARH | BWED | Melchamunda | Melchamunda | 04.05.2022 | 8am | 12pm | Mansi Gartia | 2.5 | Pole Straightening,Triming & Insulator change work | Dangaghat,kansingha,Chandipali,kudherkhair | Melchamunda
147 | BARGARH | BWED | Padampur | Lakhmara | 2022-05-05 | 7AM | 12 PM | PREMANANDA BARIK | 1 | Pole Straightening,Triming & Insulator change work | BHEUNRIA,SATIBHATA,PURENA | Padampur2
148 | BARGARH | BWED | Padampur | Padampur town Fedder1 | 05.05.2022 | 8am | 1pm | Mr.Srikanta Sahu ESO Padampur1 | 5 | Tree triming & conductor Restringing work | TOWN | Padampur1
149 | BARGARH | BWED | Padampur | Padampur town Fedder2 | 05.05.2022 | 8am | 1pm | Mr.Srikanta Sahu ESO Padampur1 | 5 | Tree triming & conductor Restringing AB switch maintanance work | TOWN | Padampur1
150 | BARGARH | BWED | Lakhmara | Badikata | 06.05.2022 | 8am | 12pm | PREMANANDA BARIK | 2 | Pole Straightening,Triming & Insulator change work | BADIKATA | Padampur2
151 | BARGARH | BWED | Melchamunda | Melchamunda | 06.05.2022 | 8am | 12pm | Mahan Sahu | 2.5 | Tree triming & conductor Restringing work | Diptipur,Ghanamal,Gyan,Saranpur,melchamunda | Melchamunda
152 | BARGARH | BWED | Padampur | Melchamunda | 06.05.2022 | 8am | 1pm | Mr.Srikanta Sahu ESO Padampur1 | 3 | Tree triming & conductor Restringing work | MAHULPALI,AMLIPALI | Padampur1
153 | BARGARH | BWED | Ghenss | Ghess | 06.05.2022 | 8am | 12pm | saroj Mahanandia | 0.5 | Tree triming & conductor Restringing work | Ghess | Ghess
154 | BARGARH | BWED | Ghenss | Jhar | 06.05.2022 | 8am | 12pm | Lalita Nayak | 4.8 | Tree triming & conductor Restringing work | JHAR | Ghess
155 | BARGARH | BWED | Barpali | Phulapali | 06.05.2022 | 7:30am | 11am | Rakesh Roshan Roy | 2 | Tree triming & conductor Restringing work | PHULAPALI | Barpali3
156 | BARGARH | BWED | Paikmal | Nrusinghanatha | 07.05.2022 | 8am | 1pm | Saanka Sahu | 3 | Tree triming & DTR AB switch Maintanance | Nrusinghanatha | Paikmal
157 | BARGARH | BWED | Jharbandh | Jharbandh Town | 07.05.2022 | 8am | 1pm | SAROJ KUMAR RANA | 2.5 | Tree triming & conductor Restringing work | TOWN | Jharbandh
158 | BARGARH | BWED | Padampur | Gaisilet | 07.05.2022 | 8am | 1pm | Mr.Srikanta Sahu ESO Padampur1 | 2.5 | Tree triming & conductor Restringing AB switch maintanance work | BUDAMAL,KHAIRPALI,BIRIPALI | Padampur1
159 | BARGARH | BWED | Sohela | Grinjel | 07.05.2022 | 8am | 12pm | Chandra kanta Pandey | 3.1 | Tree triming & conductor Restringing work | Rengali,Machimura,Chakbahal,mangal[pali | sohela1
160 | BARGARH | BWED | Mandosil | Chindkela | 08.05.2022 | 8am | 1pm | Tusar Padhan | 2 | Tree triming & conductor Restringing AB switch maintanance work | Chindkela | Paikmal
161 | BARGARH | BWED | Jharbandh | Jharbandh Town | 08.05.2022 | 8am | 1pm | SAROJ KUMAR RANA | 2.5 | Tree triming & conductor Restringing work | TOWN | Jharbandh
162 | BARGARH | BWED | Melchamunda | Sargibahal | 08.05.2022 | 8am | 12pm | Mansi Gartia | 3 | Pole Straightening,Triming & Insulator change work | Dhauramunda,sargibahal,jamla,bisipali | Melchamunda
163 | BARGARH | BWED | Melchamunda | Ghess | 09.05.2022 | 8am | 12pm | Mansi Gartia | 2.5 | Tree triming & conductor Restringing work | salepali,Jampali,Bijapali,Pandkipali | Melchamunda
164 | BARGARH | BWED | Kundakhai | Kundakhai | 09.05.2022 | 8am | 1pm | Saroj kumar Barik | 2.5 | V X arm Change ,Triming & Pole straightening work | Kundakhai | Gaisilet
165 | BARGARH | BWED | Dasmile | Dasmile | 09.05.2022 | 8am | 12pm | Gajendra Kumar Rana ESO sohela 1 | 1.5 | Tree triming & conductor Restringing work | Nagaon,Dasmile | sohela1
166 | BARGARH | BWED | Barpali | Lenda | 09.05.2022 | 7:30am | 11am | Rakesh Roshan Roy | 2 | Tree triming & conductor Restringing work | LENDA | Barpali3
167 | BARGARH | BWED | Sarandapali | Banabaspali | 09.05.2022 | 8am | 12pm | Bibhutibhusan Patnaik | 2.6 | Tree triming & conductor Restringing work | BANABASPALI,BIJEPUR TOWN | Bijepur1
168 | BARGARH | BWED | Arda | Laumunda | 09.05.2022 | 8am | 12pm | Tapi Bag | 3.1 | Tree triming & conductor Restringing work | Belmunda | Bijepur2
169 | BARGARH | BWED | Dasmile | Bisipali | 10.05.2022 | 7am | 11am | Sanjay Sahu | 4 | Tree triming & conductor Restringing AB switch maintanance work | Bisipali | Sohela2
170 | BARGARH | BWED | Gaisilet | Lebidi | 11.05.2022 | 8am | 1pm | Rajnjan Kumar jena | 2 | Tree triming & conductor Restringing AB switch maintanance work | Lebidi | Gaisilet
171 | BARGARH | BWED | Sohela | Sohela town | 11.05.2022 | 8am | 12pm | Dusmanta Deep | 2.6 | Tree triming & conductor Restringing work | Town | sohela1
172 | BARGARH | BWED | Ghenss | Lekhapatar | 11.05.2022 | 8am | 12pm | saroj Mahanandia | 4.3 | Tree triming & conductor Restringing work | LEKHAPATHAR | Ghess
173 | BARGARH | BWED | Melchamunda | Belmunda | 12.05.2022 | 8am | 12pm | Mansi Gartia | 2 | Jumphering ,Triming & Insulator change work | Panripani,Belmunda | Melchamunda
174 | BARGARH | BWED | Sarandapali | S. Dumerpali | 12.05.2022 | 8am | 12pm | Narendra Meher | 4.9 | Tree triming & conductor Restringing work | S,DUMEBERALI,BIRMRL,NILESWAR | Bijepur1
175 | BARGARH | BWED | Barpali | Badgaon | 12.05.2022 | 7:30am | 11am | Rakesh Roshan Roy ESO 3 | 3 | Tree triming & conductor Restringing AB switch maintanance work | Badgaon | Barpali3
176 | BARGARH | BWED | Gaisilet | Talpali | 13.05.2022 | 8am | 1pm | Achyutananda Sahu | 2 | Isolator Change,Tree triming & conductor Restring work | Talpali | Gaisilet
177 | BARGARH | BWED | Ghenss | Kuchipali | 13.05.2022 | 8am | 12pm | sesadev Kumbhar | 2.4 | Tree triming & conductor Restringing work | KUCHIPALI, | Ghess
178 | BARGARH | BWED | Dasmile | Kendpali | 13.05.2022 | 7am | 11am | Sumanta Roul | 3 | Tree triming & conductor Restringing work | Kendpali | Sohela2
179 | BARGARH | BWED | Bijepur | Barmunda | 13.05.2022 | 8am | 12pm | Tapan kumar Nayak | 4.2 | Jumpering ,Triming & Insulator change work | Laumunda | Bijepur2
180 | BARGARH | BWED | Bijepur | Bijepur Town | 14.05.2022 | 8am | 12pm | Uttam Kumar Nayak | 1.9 | Tree triming & conductor Restringing AB switch maintanance work | TOWN | Bijepur1
181 | BARGARH | BWED | Sohela | Luhurachati | 14.05.2022 | 8am | 12pm | Bulu jena | 3.8 | Tree triming & conductor Restringing work | Pandkipali,Kasipali,Madhupur | sohela1
182 | BARGARH | BWED | Sohela | Churiapali | 15.05.2022 | 8am | 12pm | Ananta Dehuri | 4.1 | Tree triming & conductor Restringing work | CHURIAPALI,SARDHAPALI | Ghess
183 | BARGARH | BWED | Barpali | Bandhpali | 16.05.2022 | 7:30am | 11am | Rakesh Roshan Roy ESO 3 | 2.5 | Tree triming & conductor Restringing work | Bandhpali | Barpali3
184 | BARGARH | BWED | Dasmile | Sirgida | 17.05.2022 | 7am | 11am | Chaktiram Patel | 3 | Tree triming & conductor Restringing AB switch maintanance work | Sirgida | Sohela2
185 | BARGARH | BWED | Bijepur | Jaring | 18.05.2022 | 8am | 12pm | Sudhakar Prusty | 3.5 | Tree triming & conductor Restringing AB switch maintanance work | BUDAPALI,KANDHRA | Bijepur1
186 | BARGARH | BWED | Charmunda | Agalpur | 19.05.2022 | 7:30am | 11am | Rakesh Roshan Roy ESO 3 | 3 | Tree triming & conductor Restringing AB switch maintanance work | Agalpur | Barpali3
187 | BARGARH | BWED | Bijepur | Kharmunda | 19.05.2022 | 8am | 12pm | Mohan Padhan | 3.1 | Tree triming & conductor Restringing AB switch maintanance work | kharmunda,sadhupali,aimal,gandapali | Bijepur2
188 | BARGARH | BWED | Sohela | Padampur | 20.05.2022 | 7am | 11am | Kshirodra Behera | 3 | Tree triming & conductor Restringing work | Padampur | Sohela2
189 | BARGARH | BWED | Bijepur | M. Gandapali | 21.05.2022 | 8am | 12pm | Sudhakar Prusty | 2.5 | Tree triming & conductor Restringing work | M,GANDPALI | Sohela2
190 | BARGARH | BWED | Dahita | Dangachhancha | 22.05.2022 | 8am | 12pm | PREMANANDA BARIK | 1 | Tree triming,v-cross arm change,Dis insulator change | SAMBALPURI,SAREIKELA, LAKHMARA | Padampur2
191 | BARGARH | BWED | Arda | Jokhipali | 23.05.2022 | 8am | 12pm | Ranjan Sahu | 2.2 | Jumpering ,Tree Triming & Insulator change work | Jokhipali,Pada | Bijepur2
192 | BARGARH | BWED | Charmunda | sujia | 23.05.2022 | 7:30am | 11am | Rakesh Roshan Roy ESO 3 | 2 | Tree triming & conductor Restringing AB switch maintanance work | sujia | Barpali3
193 | BARGARH | BWED | Lakhmara | Sambalpuri | 23.05.2022 | 8am | 12pm | PREMANANDA BARIK | 0.5 | Pole Straightening,Triming & Insulator change work | BHEUNRIA,SATIBHATA,PURENA | Padampur2
194 | BARGARH | BWED | Sohela | Kangaon | 24.05.2022 | 7am | 11am | Satyam Patra | 1.5 | Tree triming & conductor Restringing AB switch maintanance work | Kangaon | Sohela2
195 | BARGARH | BWED | Charmunda | Tinkani | 26.05.2022 | 7:30am | 11am | Rakesh Roshan Roy ESO 3 | 2 | Tree triming & conductor Restringing work | Tinkani | Barpali3
196 | BARGARH | BWED | Arda | Saipali | 27.05.2022 | 8am | 12pm | Ranjan Sahu | 2.3 | Pole Straightening,Triming & Insulator change work | Saipali,bausen,luhurapali | Bijepur2
197 | SAMBALPUR | SED | Ainthapali | 11 KV Raw Water | 11.05.2022 | 7:00 | 11:00 | ESO Ainthapali | 3 | Tree Treaming, AB Switch Maintenance | Ainthapali, Market
198 | SAMBALPUR | SED | Ainthapali | 11 KV Budharaja | 11.05.2022 | 7:00 | 11:00 | ESO Ainthapali | 3 | Tree Treaming, AB Switch Maintenance | Budharaja, LIC Colony
199 | SAMBALPUR | SED | Ainthapali | 11 KV Family Palnning | 11.05.2022 | 7:00 | 11:00 | ESO Ainthapali, RE | 1.5 | Double jumpering, Oil Top up, Ab Switch Repair | Amruit Vihar, Anguliapada
200 | SAMBALPUR | SED | Ainthapali | 11 KV Bhalupali | 11.05.2022 | 7:00 | 11:00 | ESO Ainthapali, RE | 1.2 | Tree Treaming, AB Switch Maintenance | Royal retreat Hotel Area, Ambira Nagar
201 | SAMBALPUR | SED | Ainthapali | 11 Kv Burla Feeder | 11.05.2022 | 7:00 | 11:00 | ESO Khetrajpur | 1 | Tree Treaming, AB Switch Maintenance, DT maintenance | Remed Area
202 | SAMBALPUR | SED | Ainthapali | 11 KV Khetrajpur | 11.05.2022 | 7:00 | 11:00 | ESO Khetrajpur | 2 | Tree Treaming | Khetrajpur
203 | SAMBALPUR | SED | Ainthapali | 11 KV Remed | 11.05.2022 | 7:00 | 11:00 | Eso Bareipali | 1.5 | Tree treaming | Remed Area
204 | SAMBALPUR | SED | Ainthapali | 11 KV Gopalpali | 11.05.2022 | 7:00 | 11:00 | Eso Bareipali | 1.5 | Tree Treaming, AB Switch Maintenance | Gopalpali, Barepali chowk
205 | SAMBALPUR | SED | Gosala | 11 Kv Burla Feeder | 13.05.2022 | 8:00 | 12:00 | ESO Gosala | 1.5 | Tree treaming, Line AB Switch Installation
206 | SAMBALPUR | SED | Gosala | 11 KV Senapali | 13.05.2022 | 8:00 | 12:00 | ESO Gosala | 1.5 | Tree treaming | Senapali
207 | SAMBALPUR | SED | Hirakud | 11 KV Medical Feeder | 20.05.2022 | 8:00 | 12:00 | ESO Hirakud | 1.5 | Tree treaming
208 | SAMBALPUR | SED | Hirakud | 11 KV Gandhinagar Feeder | 20.05.2022 | 8:00 | 12:00 | ESO Hirakud | 2 | Tree treaming | Gandhinagar
209 | SAMBALPUR | SED | Hirakud | 11 KV Hirakud- RE | 20.05.2022 | 8:00 | 12:00 | ESO Hirakud- RE | 1 | Conductor Upgradation | rural area
210 | SAMBALPUR | JED | BAMRA | 11 KV GARPOSH | 2022-05-14 | 7:00 | 10:00 | BINOD MAJHI, L/M-C | 0.9 | TREE BRANCHES TRIMMING, AB SWITCH REPAIRING, S/S CLEANING, OTHER MAINTENANCE WORK | GHUMUNDUMAL,BURBUDA,KUTARIMAL
211 | SAMBALPUR | JED | BAMRA | 11 KV KINABAGA | 2022-05-21 | 7:00 | 10:00 | BINOD MAJHI, L/M-C | 1.2 | TREE BRANCHES TRIMMING, AB SWITCH REPAIRING, S/S CLEANING, OTHER MAINTENANCE WORK | KINABAGA,MAJAPARA,MAULCHAPAL
212 | SAMBALPUR | JED | BAMRA | 11 KV BAMRA | 2022-05-07 | 7:00 | 10:00 | BINOD MAJHI, L/M-C | 1 | TREE BRANCHES TRIMMING, AB SWITCH REPAIRING, S/S CLEANING, OTHER MAINTENANCE WORK | UCHKAPAT,KUARMA,BAMRA
213 | SAMBALPUR | JED | BAMRA | 11 KV RANGITIKRA | 2022-05-28 | 7:00 | 10:00 | MAHESWAR MINZ, L/M-C | 0.7 | TREE BRANCHES TRIMMING, AB SWITCH REPAIRING, S/S CLEANING, OTHER MAINTENANCE WORK | RANGIATIKIRA,SANKOBAHAL
214 | SAMBALPUR | BNED | MUCHBAHAL | 11 KV TOWN FEEDER | 04.05.2022 | 6:00 | 10:00 | ESO GOMADERA | 0.5 | TREE TREAMING, AB SWITCH MAINTENANCE | GOMADERA MARKET AREA, JAMKANI
215 | SAMBALPUR | BNED | MUCHBAHAL | 11 KV JUNADIHI FEEDER | 04.05.2022 | 6:00 | 10:00 | ESO GOMADERA | 0.3 | TREE TREAMING, AB SWITCH MAINTENANCE | JUNADIHI,PHATAK PADA, BELPAHAR MARKET
216 | SAMBALPUR | SEED | 33KV RENGALI-LPG | 11 KV Rengali | 2022-05-04 | 6:00 | 11:00 | SDO RENGALI | 7 | Line maintenance & PSS RENGALI | Rengali
217 | SAMBALPUR | SEED | 33KV KUCHINDA(LAIDA) | 11 KV Laida | 2022-05-14 | 7:00 | 12:00 | SDO RENGALI | 2 | Line maintenance & PSS LAIDA | Laida
218 | SAMBALPUR | SEED | LAPANGA | 11 KV Lapanga | 2022-05-02 | 8:00 | 11:00 | ESO RENGALI | 2.5 | AB Switch repair, Tree trimming | Lapanga
219 | SAMBALPUR | SEED | LAPANGA | 11 KV Thelkoloi | 2022-05-04 | 8:00 | 11:00 | ESO RENGALI | 2.5 | AB Switch repair, Tree trimming | Thelkoli, Thelkoli bus stand
220 | SAMBALPUR | SEED | PARMANPUR | 11 KV Parmanpur | 2022-05-10 | 6:00 | 9:00 | ESO PARMANPUR | 2.5 | Tree trimming, insulator change, earthing | Parmanpur Village, Bus stand
221 | SAMBALPUR | SEED | PARMANPUR | 11 KV Mura | 2022-05-18 | 6:00 | 9:00 | ESO PARMANPUR | 3 | Tree trimming, insulator change, earthing | Mura Village
222 | SAMBALPUR | SEED | PARMANPUR | 11 KV Pandri | 2022-05-25 | 6:00 | 9:00 | ESO PARMANPUR | 2 | Tree trimming, insulator change, earthing | Pandri Village
223 | SAMBALPUR | DED | Deogarh | 11 KV TOWN-1 | 2022-05-28 | 7:00 | 12:00 | ESO DEOGARH | 1 MW | DTR MAINTAINANCE & TREE TRIMIMNG
224 | SAMBALPUR | DED | Deogarh | 11 KV TOWN-2 | 2022-05-28 | 7:00 | 12:00 | ESO DEOGARH | 0.8 MW | DTR MAINTAINANCE & TREE TRIMIMNG
225 | SAMBALPUR | DED | Deogarh | 11 KV TOWN-3 | 2022-05-28 | 7:00 | 12:00 | ESO DEOGARH | 0.5 MW | DTR MAINTAINANCE & TREE TRIMIMNG
226 | SAMBALPUR | DED | Reamal | 11 KV TINKIBIR NEW | 2022-05-15 | 7:00 | 12:00 | ESO REAMAL | 0.3 MW | DTR MAINTAINANCE & TREE TRIMIMNG
227 | SAMBALPUR | DED | Reamal | 11 KV REAMAL NEW | 2022-05-15 | 7:00 | 12:00 | ESO REAMAL | 0.5 MW | DTR MAINTAINANCE & TREE TRIMIMNG
228 | SAMBALPUR | DED | Budhapal | 11 KV BUDHAPAL | 2022-05-21 | 7:00 | 12:00 | ESO BUDHAPAL | 30 KW | DTR MAINTAINANCE & TREE TRIMIMNG
229 | SAMBALPUR | Brajrajnagar | Muchbahal | 11 KV junadihi feeder, Town feeder | 04.05.2022 | 06:00AM | 10:00AM | Minaketan Pradhan | 0.5MW | 33kv shutdown | Gumadera town, belpahar town
230 | SAMBALPUR | Brajrajnagar | Jharupada, | rengali feeder, jamgaon | 04.05.2022 | 06:00AM | 10:00AM | Manash ranjan mohanty | 0.3MW | 33kv shutdown | Panchgaon
231 | SAMBALPUR | Brajrajnagar | Jharupada, | Bhikam pali, Rengali | 10.05.2022 | 08:00AM | 12:00PM | Manash ranjan mohanty | 0.5MW | tree trimming, dtr maintenance | Panchgaon
232 | SAMBALPUR | Brajrajnagar | Muchbahal | town feeder, Junadihi feeder, Joraboga | 10.05.2022 | 08:00AM | 12:00PM | biraj patel | 1MW | Tree trimming, dtr maintenance, ab switch repairing | Gumadera town, belpahar town
233 | SAMBALPUR | Brajrajnagar | Brajrajnagar | Gandhichowk feeder | 11.05.2022 | 08:00AM | 12:00PM | chitta ranjan patel | 0.5MW | 33kv shutdown | Gandhichowk
234 | SAMBALPUR | Brajrajnagar | Brajrajnagar | Lamtibahal feeder | 11.05.2022 | 08:00AM | 12:00PM | Rashmi Ranjan Lenka | 0.5MW | 33kv shutdown | Lamtibahal.
235 | SAMBALPUR | Brajrajnagar | Brajrajnagar | Brajrajnagar | 11.05.2022 | 08:00AM | 13:00PM | Adekha Behera | 0.5MW | 33kv shutdown | Brajrajnagar
236 | SAMBALPUR | Brajrajnagar | Jharupada, | Bhikampali, Rengali , Jamgaon | 25.05.2022 | 08:00AM | 12:00PM | Manash ranjan mohanty | 0.5MW | tree trimming, dtr maintenance | Panchgaon
237 | SAMBALPUR | Brajrajnagar | Dhulunda, | kanaktora, Remta , Charpali | 25.05.2022 | 08:00AM | 12:00PM | Manash ranjan mohanty | 0.5MW | tree trimming, dtr maintenance | Panchgaon
238 | SAMBALPUR | Brajrajnagar | Lkhanpur, Muchbahal | Lakhanpur,bhaunrkhol,joraboga, townfeeder | 25.05.2022 | 08:00AM | 12:00PM | biraj patel | 1MW | 33kv shutdown | belpahar town, Lakhanpur
239 | BOLANGIR | bolangir | laltikra | feeder no-1 | 14/05/2022 | 07.00am | 10.00pm | Riyaz-ul-Haq | 4 | schedule maintanance | Bolangir town
240 | BOLANGIR | bolangir | laltikra | feeder no -2 | 21/05/2022 | 07.00am | 10.00pm | Riyaz-ul-Haq | 1 | schedule maintanance | Bolangir town
241 | BOLANGIR | bolangir | laltikra | feeder no -3 | 28/05/2022 | 07.00am | 10.00pm | Riyaz-ul-Haq | 1.5 | schedule maintanance | Bolangir town
242 | BOLANGIR | bolangir | laltikra | feeder no-1 | 21/05/2022 | 07.00am | 10.00pm | Jagannath Mohanty | 4 | schedule maintanance | Bolangir town
243 | BOLANGIR | bolangir | Power House | hatisalpada | 2022-05-07 | 07.00am | 10.00pm | Jagannath Mohanty | 2.5 | schedule maintanance | Bolangir town
244 | BOLANGIR | bolangir | Power House | malpada | 14/05/2022 | 07.00am | 10.00pm | Jagannath Mohanty | 2 | schedule maintanance | Bolangir town
245 | BOLANGIR | bolangir | Industrial Grid | Feeder-02 | 28/05/2022 | 8:00 am | 09:30 am | Ishan Nayak | 1.5 | schedule maintanance | Bolangir town
246 | BOLANGIR | bolangir | Industrial Grid | Feeder-01 | 14/05/2022 | 8:00 am | 09:30 am | Ishan Nayak | 0.9 | schedule maintanance | Bolangir town
247 | BOLANGIR | TITLAGARH | PATNAGARH | TOWN-I | 2022-05-01 | 7.30AM | 9.30AM | ESO PTG-1 | 0.5 | S/S MAINTENANCE & LOAD BALACE | BARAHMPURA | Need not require of Feeder Shut Down the whole time.
248 | BOLANGIR | TITLAGARH | KANTABANJI | FEEDER NO 2 | 2022-05-01 | 8.00AM | 10.00AM | ESO KANTABANJI | 1 | TREE CUTTING | INDUSTRY FEEDER
249 | BOLANGIR | TITLAGARH | KANTABANJI | FEEDER NO 1 | 2022-05-02 | 8.00AM | 10.00AM | ESO KANTABANJI | 1 | TREE CUTTING | GHANAMAHUL SIDE
250 | BOLANGIR | TITLAGARH | KANTABANJI | FEEDER NO 1 | 2022-05-03 | 8.00AM | 10.00AM | ESO KANTABANJI | 1 | JUMPER REPLACE | INDUSTRY FEEDER
251 | BOLANGIR | TITLAGARH | KANTABANJI | FEEDER NO 1 | 2022-05-04 | 8.00AM | 10.00AM | ESO KANTABANJI | 1 | AB SWITCH REPAIR | GUJRATI GARDEN
252 | BOLANGIR | TITLAGARH | KANTABANJI | FEEDER NO 1 | 2022-05-05 | 8.00AM | 10.00AM | ESO KANTABANJI | 1 | DTR MAINTANANCE | NUAPADA
253 | BOLANGIR | TITLAGARH | KANTABANJI | FEEDER NO 2 | 2022-05-06 | 8.00AM | 10.00AM | ESO KANTABANJI | 1 | TREE CUTTING | DHOBGHATEN SIDE AREA
254 | BOLANGIR | TITLAGARH | KANTABANJI | FEEDER NO 2 | 2022-05-07 | 8.00AM | 10.00AM | ESO KANTABANJI | 1 | TREE CUTTING | CHATUANKA SIDE AREA
255 | BOLANGIR | TITLAGARH | KANTABANJI | FEEDER NO 2 | 2022-05-08 | 8.00AM | 10.00AM | ESO KANTABANJI | 1 | TREE CUTTING | KURLI AREA
256 | BOLANGIR | TITLAGARH | PATNAGARH | TOWN-II | 2022-05-08 | 8.00AM | 9.00AM | ESO PTG-1 | 0.5 | S/S MAINTENANCE | KADOPADA,LINEPADA,DHUMABHATA ROAD | Need not require of Feeder Shut Down the whole time.
257 | BOLANGIR | TITLAGARH | KANTABANJI | FEEDER NO 2 | 2022-05-11 | 8.00AM | 10.00AM | ESO KANTABANJI | 1 | JUMPER REPLACE | CHATUANKA
258 | BOLANGIR | TITLAGARH | KANTABANJI | FEEDER NO 2 | 2022-05-12 | 8.00AM | 10.00AM | ESO KANTABANJI | 1 | DTR MAINTENANCE | CHATUANKA
259 | BOLANGIR | TITLAGARH | KANTABANJI | FEEDER NO 2 | 2022-05-13 | 8.00AM | 10.00AM | ESO KANTABANJI | 1 | DTR MAINTENANCE | ROAD NO 5
260 | BOLANGIR | TITLAGARH | PATNAGARH | TOWN-II | 2022-05-14 | 7.00AM | 9.00AM | ESO PTG-1 | 0.1 | S/S MAINTENANCE & TREE TRIMMING | TOWN MAIN ROAD, BADPARA,GANGANAGAR
261 | BOLANGIR | TITLAGARH | PATNAGARH | TOWN-II | 2022-05-15 | 7.30AM | 9.30AM | ESO PTG-1 | 0.3 | S/S MAINTENANCE & TREE TRIMMING | RAMPUR
262 | BOLANGIR | TITLAGARH | PATNAGARH | TOWN-II | 2022-05-16 | 7.30AM | 9.30AM | ESO PTG-1 | 0.1 | NORMAL Maintenance | RAMPUR, KUMBHARPADA | Need not require of Feeder Shut Down the whole time.
263 | BOLANGIR | TITLAGARH | PATNAGARH | BHAINSA | 2022-05-19 | 7.30AM | 9.30AM | ESO PTG-1 | 0.1 | TREE TRIMMING | BHAINSA, TENDAPADAR,ULBA
264 | BOLANGIR | TITLAGARH | PATNAGARH | TOWN-1 | 2022-05-22 | 7.30AM | 9.30AM | ESO PTG-1 | 0.5 | TREE CUTTING | PUBLIC SCHOOL
265 | BOLANGIR | TITLAGARH | PATNAGARH | BATHARLA | 2022-05-23 | 7.30AM | 9.30AM | ESO PTG-1 | 0.3 | TREE CUTTING | RAMPALI
266 | BOLANGIR | TITLAGARH | KANTABANJI | FEEDER NO 1 | 2022-05-25 | 8.00AM | 10.00AM | ESO KANTABANJI | 1 | AB SWITCH REPAIR | BEHERA CHOWK
267 | BOLANGIR | TITLAGARH | KANTABANJI | FEEDER NO 3 | 2022-05-26 | 8.00AM | 10.00AM | ESO KANTABANJI | 2 | DTR MAINTANANCE | MAHAVEER RESIDENCY
268 | BOLANGIR | TITLAGARH | KANTABANJI | FEEDER NO 3 | 2022-05-27 | 8.00AM | 10.00AM | ESO KANTABANJI | 2 | DTR MAINTANANCE | R M C OFFICE
269 | BOLANGIR | TITLAGARH | PATNAGARH | TOWN-II | 2022-05-28 | 7.30AM | 9.30AM | ESO PTG-1 | 0.1 | NORMAL MAINTENANCE | RAMPUR | Need not require of Feeder Shut Down the whole time.
270 | BOLANGIR | TITLAGARH | PATNAGARH | BHAINSA | 2022-05-30 | 7.30AM | 9.30AM | ESO PTG-1 | 0.1 | S/S MAINTENANCE | ULBA | Need not require of Feeder Shut Down the whole time.