## Sheet1
Planned Outages for the month of Apr'22
OUTAGE REQUESTED ON ACCOUNT OF TPWODL
Sl No | Name of Circle | Name Of Division | 33/11KV PSS Name | 11KV Feeder or Name of Equipment | Date Of Outage | Isolation Time | Restoration Time | Name Of Person, outage to be availed | Affected Load in MW | Reason Of Outage | Key area affected | Remark
1 | BARGARH | BED, BARGARH | BHATLI | TOWN FEEDER | 2022-04-03 | 9:00 | 11:00AM | ESO | 2.5 | TREE TRIMMING AND DTR MAINTENANCE OF 315 THANA SUBSTATION,POLE ERECTION,CROSS ARM STRAIGHTENING, STUD-POLE fixing , AB cable clamp fixing. | BHATLI TOWN,KUISIRA,KUSANPURI
2 | BARGARH | BED, BARGARH | BHUKTA | BADA DARLIPALI | 2022-04-05 | 10AM | 5PM | ESO GAJENDRA ROUT | 1.2 | TREE BRANCES TRIMING, V CROSS ARM FITTING,CONDUCTOR STRINGING, PIN INSULATOR FITTING | RUCHIDA, NARANGPUR,BARANGKOT,BHALUTAL, SALEPALI,BADSARIPALI
3 | BARGARH | BED, BARGARH | KHUNTLIPALI | KHUNTLIPALI | 2022-04-06 | 8AM | 1PM | Khuntlipali ESO | 4.8 | •new jumpering, tree trimmimg, •DTR maintenance • 11 kv and LT POLE straightning. | Khuntlipali
4 | BARGARH | BED, BARGARH | KHUNTLIPALI | TURUM | 2022-04-06 | 8AM | 1PM | Khuntlipali ESO | 2.6 | •LT stringing, DTR, Maintenance AND • TREE TRIMMING , •EARTHING WORK,•11KV POLE STRAIGHTNING | Turum
5 | BARGARH | BED, BARGARH | Turunga | New industrial | 2022-04-07 | 9:00 | 14:00 | Anup Dash-Lineman | 4 | TREE TRIMMING ,JUMPERING | Balgopal rice mill, Jindal paddy mill, samaleswarei Mill,
6 | BARGARH | BED, BARGARH | TURUNGA | OLD INDUSTRIAL | 2022-04-07 | 9 :00 | 3PM | ANUP KU DASH, LM-C | 3.4 | TREE TRIMMING, OIL TOP -UP | BELBAHALI,JADA TIKRA , PATHALLA, SASTUPALI,KALNGA PALI
7 | BARGARH | BED, BARGARH | GODBAGHA | LARAMBHA | 2022-04-08 | 8AM | 1PM | Larambha ESO | 6 | •Tree Trimming • Line AB switch repair• DTR Maintenance | Radhapada, Barhmunda,Bhaludunhri, kadobahal, larambha, podbadi
8 | BARGARH | BED, BARGARH | GODBAGHA | GODBAGHA | 2022-04-08 | 8AM | 1PM | Pratul Kumar Mahana (Lineman A) | 3.5 | •Tree Trimming • Line AB switch repair 2 Nos • DTR Maintenance | Goadbhaga,Saharatikira,Larasara village
9 | BARGARH | BED, BARGARH | ATTABIRA | KANDPALI | 2022-04-08 | 8AM | 1PM | Bhabani Kumar Pandey (ESO),Punendu Sahu(Lineman A) ,Bala Krishna Gade (Lineman B) | 4 | •Kandpali Feeder •Tree Trimming • DTR Maintenance 2 Nos • DTR AB switch Repairing | Lurupali,Kandpali ,tupapoda.sudhapali,putputpal i..Tangarpali,Kantal
10 | BARGARH | BED, BARGARH | ATTABIRA | TOWN FEEDER | 2022-04-08 | 8AM | 1PM | Attabira-1 ESO | 4 | •Pole Straighting work •Cable Stringing •LAB switch Repair• V cross-arm Change •Tree Trimming. | Attabira town
11 | BARGARH | BED, BARGARH | ATTABIRA | RENGALI CAMP | 2022-04-08 | 8AM | 1PM | Rengali Camp ESO | 3.8 | •Tree trimming patrapali Sarla. •Line AB switch maintenance rengalicamp •DTR maintenance | patrapali,janhapada,Sarla,Jampali,Kalapani,Rengali camp
12 | BARGARH | BED, BARGARH | ATTABIRA | BHEDEN | 2022-04-08 | 8AM | 1PM | Bheden ESO | 0.7 | •Feeder Bheden •new jumpering, tree trimmimg, •DTR maintenance•11 kv and LT POLE straightning. | Bheden
13 | BARGARH | BED, BARGARH | MAHULPALI | SIALKHANDATHA | 2022-04-08 | 8AM | 1PM | Thuapali ESO | 3 | •new jumpering, tree trimmimg, •DTR maintenance • 11 kv and LT POLE straightning. | SIALKHANDATHA
14 | BARGARH | BED, BARGARH | UDAYPALI | HATISAR | 2022-04-08 | 10.00 AM | 1.00 PM | ESO | 3 | TREE TRIMMING AND DTR MAINTENANCE 63 KVA JHANKARPALI,V-CROSS ARM STRAIGHTENING,PIN INSULATOR REPLACE | HATISAR,BAMNIPALI,GINDULA,BEHERAPALI,BARTUNDA,JHANKARPALI,URDUNA,NEGIDIHI,JAMPALI,TALPALI,MAHULPALI,BICHUAN,KASIPALII,KAHENMUNDA,JHIKJHIKI,NARANGPUR,LATIPALI,JHARMUNDA
15 | BARGARH | BED, BARGARH | Division-I | Town 1 | 2022-04-09 | 9AM | 1AM | Ganesh Bag | 8 | 11KV CABLE SHIFTING AND 11KV JUMPERING TREE TRIMMING. | Bhatli Chaka, Balitikra,Bandutikra,Ashakiran
16 | BARGARH | BED, BARGARH | Division-I I | Town-2 | 2022-04-09 | 9AM | 2PM | Sushanta Moharana(ESO BHG-2) | 1.3 | Tree trimming, Jumper repaireing and AB switch maintennace | Hatpada, RLY-Station,dharger village
17 | BARGARH | BED, BARGARH | Division-I I | Pvt bus stand | 2022-04-09 | 09AM | 2PM | Prem chand gadnaik | 5 | LINE AB SWITCH WORK,TREE TRIMMING | RAILWY STATION,NUAPADA,GARU MARKET,BRAJDHADHAM,SUBASH MARKET,NIKI RESURANT,INDUSTRIAL EAST,SAMABAD OFFICE,KRISHNA PLAST,KRISHANA POLLYMER,OMFEED PLANT,VETINARY OFFICE,RAILYE STATION,BRAJDHAM.
18 | BARGARH | BED, BARGARH | Division-I I | Gobindpaly | 2022-04-09 | 9AM | 2PM | Prem chand gadnaik | 5 | AB SWITCH REPAIRING AND TREE TRIMMING, 11KV JUMPERING | Gangadhar nagar, Gobind paly,Subash nagar.
19 | BARGARH | BED, BARGARH | Division-I | Bandutikra | 2022-04-09 | 9AM | 3PM | Mantu Behera | 5 | AB SWITCH REPAIRING AND TREE TRIMMING | RAMA MANDIR SS, RABI SETHISS,KASEI KHANA,TRAKER STATION,SUPPER MARKET,AXIS BANK SS,LIC OFFICE SS,OLD DHH,SRI KRISHNA SS, PATRA NEEDS SS.
20 | BARGARH | BED, BARGARH | DUNGURI | DUNGURI | 2022-04-09 | 10AM | 5PM | ESO GAJENDRA ROUT | 1 | TREE BRANCES TRIMING, V CROSS ARM FITTING,CONDUCTOR STRINGING, PIN INSULATOR FITTING | ARJUNDA, BEHERA BADMAL, DUNGURI, SUNTAMAL
21 | BARGARH | BED, BARGARH | TORA | SUGERMILL | 2022-04-11 | 9:00 | 3PM | SANTOSH MAJHI, LM-A | 2.6 | JUMPERING, TREE TRIMMING, DTR MAINTANANCE | SUGERMILL, TANGERPALI, MARKET, AADARSHAPADA
22 | BARGARH | BED, BARGARH | TORA | INDUSTRIAL-1 | 2022-04-11 | 9AM | 2PM | B.C DAS(LM-B) | 1.3 | Tree trimming, Jumper repaireing and AB switch maintennace | Hatpada, RLY-Station,dharger village
23 | BARGARH | BED, BARGARH | DUNGURI | LAKHANPUR | 2022-04-12 | 10AM | 5PM | ESO GAJENDRA ROUT | 1 | TREE BRANCES TRIMING, V CROSS ARM FITTING,CONDUCTOR STRINGING, PIN INSULATOR FITTING | LETHAR,UTTAM,UDEPALI,ALEKPUR,LAKHANPUR,BABEBALI
24 | BARGARH | BED, BARGARH | KHEDAPALI | BARDOL | 2022-04-13 | 9AM | 2PM | KUMUDA BEHERA LM-B | 3.8 | AB SWITCH REPAIRING ,TREE TRIMMIMG,DOUBLE JUMPHER | BARDOL,KHEDAPALI,DANG,
25 | BARGARH | BED, BARGARH | PRADHANPALI | INDUSTRIAL-2 | 2022-04-13 | 9AM | 2PM | MEHER KANTA DASH LM-B | 3.2 | DOUBLE JUMPHER,TREE TRIMMING,DTR MAINTENANCE | NAGENPALI,VIKASH COLLAGE
26 | BARGARH | BED, BARGARH | AMBHABHANA | AMBHABHANA | 2022-04-16 | 10AM | 5PM | ESO GAJENDRA ROUT | 0.8 | TREE BRANCES TRIMING, V CROSS ARM FITTING,CONDUCTOR STRINGING, PIN INSULATOR FITTING | AMBHABANA,SAMBATPURI, GANGEI, BUDHIPALI,ANTARADI,KUTHARPALI
27 | BARGARH | BED, BARGARH | TANGARPALI | TANGARPALI | 2022-04-18 | 8AM | 1PM | Bhabani Kumar Pandey (ESO),Punendu Sahu(Lineman A) ,Bala Krishna Gade (Lineman B) | 4 | •Tangarpali •DTR Maintenance,Bushing Oil Top Up and Fencing Work.Tree Trimming | Tangarpali, Paharsrigida
28 | BARGARH | BED, BARGARH | ATTABIRA | SARANDA | 2022-04-18 | 8AM | 1PM | Attabira-1 ESO | 4 | •Tree Trimming ,Pole Straightening,AB Switch Repair ,Cross Arm Change. •Earthing , DTR maintenance, tree trimmimg. | Saranda
29 | BARGARH | BED, BARGARH | ATTABIRA | DUNGURIPALI | 2022-04-18 | 8AM | 1PM | Rengali Camp ESO | 2.2 | •Tree trimming , rengalicamp. •DTR ab switch oiling and greasing.and Maintenance | Dunguripali,janhapada, Tajtikra.
30 | BARGARH | BED, BARGARH | ATTABIRA | BARPADAR | 2022-04-18 | 8AM | 1PM | Bheden ESO | 0.7 | •Feeder Barpadar •LT stringing, DTR, Maintenance,tree trimming, Ab switch repair,pole straightening | Barpadar
31 | BARGARH | BED, BARGARH | ATTABIRA | SAHARATIKRA | 2022-04-18 | 8AM | 1PM | Bheden ESO | 1.2 | •Feeder Saharatikra •Tree trimming DTR maintenance •Pole straightening, new jumpering | Saharatikra
32 | BARGARH | BED, BARGARH | PRADHANPALI | INDUSTRIAL-2 | 2022-04-19 | 9AM | 2PM | MEHER KANTA DASH LM-B | 3.2 | DOUBLE JUMPHER,TREE TRIMMING,DTR MAINTENANCE | NAGENPALI,VIKASH COLLAGE
33 | BARGARH | BED, BARGARH | DHATUKPALI | RUSUDA | 2022-04-20 | 8AM | 1PM | Thuapali ESO | 1.1 | •LT stringing, DTR, Maintenance AND •TREE TRIMMING ,• EARTHING WORK. | Rusuda
34 | BARGARH | BED, BARGARH | MAHULPALI | MAHULPALI | 2022-04-20 | 8AM | 1PM | Khuntlipali ESO | 2.8 | •Tree Trimming ,• DTR Maintenance •Earthing Work , •Pole Straightening . | Mahulpali
35 | BARGARH | BED, BARGARH | KHUNTLIPALI | SANKIRDA | 2022-04-20 | 8AM | 1PM | Khuntlipali ESO | 0.8 | •Tree Trimming ,• DTR Maintenance •Earthing Work , •Pole Straightening . | Sankirda
36 | BARGARH | BED, BARGARH | Turunga | New industrial | 2022-04-21 | 9:00 | 14:00 | Anup Dash-Lineman | 4 | TREE TRIMMING ,JUMPERING | Balgopal rice mill, Jindal paddy mill, samaleswarei Mill,
37 | BARGARH | BED, BARGARH | TURUNGA | OLD INDUSTRIAL | 2022-04-21 | 9 :00 | 3PM | ANUP KU DASH, LM-C | 3.4 | TREE TRIMMING, OIL TOP -UP | BELBAHALI,JADA TIKRA , PATHALLA, SASTUPALI,KALNGA PALI
38 | BARGARH | BED, BARGARH | GODBAGHA | LARAMBHA | 2022-04-22 | 8AM | 1PM | Larambha ESO | 6 | •Tree Trimming • Line AB switch repair• DTR Maintenance | sindurbahal,Tamparsara village
39 | BARGARH | BED, BARGARH | GODBAGHA | GODBAGHA | 2022-04-22 | 8AM | 1PM | Pratul Kumar Mahana (Lineman A) | 3.5 | •Tree Trimming • Line AB switch repair 1 Nos • DTR Maintenance | Goadbhaga Camp &Goadbhaga village
40 | BARGARH | BED, BARGARH | Division-I | Town 1 | 2022-04-23 | 9AM | 1AM | Ganesh Bag | 8 | 11KV CABLE SHIFTING AND 11KV JUMPERING TREE TRIMMING. | Bhatli Chaka, Balitikra,Bandutikra,Ashakiran
41 | BARGARH | BED, BARGARH | Division-I I | Town-2 | 2022-04-23 | 9AM | 2PM | Sushanta Moharana(ESO BHG-2) | 1.3 | Tree trimming, Jumper repaireing and AB switch maintennace | Hatpada, RLY-Station,dharger village
42 | BARGARH | BED, BARGARH | Division-I I | Pvt bus stand | 2022-04-23 | 09AM | 2PM | Prem chand gadnaik | 5 | LINE AB SWITCH WORK,TREE TRIMMING | RAILWY STATION,NUAPADA,GARU MARKET,BRAJDHADHAM,SUBASH MARKET,NIKI RESURANT,INDUSTRIAL EAST,SAMABAD OFFICE,KRISHNA PLAST,KRISHANA POLLYMER,OMFEED PLANT,VETINARY OFFICE,RAILYE STATION,BRAJDHAM.
43 | KALAHANDI | KEED | 33kV/11KV Narla pss | Narla, Rupra Road, Chhatiguda, | 2022-04-02 | 8:00 | 14:00 | Mr. Deepak Ku. Behera | 15 | Line Maintenance | Narla, Madanpur, M.Rampur, Rupra Road, Chhatiguda, Biswanathpur, Lanjigarh, Bandhapari, Musanal, Balipada, Kamarda, Urladani, Mohangiri etc. | Narla, Madanpur, M.Rampur, Banjamunda, Biswanathpur, Lanjigarh, Bandhapari, Rupra-Road, M/S Harapriya Agro Under Outage
44 | KALAHANDI | KWED | 33/11kV Kalampur pss | Kalampur | 2022-04-04 | 8:00 | 14:00 | Mr. S.S. Swain | 2 | Line Maintenance | Kalampu, Bankapala, Bandhakana, Th.Rampur, Gopalpur, Badchergaon, Adri, Gopinathpur, Maligaon etc. | Th.Rampur, Kalampur & Adri PSS under Outage
45 | KALAHANDI | KWED | 33 KV/11KV Badkutru pss | DHANPUR | 2022-04-05 | 8:00 | 14:00 | Mr. Kali Prashan Dash | 0 | Line Maintenance & Tree Trimming | DHANPUR
46 | KALAHANDI | KWED | 33/11kV Kegaon pss | KEGAON | 2022-04-06 | 8:00 | 14:00 | Mr. Saroj Shukla | 2 | FEEDER MAINTENANCE | KEGAON
47 | KALAHANDI | KWED | 33kV/11KV Junagarh GSS | Junagarh Town& kastura | 2022-04-07 | 8:00 | 13:00 | Mr. Suvendu kumar samantray | 2.5 | Line Maintenance | Junagarh Town, Kalampur, Th.Rampur, Adri. | Junagarh, Adri, Th. Rampur & Kalampur PSS under Outage
48 | KALAHANDI | KEED | 33/11kV Naktiguda PSS | Bandopala | 2022-04-07 | 8:00 | 13:00 | Mr. Binayak Rout | 5 | Maintenance work | Saidham, Jugasaipatna, Keroguda, Bnadopala | Attanguda PSS, Bandupala PSS & 3 Nos. HTC under Outage
49 | KALAHANDI | KEED | 33/11kV Naktiguda PSS | Jugasaipatna, Keroguda, Bnadopala | 2022-04-08 | 8:00 | 13:00 | Mr. Binayak Rout | 5 | Maintenance work | PHDs, GCE, Saidham, Jugasaipatna, Keroguda, Bnadopala | Attanguda PSS, Bandupala PSS & 3 Nos. HTC under Outage
50 | KALAHANDI | KWED | 33 KV/11KV Charbahal Pss | Moter | 2022-04-08 | 8:00 | 14:00 | Mr. Sushanta sekher Barik | 1.5 | Tree Trimming & Double jumpering | moter
51 | KALAHANDI | KWED | 33kV/11KV Dharamgarh pss | Chilpa | 2022-04-09 | 8:00 | 14:00 | mr.sailesh mohanta | 4 | Line Maintenance | Chilpa, | Only Dharamgarh PSS under Outage
52 | KALAHANDI | KEED | 33kV/11KV Naktiguda pss | Bhawanipatna Town, Medical, | 2022-04-09 | 8:00 | 14:00 | Mr. Binayak Rout | 15 | Maintenance work | Bhawanipatna Town, Medical, Doordarsan | Naktiguda, Banduapala, Attanguda, Kusadunguri, Raisingpur, PHD, GCE under Outage
53 | KALAHANDI | KWED | 33kV/11KV Mahichala pss | Mahichala,kalopala | 2022-04-11 | 8:00 | 14:00 | Mr. Sushanta sekher Barik | 1.5 | Tree Trimming, Double jumpering and Charbahal PSS Maintanance | Kalopala ,Mahichala, | Only Mahichala pss is under outage
54 | KALAHANDI | KEED | 33/11kV Khariar PSS | Seinpur, Mahaling | 2022-04-11 | 8:00 | 13:00 | Mr. Sudhir Ku. Mohapatra | 2.2 | Line Maintenance | , Seinpur, Artal, Mahaling | Outage taken for Only Borda PSS
55 | KALAHANDI | KEED | 33kV/11KV Kesinga PSS | Kesinga Town, Boringpadar, Jaganathpada, Durga Rice Mill, | 2022-04-12 | 8:00 | 14:00 | Mr. Devi Prasad Dixit | 7 | Line Maintenance | Kesinga Town, Boringpadar, Jaganathpada, Durga Rice Mill, Kasurpada | Only Kesinga PSS under Outage
56 | KALAHANDI | KEED | 33kV/11KV Nunmath PSS | Karlamunda, Nunmath, | 2022-04-13 | 8:00 | 14:00 | Mr. Amiya Ranjan Panda | 5 | Maintenance work | Karlamunda, Nunmath, Sisakhal | Nunmath, Sisakhal PSSs under Outage
57 | KALAHANDI | KEED | 33kV/11KV kusadungri &Risingpur pss | Raisingpur, Bhatangpadar, Jaleswar, College Sq. | 2022-04-14 | 8:00 | 14:00 | Mr. Abhishek Swain | 5 | Line Maintenance | Raisingpur, Dunguripadar, Bhatangpadar, Jaleswar, College Sq. | Kusadunguri & Raisingpur PSS under Outage
58 | KALAHANDI | KEED | 33/11kV Narla PSS | Lanjigarh | 2022-04-15 | 8:00 | 14:00 | Mr. Deepak Ku. Behera | 4 | Line Maintenance | Lanjigarh Block | Biswanathpur, Lanjigarh & Bandhapari PSS under Outage
59 | KALAHANDI | KEED | 33kV/11KV Utkela pss | Utkela, Kundabandh, | 2022-04-16 | 8:00 | 13:00 | Mr. Ajit Sahu | 3.5 | Feeder Maintenance | Utkela, Kundabandh, | Karlapada & Utkela PSS under Outage
60 | KALAHANDI | KWED | 33/11kV Daspur Pss | Daspur,Brundabahal | 2022-04-16 | 8:00 | 14:00 | Mr. sailesh mohanta | 2 | Line Maintenance & Tree Trimming | Daspur, Brundabahal | Only Daspur PSS Outage
61 | KALAHANDI | KEED | 33kV/11KV Utkela pss | Utkela | 2022-04-18 | 8:00 | 13:00 | Mr. Ajit Sahu | 1 | Feeder Maintenance | Consumers- Airstrip (Utkela), Baishali Water Industry, Basudev Foods, Radio Station
62 | KALAHANDI | KEED | 33/11kV M. Rampur | Mohangiri, D.karlakhunta | 2022-04-19 | 8:00 | 14:00 | Mr. Deepak Ku. Behera | 1.7 | Line Maintenance | Mohangiri, Manikera, D. Karlakhunta, Madanpur, Singhpur GP | Madanpur & Banjamunda PSS under Outage
63 | KALAHANDI | KWED | 33 KV/11KV Mukhiguda pss | MANGALPUR | 2022-04-19 | 8:00 | 14:00 | Mr. Pabiraj Majhi | 1 | Line Maintenance & Tree Trimming | Makhiguda, Mangalpur, Dhansuli, Mahulpatna | only makhiguda pss is under outage
64 | KALAHANDI | KEED | 33/11kV M. Rampur | Mohangiri, D. Karlakhunta | 2022-04-20 | 8:00 | 14:00 | Mr. Deepak Ku. Behera | 0.5 | Line Maintenance | Mohangiri, D. Karlakhunta | Only Banjamunda PSS under Outage
65 | KALAHANDI | KWED | 33KV/11KV JAIPATNA PSS | BANJIBAHAL | 2022-04-20 | 8:00 | 14:00 | Mr. Pabiraj Majhi | 1 | Line Maintenance , Tree Trimming and Double jumpering | Jaipatna, Banjibahal ,Khaliabhata, Lagbahali, Karmeli,Pipalguda | Only Jaipatna pss is under outage
66 | KALAHANDI | KWED | 33KV/11KV Ladugaon pss | Industrial | 2022-04-21 | 8:00 | 14:00 | Mr B M Dalei | 0 | feeder maintenance | INDUSTRIAL AREA
67 | KALAHANDI | KWED | 33/11kV Ladugaon PSS | Ladugoan ,Chiliguda | 2022-04-22 | 8:00 | 14:00 | Mr B M Dalei | 6.5 | Tree triming,Double Jumpering and Line Maintanance | Ladugoan,Gandramal,Koksara Ampani ,Kaudola, Temra,Majhiguda,Chiliguda | Ladugoan pss,Gandramal pss and Temra pss are under outage
68 | KALAHANDI | KEED | 33kV/11KV kusadungri&Risingpur PSS | Jaleswar, College Sq.,Risingpur | 2022-04-23 | 8:00 | 14:00 | Mr. Abhishek Swain | 5 | Feeder Maintenance | Raisingpur, Dunguripadar, Bhatangpadar, Jaleswar, College Sq. | Kusadunguri & Raisingpur PSS under Outage
69 | KALAHANDI | KWED | 33/11kV ADRI,THRAMPUR PSS | kuruguda | 2022-04-23 | 8:00 | 14:00 | Mr. Suren kumar rout | 2 | Line Maintenance | Dumerpadar, Badchatarang, Gopalpur, Th.Rampur, Adri, Dalguda, Gopinathpur etc | Th. Rampur & Adri PSS under Outage
70 | KALAHANDI | KWED | 33/11kV Temra PSS | Badkenduguda | 2022-04-25 | 8:00 | 14:00 | Mr B M Dalei | 1 | Repin binding/Double Jumpering and Line Maintanance | Temra,Badkenduguda,dudukathenga,Mahima,Gotomunda,Sanpodaguda | Temra pss is under outage
71 | KALAHANDI | KWED | 33/11 KV Mukhiguda pss | Makhiguda,Mahulpatna | 2022-04-26 | 8:00 | 14:00 | Mr. Pabiraj Majhi | 1 | Line Maintenance & Tree Trimming | Makhiguda,, Mahulpatna | only makhiguda pss is under outage
72 | KALAHANDI | KWED | 33/11kV Th.Rampur PSS | Th. Rampur | 2022-04-27 | 8:00 | 14:00 | Mr. S.S. Swain | 0.6 | Line Maintenance | Gopinathpur, Maligaon, Adri & Dalguda | Only Adri PSS under Outage
73 | KALAHANDI | NUAPADA | 33/11kV Khariar Road | Bisora | 2022-04-06 | 8:00 | 12:00 | Mr.Nigama Nanda Sutar | 3 | Line Maintenance & Tree Trimming | Bisora, Bhaleswar, Beltukuri, Saipala, Khairani, Darlimunda | Bisora & Saipala PSS under Outage
74 | KALAHANDI | NUAPADA | 33/11kv khariar Road | Khariar Road | 2022-04-08 | 8:00 | 12:00 | Mr.Monaranjan Biswal | 5 | Line Maintenance & Tree Trimming | Khariar Road Town, Patel Nagar, Biromal, Banka etc, | Only Kh. Road PSS under Outage
75 | KALAHANDI | NUAPADA | 33/11kV Badi PSS | Khariar Town | 2022-04-09 | 8:00 | 14:00 | Mr.Aditya Prasad Behera | 7 | Line Maintenance & Tree Trimming | Bangamunda, Sikuan, Khariar Town, Areda, Mission Hospital | Badi & Bangamunda PSS under Outage
76 | KALAHANDI | NUAPADA | 33/11kV Nuapada PSS | Sarabong | 2022-04-13 | 8:00 | 13:00 | Mr.Gobinda Rana | 2.5 | Line Maintenance | Dharmabandha, Sarabong, Bhainsmundi | Only Sarabong PSS under Outage
77 | KALAHANDI | NUAPADA | 33/11kV Komna PSS | Komna | 2022-04-15 | 8:00 | 13:00 | Mr.Sidharth Sankar Mahakud | 8 | Feeder maintenance &Tree Trimming | Komna, Bargaon, Batibahal, Kurumpuri, Tikhali, JNV, Tarbod | Komna PSS, Bargaon PSS, Kurumpuri PSS, Batibahal PSS & RWSS Tikhali under Outage
78 | KALAHANDI | NUAPADA | 33/11kv Nuapada PSS | Nuapada | 2022-04-15 | 8:00 | 13:00 | Mr.Gobinda Rana | 3 | Tree Trimming & Line Maintenance | Nuapada Town, Sakhatora | Only Nuapada and Sakhator
79 | KALAHANDI | NUAPADA | 33/11kV Saipala PSS | Saipala | 2022-04-16 | 8:00 | 12:00 | Mr.Nigama Nanda Sutar | 3 | Line Maintenance & Tree Trimming | Bisora, Bhaleswar, Beltukuri, Saipala, Khairani, Darlimunda | Bisora & Saipala PSS under Outage
80 | KALAHANDI | NUAPADA | 33/11kV Sinapali PSS | Sinapali | 2022-04-16 | 8:00 | 13:00 | Mr. Binaya Ku Sahoo | 8 | Tree Trimming & Line Maintenance | Sinapali Town, Bargaon, Hatibandh, Timanpur, Sardhapur, Bharuamunda, Chalna | Sinapali & Chalna PSS under Outage
81 | KALAHANDI | NUAPADA | 33/11kV Kurumpuri PSS | Kurumpuri | 2022-04-20 | 8:00 | 13:00 | Mr. Gobinda Rana | 3 | Line Maintenance & Tree Trimming | Tarbod, Lakhna, Silati, JNV, Bhela | Only Kurumpuri PSS under Outage
82 | KALAHANDI | NUAPADA | 33/11kV Boden PSS | Boden | 2022-04-23 | 8:00 | 13:00 | Mr. Aditya Prasad Behera | 3 | Line Maintenance | Boden Town, Nagpada, Larka, Bargaon, Timanpur, Gorla, Nilji | Both Boden & Timanpur PSS under Outage
83 | SAMBALPUR | SEED | 33KV IOCL | DHANUPALI | 2022-04-06 | 8:00 | 15:00 | ESO DHANUPALI | 2 | Tree Trimming,Insulator change | IOCL
84 | SAMBALPUR | SEED | 33KV PUTIBANDH | PUTIBANDH | 2022-04-09 | 8:00 | 15:00 | ESO DHANUPALI | 2.5 | Tree Trimming,Rejumpering | BHUTAPADA,CS COLONY,BROOKSHILL,SAKHIPADA,GOELBAZAR
85 | SAMBALPUR | SEED | 33KV RENGALI-SBP (SASON) | SASON | 2022-04-10 | 8:00 | 15:00 | ESO RENGALI | 1.5 | Tree Trimming,Pole Restraining | SASAN,PARMANPUR
86 | SAMBALPUR | SEED | 33KV RAIRAKHOL | RAIRAKHOL | 2022-04-11 | 8:00 | 15:00 | ESO RAIRAKHOL | 2.5 | Tree Trimming,Rejumpering | RAIRAKHOL
87 | SAMBALPUR | SEED | 33KV RENGALI-LPG (RENGALI) | LAPANGA, SALAD, RENGALI | 2022-04-11 | 8:00 | 15:00 | ESO RENGALI | 2 | Tree Trimming,Conductor Restraining | RENGALI NEW, RENGALI
88 | SAMBALPUR | SEED | 33KV DHAMA-1 | DHAMA | 2022-04-12 | 8:00 | 15:00 | ESO DHANUPALI | 2 | Tree Trimming,Rejumpering,AB Switch Repair | DHAMA,HATIBARI,JUJOMARA,GUNDERPUR
89 | SAMBALPUR | SEED | 33KV GUNDERPUR | DHANUPALI | 2022-04-17 | 8:00 | 15:00 | ESO DHANUPALI | 2 | Tree Trimming,Pole Restraining | GUNDERPUR
90 | SAMBALPUR | SEED | 33KV PARMANPUR | PARMANPUR | 2022-04-19 | 8:00 | 15:00 | ESO PARMANPUR | 2.2 | Tree Trimming,AB Switch Repair | PARMANPUR
91 | SAMBALPUR | SEED | 33KV NAKTIDEUL | NAKTIDEUL | 2022-04-20 | 8:00 | 15:00 | ESO RAIRAKHOL | 1.5 | Tree Trimming,Rejumpering,Conductor Restraining | NAKTIDEUL,KISINDA
92 | SAMBALPUR | SEED | 33KV KATARBAGA | KATARBAGA | 2022-04-21 | 8:00 | 15:00 | ESO RENGALI | 2.5 | Tree Trimming,Rejumpering,Insulator Change | KATARBAGA
93 | ROURKELA | RSED | Civiltownship | College | 2022-04-09 | 9AM | 12PM | Atman Mishra | 1.5MW | Line Maintenance | SINGLE PLOT & Gudiatoli
94 | ROURKELA | RSED | Chhend | Self finance | 2022-04-11 | 9AM | 12PM | Sanjay Behera | 1.5MW | Line Maintenance | Chhend 2nd Phase
95 | ROURKELA | RSED | Chhend | RDA | 2022-04-12 | 9AM | 12PM | Sanjay Behera | 1.5MW | Line Maintenance | RDA,Tisco
96 | ROURKELA | RSED | Chhend | Luhakera | 2022-04-11 | 9.30AM | 2.00PM | Rajat ku Mohanty | 1.5MW | Line Maintenance | Bagudi,Luhakera
97 | ROURKELA | RSED | Industrial estate | Industrial estate | 2022-04-11 | 9AM | 12PM | Prasanta Jena | 3MW | Line Maintenance | Labourtenament
98 | ROURKELA | RSED | Industrial estate | Gangadharpalli | 2022-04-13 | 9AM | 12PM | Prasanta Jena | 1MW | Line Maintenance | Gangadharpalli
99 | ROURKELA | RSED | Chhend | Panposh Basti | 2022-04-11 | 10.00AM | 1.00PM | Santosh Dash | 2MW | Line Maintenance | Panposh Basti
100 | ROURKELA | RSED | Lathikata | Feeder 1 | 2022-04-07 | 7AM | 10AM | Rakesh Kumar Ray | 1MW | Line Maintenance | C Block
101 | ROURKELA | RSED | Lathikata | Feeder 2 | 2022-04-08 | 7AM | 10AM | Rakesh Kumar Ray | 1.5KW | Line Maintenance | Deogan
102 | ROURKELA | RSED | Lathikata | Feeder 3 | 2022-04-11 | 7AM | 10AM | Rakesh Kumar Ray | 1MW | Line Maintenance | C.C Colony
103 | ROURKELA | RSED | Lathikata | Modern india 1 | 2022-04-12 | 8AM | 11AM | Manoranjan Panda | 1.5MW | Line Maintenance | Balijodi,MK nagar
104 | ROURKELA | RSED | Lathikata | Modern india 2 | 2022-04-13 | 8AM | 11AM | Manoranjan Panda | 1.5MW | Line Maintenance | Lathikata
105 | ROURKELA | RSED | Lathikata | Banki | 2022-04-19 | 8AM | 11AM | Manoranjan Panda | 1MW | Line Maintenance | Banki
106 | ROURKELA | RSED | Lathikata | Ramjodi | 2022-04-20 | 8AM | 11AM | Manoranjan Panda | 1MW | Line Maintenance | Ramjodi
107 | ROURKELA | RSED | Lathikata | Feeder 1 | 2022-04-12 | 7AM | 10AM | Rakesh Kumar Ray | 1MW | Line Maintenance | C Block
108 | ROURKELA | RSED | Lathikata | Feeder 2 | 2022-04-13 | 7AM | 10AM | Rakesh Kumar Ray | 1.5MW | Line Maintenance | Deogan
109 | ROURKELA | RSED | Lathikata | Feeder 3 | 2022-04-14 | 7AM | 10AM | Rakesh Kumar Ray | 1MW | Line Maintenance | C.C Colony
110 | ROURKELA | RSED | Lathikata | Feeder 1 | 2022-04-15 | 7AM | 10AM | Rakesh Kumar Ray | 1KW | Line Maintenance | C Block
111 | ROURKELA | RSED | Lathikata | Feeder 2 | 2022-04-16 | 7AM | 10AM | Rakesh Kumar Ray | 1.5MW | Line Maintenance | Deogan
112 | ROURKELA | RSED | Lathikata | Feeder 3 | 2022-04-18 | 7AM | 10AM | Rakesh Kumar Ray | 1MW | Line Maintenance | C.C Colony
113 | ROURKELA | RSED | Panposh | Balughat | 2022-04-07 | 8AM | 12PM | Santosh Dash | 1MW | Line Maintenance | Balughat
114 | ROURKELA | RSED | Bonai | Kenaveta | 2022-04-15 | 9:00AM | 2:00PM | Krishna Chandra Panda | 1MW | Routine Maintenance | Jareikela,Dharanidharapali, Upperbahal
115 | ROURKELA | RSED | Bonai | Bonai Town | 2022-04-02 | 08:30AM | 3:00PM | Krishna Chandra Panda | 1MW | Routine Maintenance | Bonai Town
116 | ROURKELA | RSED | Bonai | Bonai Town | 2022-04-05 | 08:30AM | 3:00PM | Krishna Chandra Panda | 1MW | Routine Maintenance | Bonai Town
117 | ROURKELA | RSED | Bonai | Bonai Town | 2022-04-08 | 08:30AM | 3:00PM | Krishna Chandra Panda | 1MW | Routine Maintenance | Bonai Town
118 | ROURKELA | RSED | Bonai | Bonai Town | 2022-04-13 | 08:30AM | 3:00PM | Krishna Chandra Panda | 1MW | Routine Maintenance | Bonai Town
119 | ROURKELA | RSED | Bonai | Gurundia | 2022-04-16 | 09:00AM | 02:00PM | Krishna Chandra Panda | 2MW | Routine Maintenance | kendrikala,narndra, jibika,turamura, satakuta
120 | ROURKELA | RSED | Bonai | Gogua | 2022-04-18 | 09:00AM | 02:00PM | Krishna Chandra Panda | 1.5MW | Routine Maintenance | jakikala, talita,gogua,
121 | ROURKELA | RSED | Tensa | Koira | 2022-04-06 | 9:00AM | 4:00PM | Chandan Dandapat | 1MW | Maintainance and Tree Trimming | Dagula, Tensa, Jaldhi, Koira
122 | ROURKELA | RSED | Koida | Industry-1 | 2022-04-11 | 9:00AM | 4:00PM | Chandan Dandapat | 2MW | DTR Maintainance and Tree Trimming | Sunua, Seragada, katamunda, jaldhi, malada
123 | ROURKELA | RSED | Koida | Industry-1 | 2022-04-12 | 9:00AM | 4:00PM | Chandan Dandapat | 2MW | DTR Maintainance and Tree Trimming | Sunua, Seragada, katamunda, jaldhi, malada
124 | ROURKELA | RSED | Koida | Industry-1 | 2022-04-26 | 9:00AM | 4:00PM | Chandan Dandapat | 2MW | DTR Maintainance and Tree Trimming | Sunua, Seragada, katamunda, jaldhi, malada
125 | ROURKELA | RSED | Koida | Industry-2 | 2022-04-15 | 9:00AM | 4:00PM | Chandan Dandapat | 0.5MW | DTR Maintainance and Tree Trimming | Bhanjapalli, Kasira, Nadidihi
126 | ROURKELA | RSED | Koida | Kalta | 2022-04-18 | 9:00AM | 4:00PM | Chandan Dandapat | 1.5MW | DTR Maintainance and Tree Trimming | Jhripani,Kalta,Kalta,
127 | ROURKELA | RSED | Koida | Kalta | 2022-04-20 | 9:00AM | 4:00PM | Chandan Dandapat | 1.5MW | DTR Maintainance and Tree Trimming | Jhripani,Kalta,Kalta,
128 | ROURKELA | RSED | Rajamunda | Darjing | 2022-04-06 | 08:00AM | 04:00PM | Manoranjan Nayak | 2MW | DTR Maintainance and Tree Trimming | Darjing, Chandiposh, Purunapani, Budhiposh
129 | ROURKELA | RSED | Rajamunda | Gopna | 2022-04-08 | 08:00AM | 04:00PM | Manoranjan Nayak | 1MW | DTR Maintainance and Tree Trimming | Lamsi, Hatikucha, Gopna talsahi,Kudapada, Shajbhala
130 | ROURKELA | RSED | Rajamunda | Jharbeda | 2022-04-11 | 08:00AM | 04:00PM | Manoranjan Nayak | 0.5MW | DTR Maintainance and Tree Trimming | Kharibhala, Bagadhia, Badgaon, Jharbeda, kuruda
131 | ROURKELA | RSED | Rajamunda | Kbolang | 2022-04-13 | 08:00AM | 04:00PM | Manoranjan Nayak | 1MW | DTR Maintainance and Tree Trimming | Kbolanga, Bimlagarh, Phakiramunda, Damadhi
132 | ROURKELA | RSED | Rajamunda | Lahunipada | 2022-04-15 | 08:00AM | 04:00PM | Manoranjan Nayak | 2MW | DTR Maintainance and Tree Trimming | Lahunipada, Rajamunda, Kudeikala, Basubhal, Lahangapara
133 | ROURKELA | RSED | Rajamunda | Lalei | 2022-04-18 | 08:00AM | 04:00PM | Manoranjan Nayak | 2MW | DTR Maintainance and Tree Trimming | Lalei, Sardhapur, Gamalei, Kurda, Kenapali,Tumukela
134 | ROURKELA | RSED | Rajamunda | Roxy | 2022-04-20 | 08:00AM | 04:00PM | Manoranjan Nayak | 1MW | DTR Maintainance and Tree Trimming | Roxy, Chordhara, Ragada, Manchabeda
135 | ROURKELA | RSED | Mahuldiha | Phuljhar | 2022-04-08 | 08:00AM | 12:00PM | Binaya Bhusan Mishra | 0.5MW | Tree Trimming, AB Switch Maintainance, DTR Maintainance & Feeder Maintaninance | Phuljhar, Haladikudar, Nagaria, Rugudi, Pindikasahi
136 | ROURKELA | RSED | Mahuldiha | Kuliposh | 2022-04-13 | 08:00AM | 12:00PM | Binaya Bhusan Mishra | 1MW | Tree Trimming, AB Switch Maintainance, DTR Maintainance & Feeder Maintaninance | Kuliposh, Khuntagaon, Nuadihi, Barsuan
137 | ROURKELA | RSED | Mahuldiha | Mahulpada | 2022-04-18 | 08:00AM | 12:00PM | Binaya Bhusan Mishra | 0.5MW | Tree Trimming, AB Switch Maintainance, DTR Maintainance & Feeder Maintaninance | Mahulpada, Rengali, Jagati, Laxmiposh
138 | ROURKELA | RSED | Mahuldiha | Badgaon | 2022-04-20 | 08:00AM | 12:00PM | Binaya Bhusan Mishra | 0.5MW | Tree Trimming, AB Switch Maintainance, DTR Maintainance & Feeder Maintaninance | Badgaon, Ruguda, Jangla, Shyamasundarpur
139 | ROURKELA | RED | Basanti | PHD | 2022-04-14 | 9.00 AM | 1.00 PM | Tarun pandey | 3 MW | Tree trimming /line maintenanace | Basanti Coloy, Malgodam | 33 KV OUTAGE
140 | ROURKELA | RED | Basanti | DAV | 2022-04-14 | 9.00 AM | 1.00 PM | Tarun pandey | 3 MW | Tree trimming /line maintenanace | Basanti Coloy, Malgodam | 33 KV OUTAGE
141 | ROURKELA | RED | Basanti | PHD | 2022-04-21 | 10.00 AM | 1.00 PM | Tarun pandey | 3 MW | Tree trimming /line maintenanace | Basanti Coloy, Malgodam | 33 KV OUTAGE
142 | ROURKELA | RED | Basanti | DAV | 2022-04-21 | 10.00 AM | 1.00 PM | Tarun pandey | 3 MW | Tree trimming /line maintenanace | Basanti Coloy, Malgodam | 33 KV OUTAGE
143 | ROURKELA | RED | Mspalli | Ms palli | 2022-04-05 | 8.00 AM | 12.00 Noon | Alok nayak | 2 MW | Tree trimming /line maintenanace | ms palli | 33 KV OUTAGE
144 | ROURKELA | RED | Mspalli | GB Palli | 2022-04-05 | 8.00 AM | 12.00 Noon | Alok nayak | 2 MW | Tree trimming /line maintenanace | ms palli | 33 KV OUTAGE
145 | ROURKELA | RED | Mspalli | Timber Colony | 2022-04-05 | 8.00 AM | 12.00 Noon | Alok nayak | 1 MW | Tree trimming /line maintenanace | Timber colony | 33 KV OUTAGE
146 | ROURKELA | RED | Koelnagar | Hamirpur | 2022-04-05 | 10:00 | 2.00 PM | Sanjay sahoo | 2 MW | Tree trimming /line maintenanace | Hamirpur | 33 KV OUTAGE
147 | ROURKELA | RED | Koelnagar | Ramgarh | 2022-04-05 | 10:00 | 2.00 PM | Sanjay sahoo | 2 MW | Tree trimming /line maintenanace | Ramgarh | 33 KV OUTAGE
148 | ROURKELA | RED | Koelnagar | ADBE | 2022-04-05 | 10:00 | 2.00 PM | Sanjay sahoo | 2.5 MW | Tree trimming /line maintenanace | ADBE | 33 KV OUTAGE
149 | ROURKELA | RED | Koelnagar | C-block | 2022-04-05 | 10:00 | 2.00 PM | Prabhanshu Tripathi | 2 MW | Tree trimming /line maintenanace | C-block | 33 KV OUTAGE
150 | ROURKELA | RED | Koelnagar | JHIRPANI | 2022-04-05 | 10:00 | 2.00 PM | Prabhanshu Tripathi | 2 MW | Tree trimming /line maintenanace | JHIRPANI | 33 KV OUTAGE
151 | ROURKELA | RED | Koelnagar | HAMIRPUR | 2022-04-05 | 10:00 | 2.00 PM | Sanjay sahoo | 1 MW | Tree trimming /line maintenanace | HAMIRPUR | 33 KV OUTAGE
152 | ROURKELA | RED | Koelnagar | JAGDA | 2022-04-05 | 10:00 | 2.00 PM | Jyotipraksh Nayak | 2.5 MW | Tree trimming /line maintenanace | JAGDA | 33 KV OUTAGE
153 | ROURKELA | RED | NIT | OSAP | 2022-04-05 | 10:00 | 2.00 PM | NARAYAN SAHU | 2.26MW | TREE TRIMMING AND FEEDER MAINTENANCE | OSAP MARKET ,NANDA PADA | 33 KV OUTAGE
154 | ROURKELA | RED | NIT | OSAP | 2022-04-12 | 08:00AM | 4:00PM | NARAYAN SAHU | 2.26MW | FEDDER MTC ,EARTHING REPAIR | OSAP MARKET ,NANDA PADA
155 | ROURKELA | RED | NIT | NAYABAZAR | 2022-04-05 | 10:00 | 2.00 PM | NARAYAN SAHU | 0.37MW | TREE TRIMMING AND FEEDER MAINTENANCE | KALYANI BASTI ,GANJU BASTI | 33 KV OUTAGE
156 | ROURKELA | RED | NIT | NAYABAZAR | 2022-04-10 | 08:00AM | 4:00PM | NARAYAN SAHU | 0.37MW | TREE TRIMMING, FEEDER MAINTENANCE ,SUBSATATION CLEANING,AB SWITCHED MTC | KALYANI BASTI ,GANJU BASTI
157 | ROURKELA | RED | BONDAMUNDA | BONDAMUNDA TOWN | 2022-04-08 | 08:00AM | 3:00PM | RANJAN DAS | 3.6MW | TREE TRIMMING AND FEEDER MAINTENANCE | TILKHANAGAR ,NEPALI BASTI | 33 KV OUTAGE
158 | ROURKELA | RED | BONDAMUNDA | BALAVADRA MARKET | 2022-04-08 | 08:00AM | 3:00PM | RANJAN DAS | 0.35MW | TREE TRIMMING AND FEEDER MAINTENANCE | BALAVADRA MARKET ,UTTAM BASTI | 33 KV OUTAGE
159 | ROURKELA | RED | BONDAMUNDA | BONDAMUNDA TOWN | 2022-04-10 | 09:00AM | 3:00PM | RANJAN DAS | 3.6MW | TREE TRIMMING AND FEEDER MAINTENANCE | TILKHANAGAR ,NEPALI BASTI
160 | ROURKELA | RED | BONDAMUNDA | BALAVADRA MARKET | 2022-04-12 | 09:00AM | 3:00PM | RANJAN DAS | 0.35MW | TREE TRIMMING AND FEEDER MAINTENANCE | BALAVADRA MARKET ,UTTAM BASTI
161 | ROURKELA | Rajgangpur | Pss Rajgangpur | TOWN-2 | 2022-04-08 | 9:00 | 13:00 | Rudra pratap mohanty | 2.1 MW | Tree trimming,Oil top up,Jumper tightning,silica gel replacement | Rajgangpur main town
162 | ROURKELA | Rajgangpur | Pss Rajgangpur | TOWN | 2022-04-09 | 09.00 AM | 02.00 PM | Prakash kujur | 1 MW | Tree trimming,Oil top up,Jumper tightning,silica gel replacement | Rajgangpur main town,Bagichapada
163 | ROURKELA | Rajgangpur | Pss Rajgangpur | TOWN-1 | 2022-04-08 | 9:00 | 13:00 | N. BARIK | 1.3 MW | Tree trimming,Oil top up,Jumper tightning,silica gel replacement | Rajgangpur main town
164 | ROURKELA | Rajgangpur | Pss Rajgangpur | MISSION | 2022-04-08 | 9:00 | 13:00 | N. BARIK | 1.3 MW | Tree trimming,Oil top up,Jumper tightning,silica gel replacement | Rajgangpur main town
165 | ROURKELA | Rajgangpur | Pss Rajgangpur | ALANDA | 2022-04-06 | 9.00 AM | 1.00 PM | Samra Lakra | 0.8 MW | Tree trimming,Oil top up,Jumper tightning,silica gel replacement | Alanda
166 | ROURKELA | Rajgangpur | Pss Rajgangpur | MANDIAKUDAR | 2022-04-08 | 9.00 AM | 1.00 PM | kapil prusti | 2 MW | Tree trimming,Oil top up,Jumper tightning,silica gel replacement | Ranibandh
167 | ROURKELA | Rajgangpur | pss mandiakudar | INDUSTRIAL | 2022-04-09 | 08.00 AM | 02.00PM | Lalu Minz | 1 MW | Tree trimming,Oil top up,Jumper tightning,silica gel replacement | Mandiakudar, Nuagaon
168 | ROURKELA | Rajgangpur | vedvyas | Beldhi | 2022-04-11 | 8:00 | 14:00 | Arun Pradhan | 0.6 MW | Tree trimming,Jumper tightning,AB Switch Repair, Cable Change | Beldhi,Chikatmati
169 | ROURKELA | Rajgangpur | Auto India | Kalunga Town | 2022-04-15 | 9:00 | 12:00 | Arun Pradhan | 0.6 MW | Tree trimming,Jumper tightning,AB Switch Repair, Cable Change | Kalunga Town
170 | ROURKELA | Rajgangpur | vedvyas | Vedvyas | 2022-04-20 | 08.00 AM | 02.00 PM | Jayasen Palo | 1.3 MW | Tree trimming,Jumper tightning,AB Switch Repair, Cable Change | Vedvyas Town
171 | ROURKELA | Rajgangpur | IDC | Kalunga Basti | 2022-04-23 | 8:00 | 14:00 | Arun Pradhan | 0.4 MW | Tree trimming,Jumper tightning,AB Switch Repair, Cable Change | Kalunga Basti,Goivanga
172 | ROURKELA | Rajgangpur | vedvyas | Gopapali | 2022-04-29 | 8:00 | 14:00 | Ritesh Sa | 0.9 MW | Tree trimming,Jumper tightning,AB Switch Repair, Cable Change | Goapali,Lungei
173 | ROURKELA | Rajgangpur | IDC | Stage-3 | 2022-04-04 | 8:00 | 14:00 | Biswabhusan Panda | 1.2 MW | Tree trimming,Jumper tightning,AB Switch Repair, Cable Change | Stage-3
174 | ROURKELA | Rajgangpur | IDC | IDC | 2022-04-12 | 12:00 | 14:00 | Biswabhusan Panda | 2.1 MW | Tree trimming,Jumper tightning,AB Switch Repair, Cable Change | IDC
175 | ROURKELA | Rajgangpur | Auto India | Kalunga Town | 2022-04-15 | 9:00 | 12:00 | Sudhansu Behera | 0.6 MW | Tree trimming,Jumper tightning,AB Switch Repair, Cable Change | Kalunga Town
176 | ROURKELA | Rajgangpur | Balanda | Tainser | 2022-04-21 | 8:00 | 14:00 | Triputinath Sahoo | 1.5 MW | Tree trimming,Jumper tightning,AB Switch Repair, Cable Change | Birkera,Tainser,Birda
177 | ROURKELA | Rajgangpur | Balanda | Garjan | 2022-04-21 | 8:00 | 14:00 | Sanjib Bag | 0.2 MW | Tree trimming,Jumper tightning,AB Switch Repair, Cable Change | Garjan,Tumran
178 | ROURKELA | Rajgangpur | BARGOAN | BARGOAN | 2022-04-11 | 08.00 AM | 02.00 PM | BISWANATH SINGH | 1 MW | Tree trimming,Oil top up,Jumper tightning,silica gel replacement | BHULPARI,BHOIPALICHANDRAMUNDA
179 | ROURKELA | Rajgangpur | SAHAJBAHAL | SAHAJBAHAL | 2022-04-16 | 08.00 AM | 02.00 PM | RABICHANDRA KIJUR | 1.5 MW | Tree trimming,Oil top up,Jumper tightning,silica gel replacement | SAJHABAL, SAKTAPOSH,PAMRA
180 | ROURKELA | Rajgangpur | KUARMUNDA PSS | PADAMPUR | 2022-04-06 | 7.00 AM | 2.00 PM | PANDA | 0.5 MW | Tree trimming,Oil top up,Jumper tightning,silica gel replacement | JAMNAKI,PADAMPUR,CHIUTATOLA
181 | ROURKELA | Rajgangpur | BIRMITRAPUR PSS | TOWN - I | 2022-04-08 | 08.00 AM | 02.00 PM | ABHINASH ROSAN EEKA | 0.5 MW | Tree trimming,Oil top up,Jumper tightning,silica gel replacement | TOWN,RAIBOGA ROAD,SUNDAY MARKET
182 | ROURKELA | Rajgangpur | BIRMITRAPUR PSS | TOWN - II | 2022-04-16 | 07.00 AM | 02.00 PM | ABHINASH ROSAN EEKA | 1 MW | Tree trimming,Oil top up,Jumper tightning,silica gel replacement | SUNDAY MARKET TOWN
183 | ROURKELA | Rajgangpur | HATIBARI PSS | NUAGOAN | 2022-04-11 | 07.00 AM | 2.00 PM | RABANI ANSARI | 0.3 MW | Tree trimming,Oil top up,Jumper tightning,silica gel replacement | NUAGOAN
184 | ROURKELA | Rajgangpur | NUAGOAN PSS | SORDA | 2022-04-13 | 07.00 AM | 2.00 PM | RABANI ANSARI | 0.6 MW | Tree trimming,Oil top up,Jumper tightning,silica gel replacement | SORDA,KATEPUR
185 | ROURKELA | Rajgangpur | NUAGOAN PSS | PATRAPALI | 2022-04-19 | 09.00 AM | 2.00 PM | RABANI ANSARI | 0.6 MW | Tree trimming,Oil top up,Jumper tightning,silica gel replacement | PATRAPALI,PARILEPTA
186 | ROURKELA | Rajgangpur | LINDRA PSS | KHUTGOAN | 2022-04-22 | 09.00 AM | 2.00 PM | SHAARU SINGH | 0.16 MW | Tree trimming,Oil top up,Jumper tightning,silica gel replacement | KHUTGOAN,LIMDA
187 | ROURKELA | Rajgangpur | JHARBEDA PSS | JAMPALI | 2022-04-07 | 07.00 AM | 12.00 noon | SHIVA KUJUR | 1 MW | Tree trimming,Oil top up,Jumper tightning,silica gel replacement | JAMPALI, BYPASS
188 | Bargarh | BWED | Padampur pss | Melchamunda | 2022-04-04 | 7am | 12pm | Mohana Sahu | 1.5 | Tree triming,v-cross arm change,Dis insulator change | Melchamunda
189 | Bargarh | BWED | Padampur pss | Melchamunda feeder | 2022-04-04 | 8am | 1pm | Srikanta kumar Sahu | 1.5 | Tree triming,v-cross arm change,Dis insulator change | Padampur1
190 | Bargarh | BWED | Lakhamara pss | Sambalpuri feeder | 2022-04-05 | 8am | 1pm | Prakash kumar Das | 1.5 | Tree triming,v-cross arm change,Dis insulator change | Padampur2
191 | Bargarh | BWED | Bisipali pss | Bisipali Feeder | 2022-04-05 | 7am | 11am | Sanjay sahu | 3 | TREE TRIMING & 11Kv JUMPERING | Sohela2
192 | Bargarh | BWED | Dashmile | Dashmile feeder | 2022-04-06 | 9am | 2pm | Gajendra kumar Rana | 3 | TREE TRIMING & 11Kv JUMPERING | Sohela1
193 | Bargarh | BWED | Melchamunda | Melchamunda | 2022-04-06 | 7am | 12pm | Sanjeev Naik | 1.5 | Tree triming,v-cross arm change,Dis insulator change | Melchamunda
194 | Bargarh | BWED | Padampur 1 pss | Town no. 01 feeder | 2022-04-06 | 8am | 1pm | Srikanta kumar Sahu | 1.5 | Tree triming,v-cross arm change,Dis insulator change | Padampur1
195 | Bargarh | BWED | Ghess | Ghess feeder | 2022-04-06 | 8am | 1pm | Saroj Mahananda | 2 | TREE TRIMING & 11Kv JUMPERING | Ghess
196 | Bargarh | BWED | Gasilet pss | Lebidi feeder | 2022-04-06 | 9am | 2pm | Ranjan kumar Jena | 2 | TREE TRIMING & 11Kv JUMPERING | Gaisilet
197 | Bargarh | BWED | Padampur 1 pss | Town no. 02 feeder | 2022-04-07 | 8am | 1pm | Srikanta kumar Sahu | 1.5 | Tree triming,v-cross arm change,Dis insulator change | Padampur1
198 | Bargarh | BWED | Ghess | Lekhapathar feeder | 2022-04-07 | 8am | 1pm | Saroj Mahananda | 3 | TREE TRIMING & SECTION MAINTETANCE | Ghess
199 | Bargarh | BWED | Melchamunda | Ghess feeder | 2022-04-08 | 7am | 12pm | Mansi Gartia | 1.5 | TREE TRIMING & 11Kv JUMPERING | Melchamunda
200 | Bargarh | BWED | Ghess | Jhar feeder | 2022-04-08 | 8am | 1pm | Lalit Naik | 3 | TREE TRIMING & SECTION MAINTETANCE | Ghess
201 | Bargarh | BWED | Bisipali pss | Sirgida Feeder | 2022-04-08 | 7am | 11am | Chakit ram patel | 2 | TREE TRIMING & 11Kv JUMPERING | Sohela2
202 | Bargarh | BWED | Kundakhai pss | Kundakhai feeder | 2022-04-09 | 9am | 2pm | Saroj kumar Barik | 1.2 | TREE TRIMING & 11Kv JUMPERING | Gaisilet
203 | Bargarh | BWED | Dava Pss | Dava feeder | 2022-04-09 | 9am | 2pm | Saroj kumar Rana | 3 | TREE TRIMING & 11Kv JUMPERING | Jharbandh
204 | Bargarh | BWED | Sohela pss | Luhurachati feeder | 2022-04-09 | 9am | 2pm | Bulu jena | 3 | TREE TRIMING & 11Kv JUMPERING | Sohela1
205 | Bargarh | BWED | Padampur pss | Barikael | 2022-04-10 | 8am | 1pm | Prakash kumar Das | 1.5 | TREE TRIMING & 11Kv JUMPERING | Padampur2
206 | Bargarh | BWED | Dava Pss | Kurlupali feeder | 2022-04-11 | 9am | 2pm | Saroj kumar Rana | 1.5 | TREE TRIMING & 11Kv JUMPERING | Jharbandh
207 | Bargarh | BWED | Bisipali pss | Kendpali feeder | 2022-04-12 | 7am | 11am | Sumanta Roul | 2.5 | TREE TRIMING & 11Kv JUMPERING | Sohela2
208 | Bargarh | BWED | Balitikra | Tulandi | 2022-04-12 | 9am | 2pm | Sukumar jena | 5MW | TREE CUTTING,FUSE REPLACEMENT,AB SWITCH REPAIR,CONDUCTOR STRINGING | Barpali2
209 | Bargarh | BWED | Barpali | Barpali Town | 2022-04-12 | 8am | 1pm | Soubhagya ch Pradhan | 5MW | TREE CUTTING,FUSE REPLACEMENT,AB SWITCH REPAIR,CONDUCTOR STRINGING | Barpali 1
210 | Bargarh | BWED | Kundakhai pss | Jamutpali feeder | 2022-04-13 | 9am | 2pm | Saroj kumar Barik | 1.5 | Tree triming,v-cross arm change,Dis insulator change | Gaisilet
211 | Bargarh | BWED | Sohela pss | Sohela Town feeder | 2022-04-13 | 9am | 2pm | Dusmanta Deep | 2 | TREE CUTTING,FUSE REPLACEMENT,AB SWITCH REPAIR,CONDUCTOR STRINGING | Sohela1
212 | Bargarh | BWED | Barpali pss | Bargaon feeder | 2022-04-13 | 8am | 12:00 | Sunil kumar Sahu | 3MW | TREE CUTTING,FUSE REPLACEMENT,AB SWITCH REPAIR,CONDUCTOR STRINGING,JUMPERING | Barpali 3
213 | Bargarh | BWED | Barpali | Barpali Town | 2022-04-14 | 8am | 1pm | Soubhagya ch Pradhan | 5MW | TREE CUTTING,FUSE REPLACEMENT,AB SWITCH REPAIR,CONDUCTOR STRINGING | Barpali 1
214 | Bargarh | BWED | Jharbandh pss | Old Dunguripali feeder | 2022-04-14 | 9am | 2pm | Narayana Patel | 2 | TREE CUTTING,FUSE REPLACEMENT,AB SWITCH REPAIR,CONDUCTOR STRINGING | Jharbandh
215 | Bargarh | BWED | Dahita pss | Silatpali | 2022-04-14 | 8am | 1pm | Prakash kumar Das | 1.5 | TREE CUTTING,FUSE REPLACEMENT,AB SWITCH REPAIR,CONDUCTOR STRINGING | Padampur2
216 | Bargarh | BWED | Gasilet pss | Talpali feeder | 2022-04-15 | 9am | 2pm | Dolamani Nayak | 1 | TREE TRIMMING | Gaisilet
217 | Bargarh | BWED | Barpali pss | Lenda feeder | 2022-04-15 | 8am | 12:00 | Nityananda Thapa | 3MW | TREE CUTTING,FUSE REPLACEMENT,AB SWITCH REPAIR,CONDUCTOR STRINGING | Barpali 3
218 | Bargarh | BWED | Mandosil | Chindkela | 2022-04-16 | 8:30am | 3:30pm | Dusha Padhan | 2 | TREE CUTTING,FUSE REPLACEMENT,AB SWITCH REPAIR,CONDUCTOR STRINGING | Paikmal
219 | Bargarh | BWED | Jetiki | Chetenga | 2022-04-17 | 8:30am | 2pm | Sudhakar Gartia | 1.5 | TREE CUTTING,FUSE REPLACEMENT,AB SWITCH REPAIR,CONDUCTOR STRINGING | Paikmal
220 | Bargarh | BWED | Barpali pss | Phulapali feeder | 2022-04-18 | 8am | 12:00 | Nityananda Thapa | 3MW | TREE CUTTING,FUSE REPLACEMENT,AB SWITCH REPAIR,CONDUCTOR STRINGING,JUMPERING | Barpali 3
221 | Bargarh | BWED | SarandaPali | Banabaspali feeder | 2022-04-20 | 8am | 1pm | Bibhuti Patnaik | 2 | Tree triming,v-cross arm change,Dis insulator change | Bijepur1
222 | Bargarh | BWED | Bijepur | Bijepur town feeder | 2022-04-21 | 8am | 1pm | Bibhuti Patnaik |  |  | Bijepur1
223 | Bargarh | BWED | Bijepur | Barmunda feeder | 2022-04-22 | 8am | 1pm | Tapan Naik | 3MW | TREE CUTTING,FUSE REPLACEMENT,AB SWITCH REPAIR,CONDUCTOR STRINGING | Bijepur2
224 | Bargarh | BWED | SarandaPali | Banabaspali feeder | 2022-04-23 | 8am | 1pm | Bibhuti Patnaik | 1.5 | TREE CUTTING,FUSE REPLACEMENT,AB SWITCH REPAIR,CONDUCTOR STRINGING | Bijepur1
225 | Bargarh | BWED | Bijepur | Kharmunda feeder | 2022-04-25 | 8am | 1pm | Shyammohan Padhan | 1.5 | TREE CUTTING,FUSE REPLACEMENT,AB SWITCH REPAIR,CONDUCTOR STRINGING | Bijepur2
226 | Bargarh | BWED | Gasilet pss | Gaisilet feeder | 2022-04-25 | 9am | 2pm | Rajkumar Sahu | 2 | Tree triming,v-cross arm change,Dis insulator change | Gaisilet
227 | Rourkela | Sundargarh | Sankara | PMU | 2022-04-08 | 8:00 | 1:30 PM | Aditya patel(LEAD ENGG.) Krishna chandra patel(LM), Jainta Chalan(L/M) | 3 | Maintenance | Misson, revinue colony,collecter office, saibihar, jotinagar,electric colony, | Tree trimming, AB switch maintenance, DT Maintenance , jumper repair
228 | Rourkela | Sundargarh | Sankara | PMU | 2022-04-19 | 8:00 | 1:30 PM | Aditya patel(LEAD ENGG.) Krishna chandra patel(LM), Jainta Chalan(L/M) | 3 | Maintenance | Misson, revinue colony,collecter office, saibihar, jotinagar,electric colony, | Tree trimming, AB switch maintenance, DT Maintenance , jumper repair
229 | Rourkela | Sundargarh | Sankara | NO-1 | 2022-04-12 | 8:00 | 1:30 PM | Aditya patel(LEAD ENGG.) Krishna chandra patel(LM), Jainta Chalan(L/M) | 2 | Maintenance | Dabgibhadi, panas pada fitting pada | Tree trimming, AB switch maintenance, DT Maintenance , jumper repair
230 | Rourkela | Sundargarh | Sankara | Sankara | 2022-04-17 | 8:00 | 1:30 PM | Aditya patel(LEAD ENGG.) Krishna chandra patel(LM), Jainta Chalan(L/M) | 1 | Maintenance | Sankara, | Tree trimming, AB switch maintenance, DT Maintenance , jumper repair
231 | Rourkela | Sundargarh | Collage | Collage | 2022-04-07 | 8:00 | 1:30 PM | prabhat malik(LEAD ENGG.),santanu kumar mathapatra , pradeep bhol | 1 | Maintenance | RHS Colony,Chitabhanga, Mundapada,Mahanti Pada, Baman pada, sunaripada, Ranibagicha,bhitriapada, rajbati,main road | Tree trimming, AB switch maintenance, DT Maintenance , jumper repair
232 | Rourkela | Sundargarh | Collage | RRIT | 2022-04-09 | 8:00 | 1:30 PM | prabhat malik(LEAD ENGG.),Kedraswar parida, Hurda nanda mahakul | 1 | Maintenance | RRIT, Mahantiapada, Bagicha pada,Ghasia pada | Tree trimming, AB switch maintenance, DT Maintenance , jumper repair
233 | BALANGIR | BALANGIR | laltikra | feeder no-1 | 2022-04-11 | 07.00am | 10.00pm | Riyaz-ul-Haq | 4 | schedule maintanance | Bolangir town
234 | BALANGIR | BALANGIR | laltikra | feeder no -2 | 15-4-2022 | 07.00am | 10.00pm | Riyaz-ul-Haq | 1 | schedule maintanance | Bolangir town
235 | BALANGIR | BALANGIR | laltikra | feeder no -3 | 20-04-2022 | 07.00am | 10.00pm | Riyaz-ul-Haq | 1.5 | schedule maintanance | Bolangir town
236 | BALANGIR | BALANGIR | laltikra | feeder no-1 | 2022-04-12 | 07.00am | 10.00pm | Jagannath Mohanty | 4 | schedule maintanance | Bolangir town
237 | BALANGIR | BALANGIR | Power House | hatisalpada | 17-04-2022 | 07.00am | 10.00pm | Jagannath Mohanty | 2.5 | schedule maintanance | Bolangir town
238 | BALANGIR | BALANGIR | Power House | malpada | 21-04-2022 | 07.00am | 10.00pm | Jagannath Mohanty | 2 | schedule maintanance | Bolangir town
239 | BALANGIR | BALANGIR | Industrial Grid | Feeder-02 | 2022-04-10 | 8:00 am | 10:30 am | Ishan Nayak | 1.5 | schedule maintanance | Bolangir town
240 | BALANGIR | BALANGIR | Industrial Grid | Feeder-04 | 2022-04-23 | 8:00 am | 10:30 am | Ishan Nayak | 0.9 | schedule maintanance | Bolangir town
241 | BALANGIR | BALANGIR | Sudpada | Kansaripada | 12-04-2022 | 8:00 am | 10:00 | Akash Ranjan | 3 | schedule maintanance | Bolangir town
242 | BALANGIR | BALANGIR | Jail Pss | Gandhinagar pada | 23-04-2022 | 8:00 am | 10:00 | Akash Ranjan | 2.5 | schedule maintanance | Bolangir town
243 | BALANGIR | BALANGIR | Deogaon | Deogaon | 2022-04-09 | 7:30 am | 11:00 | Lakshyajeet Pradhan | 0.6 | schedule maintanance | Doogaon Rural
244 | BALANGIR | BALANGIR | Deogaon | Gaibahal-1 | 12-04-2022 | 7:30 am | 11:00 | Lakshyajeet Pradhan | 1.1 | schedule maintanance | Doogaon Rural
245 | BALANGIR | BALANGIR | Deogaon | Gaibahal-2 | 12-04-2022 | 7:30 am | 11:00 | Lakshyajeet Pradhan | 0.2 | schedule maintanance | Doogaon Rural
246 | BALANGIR | BALANGIR | Deogaon | sagarpalli | 14-04-2022 | 7:30 am | 11:00 | Lakshyajeet Pradhan | 0.2 | schedule maintanance | Doogaon Rural
247 | BALANGIR | BALANGIR | Deogaon | Tusura | 17-04-2022 | 7:30 am | 11:00 | Lakshyajeet Pradhan | 1.1 | schedule maintanance | Doogaon Rural
248 | BALANGIR | BALANGIR | Jarasaingha | Chandrapur | 16-04-2022 | 7:30 am | 11:00 | Lakshyajeet Pradhan | 0.4 | schedule maintanance | Doogaon Rural
249 | BALANGIR | BALANGIR | Jarasaingha | udar | 19-04-2022 | 7:30 am | 11:00 | Lakshyajeet Pradhan | 0.7 | schedule maintanance | Doogaon Rural
250 | BALANGIR | BALANGIR | Jarasaingha | udar | 2022-04-20 | 7:30 am | 11:00 | Lakshyajeet Pradhan | 0.7 | schedule maintanance | Doogaon Rural
251 | BALANGIR | BALANGIR | Jarasaingha | Salepalli | 2022-04-20 | 7:30 am | 11:00 | Lakshyajeet Pradhan | 0.5 | schedule maintanance | Doogaon Rural
252 | BALANGIR | BALANGIR | Jarasaingha | Salepalli | 2022-04-21 | 7:30 am | 11:00 | Lakshyajeet Pradhan | 0.5 | schedule maintanance | Doogaon Rural
253 | BALANGIR | BALANGIR | Jarasaingha | Jarasingha | 2022-04-18 | 7:30 am | 11:00 | Lakshyajeet Pradhan | 0.3 | schedule maintanance | Doogaon Rural
254 | BALANGIR | Sonepur | Sonepur | hardakhol urban | 2022-04-09 | 6:30 | 8:30 | Ajit Kumar mahapatra | 1.2 | schedule maintanance | Sonepur Urban
255 | BALANGIR | Sonepur | Sonepur | badbazar | 2022-04-16 | 6:30 | 8:30 | Ajit Kumar mahapatra | 1.3 | schedule maintanance | Sonepur Urban
256 | BALANGIR | Sonepur | Sonepur | majhipada | 2022-04-23 | 6:30 | 8:30 | Ajit Kumar mahapatra | 1.2 | schedule maintanance | Sonepur Urban
257 | BALANGIR | Sonepur | Sonepur | collectorate | 2022-04-05 | 6:30 | 8:30 | Ajit Kumar mahapatra | 1 | schedule maintanance | Sonepur Urban
258 | BALANGIR | Sonepur | Sonepur | hardakhol urban | 2022-04-14 | 6:30 | 8:30 | Ajit Kumar mahapatra | 1.2 | schedule maintanance | Sonepur Urban
259 | BALANGIR | Sonepur | Sonepur | hardakhol urban | 2022-04-19 | 6:30 | 8:30 | Ajit Kumar mahapatra | 1.2 | schedule maintanance | Sonepur Urban
260 | BALANGIR | Sonepur | kalapathar | janmura | 2022-04-14 | 6:30 | 8:30 | Ajit Kumar mahapatra | 1.2 | schedule maintanance | Sonepur Urban
261 | BALANGIR | Sonepur | kalapathar | janmura | 2022-04-19 | 6:30 | 8:30 | Ajit Kumar mahapatra | 1.2 | schedule maintanance | Sonepur Urban
262 | BALANGIR | Sonepur | kalapathar | kalapathar | 2022-04-24 | 6:30 | 8:30 | Ajit Kumar mahapatra | 0.3 | schedule maintanance | Sonepur Urban
263 | BALANGIR | Sonepur | kalapathar | kalapathar | 2022-04-26 | 6:30 | 8:30 | Ajit Kumar mahapatra | 0.3 | schedule maintanance | Sonepur Urban
264 | BALANGIR | BALANGIR | TUSURA | NATRAJ | 2022-04-16 | 8:00 | 12:00 | Debasish Pradhan | 1 | Schedule Maintanance | TUSURA NAC
265 | BALANGIR | BALANGIR | TUSURA | TOWN FEEDER | 12-04-2022 | 8:00 | 12:00 | Debasish Pradhan | 1.2 | Schedule Maintanance | TUSURA NAC
266 | BALANGIR | TITLAGARH | Patnagarh | Town-II | 2022-04-03 | 07.00AM | 10.30AM | Abinash Udghata | 2MW | Tree cutting, Normal Maintenance | Town-II
267 | BALANGIR | TITLAGARH | Tendapadar | Batharla | 2022-04-08 | 09.00AM | 10.00AM | Abinash Udghata | 1.5MW | Tree cutting, Normal Maintenance | Maruan, Batharla
268 | BALANGIR | TITLAGARH | Patnagarh | Town-I | 2022-04-09 | 08.00AM | 09.00PM | Abinash Udghata | 2MW | Tree cutting, Normal Maintenance | Gadbhitar, Samaleinagar
269 | BALANGIR | TITLAGARH | Patnagarh | Town-II | 2022-04-16 | 03.03PM | 06.00PM | Abinash Udghata | 2MW | Tree cutting, Normal Maintenance | Koshleswari, Kadopada
270 | BALANGIR | TITLAGARH | Tendapadar | Bhainsa | 2022-04-19 | 08.00AM | 11.00AM | Abinash Udghata | 1.5MW | Tree cutting, Normal Maintenance | Tendapadar
271 | BALANGIR | TITLAGARH | Patnagarh | Batharla | 2022-04-20 | 07.00AM | 10.00AM | Rajendra Parsad Rout | 1.5MW | Tree cutting, Normal Maintenance | Karlamal,Pochapar
272 | BALANGIR | TITLAGARH | Thakpada | Bajari | 2022-04-21 | 08.00AM | 11.00AM | Rajendra Parsad Rout | 1.5MW | Tree cutting, Normal Maintenance | Bileisati, Solbandh
273 | BALANGIR | TITLAGARH | Tendapadar | Badjhankarpali | 2022-04-26 | 07.30AM | 2.00PM | Rajendra Parsad Rout | 1.5MW | Tree cutting, Normal Maintenance | Sanjhankarpali,Mosinsanchapar
274 | Sambalpur | Jharsuguda | DURLAGA | Collectrate | 2022-04-06 | 8:00am | 12:00pm | S K Behera | 3MW | DT maintenance,tree trimming | beheramal,main toad area
275 | Sambalpur | Jharsuguda | DURLAGA | Collectrate | 2022-04-13 | 8:00am | 12:00pm | S K Behera | 3MW | Line maintenance | beheramal,main toad area
276 | Sambalpur | Jharsuguda | DURLAGA | Collectrate | 2022-04-20 | 8:00am | 12:00pm | S K Behera | 3MW | DT maintenance | beheramal,main toad area
277 | Sambalpur | Jharsuguda | DURLAGA | Talpatia | 2022-04-05 | 8:00am | 12:00pm | S K Behera | 2mw | Straightning Of 11kv pole,feeder maintainance | Talpatia | 33KV outage
278 | Sambalpur | Jharsuguda | DURLAGA | Talpatia | 2022-04-12 | 8:00am | 12:00pm | S K Behera | 2mw | Conductor Restringing | Talpatia
279 | Sambalpur | Jharsuguda | DURLAGA | Talpatia | 2022-04-19 | 8:00am | 12:00pm | S K Behera | 2mw | Straightning Of 11kv pole,feeder maintainance | Talpatia
280 | Sambalpur | Jharsuguda | DURLAGA | LIC | 2022-04-08 | 8:00am | 12:00pm | S K Behera | 1mw | DT maintenance & Tree trimming | Balijuri
281 | Sambalpur | Jharsuguda | DURLAGA | LIC | 2022-04-11 | 8:00am | 12:00pm | S K Behera | 1mw | DT maintenance & Tree trimming | Balijuri
282 | Sambalpur | Jharsuguda | DURLAGA | LIC | 2022-04-15 | 8:00am | 12:00pm | S K Behera | 1mw | Straightning Of 11kv pole,feeder maintainance | Balijuri
283 | Sambalpur | Jharsuguda | DURLAGA | LIC | 2022-04-18 | 8:00am | 12:00pm | S K Behera | 1mw | Straightning Of 11kv pole,feeder maintainance | Balijuri
284 | Sambalpur | Jharsuguda | DURLAGA | LIC | 2022-04-22 | 8:00am | 12:00pm | S K Behera | 1mw | Straightning Of 11kv pole,feeder maintainance | Balijuri
285 | Sambalpur | Jharsuguda | LAHANDABUD | Industrial | 2022-04-14 | 7:00am | 12:00pm | P C pradhan | 3mw | DTR maintenanace | whole area | 33KV outage
286 | Sambalpur | Jharsuguda | LAHANDABUD | Industrial | 2022-04-19 | 7:00am | 12:00pm | P C pradhan | 3mw | conductor restringing | whole area | 33KV outage
287 | Sambalpur | Jharsuguda | LAHANDABUD | Industrial | 2022-04-15 | 7:00am | 12:00pm | P C pradhan | 3mw | feeder maintenance & tree trimming | whole area | 33KV outage
288 | Sambalpur | Jharsuguda | SARASMAL | OMP | 2022-04-22 | 7:00am | 12:00pm | Dwipjyoti Sarkar | 2mw | Tree trimming and AB switch maintenance | cox colony beheramal
289 | Sambalpur | Jharsuguda | PURNA | Kalimandir | 2022-04-06 | 7:00am | 12:00pm | C R samal | 2mw | Tree trimming and AB switch maintenance | kalimandir road
290 | Sambalpur | Jharsuguda | PURNA | Jhadeswar | 2022-04-08 | 7:00am | 12:00pm | C R samal | 2mw | Tree trimming and AB switch maintenance | purnabasti
291 | Sambalpur | Jharsuguda | PURNA | Kalimandir | 2022-04-11 | 7:00am | 12:00pm | C R samal | 2mw | Tree trimming and AB switch maintenance | kalimandir road
292 | Sambalpur | Jharsuguda | PURNA | Jhadeswar | 2022-04-18 | 7:00am | 12:00pm | C R samal | 2mw | Straightning Of 11kv pole,feeder maintainance | purnabasti
293 | Sambalpur | Jharsuguda | PURNA | Kalimandir | 2022-04-16 | 7:00am | 12:00pm | C R samal | 2mw | Conductor Restringing | kalimandir road
294 | Sambalpur | Jharsuguda | PURNA | Debadihi | 2022-04-20 | 7:00am | 12:00pm | C R samal | 1mw | Straightning Of 11kv pole,feeder maintainance | debadihi
295 | Sambalpur | Jharsuguda | PURNA | siriapali | 2022-04-22 | 7:00am | 12:00pm | C R samal | 1mw | Straightning Of 11kv pole,feeder maintainance | siriapali
296 | Sambalpur | Jharsuguda | Arda | Dulesara | 2022-04-15 | 7:00am | 12:00pm | Bhopal kumar Chhatria | 3MW | Straightning Of 11kv pole,feeder maintainance | Chakbuda,Kantapali,Tileidihi
297 | Sambalpur | Jharsuguda | Bagdihi | Bhalupatra | 2022-04-09 | 7:00am | 12:00pm | Asim ku.Patel | 2MW | Conductor Restringing | Bhalupatra,Bandhpali,Kelda Keldamal,thakuirpada, Champapada,saraspali,sialram,bhursimal,halkadhipa
298 | Sambalpur | Jharsuguda | Bagdihi | Bhimjore | 2022-04-12 | 7:00am | 12:00pm | Asim ku.Patel | 2 MW | Straightning Of 11kv pole | Sarasmal,Kheriakani
299 | Sambalpur | Jharsuguda | Bagdihi | Bagdihi | 2022-04-07 | 7am | 11pm | Asim ku.Patel | 2 MW | Conductor Restringing,tree trimming | Sarasmal,Kheriakani
300 | Sambalpur | Jharsuguda | Bagdihi | Bandhpali | 2022-04-18 | 7:00am | 12:00pm | Asim ku.Patel | 1mw | Straightning Of 11kv pole | tumadihi,bandhpali
301 | Sambalpur | Jharsuguda | Bagdihi | Tumadihi | 2022-04-05 | 7:00am | 12:00pm | Asim ku.Patel | 1mw | Conductor Restringing,tree trimming | tumadihi
302 | Sambalpur | Jharsuguda | Arda | Jamkani | 2022-04-23 | 7:00am | 12:00pm | Asim ku.Patel | 1mw | Conductor Restringing,tree trimming | jamkani
303 | Sambalpur | Jharsuguda | Sharbahal | Durgamandap | 2022-04-09 | 9.30AM | 2.00PM | Sanjeeb Sahoo | 2 | DTR Maintenance,Tree Trimming,Insulator change | Sunarimunda,Buromal
304 | Sambalpur | Jharsuguda | RN Pali | Jhilapali | 2022-04-06 | 10.00AM | 2.00PM | Baren Garnayaak | 2.5 | DTR MaintenanceTree Trimming,Rejumpering | Jhirlapali
305 | Sambalpur | Jharsuguda | RN Pali | Jhilapali | 2022-04-07 | 10.00AM | 12.00PM | Umakanta Satpathy | 1 | DTR MaintenanceTree Trimming,Rejumpering | Jhirlapali
306 | Sambalpur | Jharsuguda | RN Pali | Jhilapali | 2022-04-08 | 10.00AM | 12.00PM | Umakanta Satpathy | 1 | DTR MaintenanceTree Trimming,Rejumpering | Jhirlapali
307 | Sambalpur | Jharsuguda | RN Pali | RN Pali | 2022-04-11 | 9.00AM | 2.00PM | Umakanta Satpathy | 1 | DTR MaintenanceTree Trimming,Rejumpering | RN Pali
308 | Sambalpur | Jharsuguda | RN Pali | RN Pali | 2022-04-12 | 9.00AM | 2.00PM | Umakanta Satpathy | 1 | DTR MaintenanceTree Trimming,Rejumpering | RN Pali
309 | Sambalpur | Jharsuguda | RN Pali | RN Pali | 2022-04-13 | 9.00AM | 2.00PM | Umakanta Satpathy | 1 | DTR MaintenanceTree Trimming,Rejumpering | RN Pali
310 | Sambalpur | Jharsuguda | RN Pali | Samasingha | 2022-04-16 | 9.00AM | 2.00PM | Umakanta Satpathy | 1 | DTR MaintenanceTree Trimming,Rejumpering | Samasingha
311 | Sambalpur | Jharsuguda | RN Pali | Samasingha | 2022-04-17 | 9.00AM | 2.00PM | Umakanta Satpathy | 1 | DTR MaintenanceTree Trimming,Rejumpering | Samasingha
312 | Sambalpur | Jharsuguda | RN Pali | Samasingha | 2022-04-18 | 9.00AM | 2.00PM | Umakanta Satpathy | 1 | DTR MaintenanceTree Trimming,Rejumpering | Samasingha
313 | Sambalpur | Jharsuguda | RN Pali | Kolabira | 2022-04-18 | 9.00AM | 2.00PM | Umakanta Satpathy | 1 | DTR MaintenanceTree Trimming,Rejumpering | Kolabira
314 | Sambalpur | Jharsuguda | RN Pali | Kolabira | 2022-04-19 | 9.00AM | 2.00PM | Umakanta Satpathy | 1 | DTR MaintenanceTree Trimming,Rejumpering | Kolabira
315 | Sambalpur | Jharsuguda | Laikera | Mundrajore | 2022-04-06 | 9.00AM | 2.00PM | Sameer Mohanty | 0.75 | DTR Maintenance,Tree Trimming,Rejumpering,Insulator Change | Mundrajore
316 | Sambalpur | Jharsuguda | Laikera | Mundrajore | 2022-04-07 | 9.00AM | 2.00PM | Sameer Mohanty | 1.75 | DTR Maintenance,Tree Trimming,Rejumpering,Insulator Change | Mundrajore
317 | Sambalpur | Jharsuguda | Laikera | Mundrajore | 2022-04-08 | 9.00AM | 2.00PM | Sameer Mohanty | 2.75 | DTR Maintenance,Tree Trimming,Rejumpering,Insulator Change | Mundrajore
318 | SAMBALPUR | Jharsuguda | ARDABAHAL | JAYPURGARH | 2022-04-08 | 10:00 | 1:00 | PRAHALAD NAYAK | 0.5 | Pole Straighting,tree trimming,insulator | jaypurgarh,rajband,chatabar
319 | SAMBALPUR | Jharsuguda | KESAIBAHAL | MAHULPALI | 2022-04-15 | 10:00 | 1:00 | PRAHALAD NAYAK | 0.5 | Pole Straighting,tree trimming,insulator | MAHULPALI,KABRIBAHAL
320 | SAMBALPUR | Jharsuguda | KESAIBAHAL | JARABAGA | 2022-04-20 | 10:00 | 1:00 | NARAYAN SAHU | 0.5 | Pole Straighting,tree trimming,insulator | JARABAGA,SOLE,SURGUDA
321 | SAMBALPUR | Jharsuguda | KESAIBAHAL | JARABAGA | 2022-04-25 | 10:00 | 1:00 | NARAYAN SAHU | 0.5 | Pole Straighting,tree trimming,insulator | JARABAGA,SOLE,SURGUDA
322 | SAMBALPUR | Jharsuguda | ARDABAHAL | JAYPURGARH | 2022-04-26 | 10:00 | 1:00 | PRAHALAD NAYAK | 1 | Pole Straighting,tree trimming,insulator | jaypurgarh,rajband,chatabar
323 | SAMBALPUR | Jharsuguda | ARDABAHAL | BAURIGUDA | 2022-04-27 | 10:00 | 1:00 | PRAHALAD NAYAK | 0.5 | Pole Straighting,tree trimming,insulator | BAURIGUDA,GANMUNDA
324 | SAMBALPUR | Jharsuguda | KESAIBAHAL | BHIKAPALI | 2022-04-28 | 10:00 | 1:00 | PRAHALAD NAYAK | 1 | Pole Straighting,tree trimming,insulator | BHIKAPALI
325 | SAMBALPUR | Jharsuguda | Bamra | Garposh | 2022-04-09 | 7:00 | 11:00 | Sibun kumar patel | 0.9 | AB Switch Maintainance | Ghumundumal, Burbuda, Kutarimal
326 | SAMBALPUR | Jharsuguda | Bamra | Rangiatikra | 2022-04-10 | 7:00 | 11:00 | Sibun kumar patel | 0.7 | AB Switch Maintainance And Tree Trimming | Nuniamunda, Kechupani, Rangiatikra
327 | SAMBALPUR | Jharsuguda | Bamra | Kinabaga | 2022-04-16 | 7:00 | 11:00 | Sibun kumar patel | 1.2 | AB Switch Maintainance And Tree Trimming | Kinabaga, Rabga, Joutukbahal
328 | SAMBALPUR | Jharsuguda | Bamra | Ghansara | 2022-04-17 | 7:00 | 11:00 | Sibun kumar patel | 0.8 | AB Switch Maintainance | Tangarmunda, Sakobahal, Parmanpur
329 | SAMBALPUR | Jharsuguda | JAMANKIRA | BADRAMA | 2022-04-06 | 8:00 | 12:00 | PURNA CHANDRA NAG, L/M-C | 0.7 | DTR MAINTENNANCE,TREE BRANCHES TRIMMING, AB SWITCH REPAIRING, S/S CLEANING, OTHER MAINTENANCE WORK | CHINIMAHUL,BADRAMA
330 | SAMBALPUR | Jharsuguda | JAMANKIRA | KUAGOLA | 2022-04-13 | 8:00 | 12:00 | PURNA CHANDRA NAG, L/M-C | 0.6 | DTR MAINTENNANCE,TREE BRANCHES TRIMMING, AB SWITCH REPAIRING, S/S CLEANING, OTHER MAINTENANCE WORK | KHUAGOLA,SALANGABAHAL
331 | SAMBALPUR | Jharsuguda | JAMANKIRA | TULUB/TIKILIPADA | 2022-04-06 | 8:00 | 12:00 | PURNA CHANDRA NAG, L/M-C | 0.6 | DTR MAINTENNANCE,TREE BRANCHES TRIMMING, AB SWITCH REPAIRING, S/S CLEANING, OTHER MAINTENANCE WORK | RANGALBEDA,TIKILIPADA
332 | SAMBALPUR | Jharsuguda | JAMANKIRA | JAMANKIRA | 2022-04-13 | 8:00 | 12:00 | PURNA CHANDRA NAG, L/M-C | 0.8 | DTR MAINTENNANCE,TREE BRANCHES TRIMMING, AB SWITCH REPAIRING, S/S CLEANING, OTHER MAINTENANCE WORK | ARJUNPALI,JAMANKIRA
333 | SAMBALPUR | Jharsuguda | BHOJPUR | BHOJPUR | 2022-04-09 | 8:00 | 12:00 | BRAHMANANDA SAHOO, ESO-JAMANKIRA | 0.6 | DTR MAINTENNANCE,TREE BRANCHES TRIMMING, AB SWITCH REPAIRING, S/S CLEANING, OTHER MAINTENANCE WORK | BHOJPUR,RANGALBARA,GUDRAPADA
334 | SAMBALPUR | Jharsuguda | BHOJPUR | BADMAL | 2022-04-21 | 8:00 | 12:00 | BRAHMANANDA SAHOO, ESO-JAMANKIRA | 0.9 | DTR MAINTENNANCE,TREE BRANCHES TRIMMING, AB SWITCH REPAIRING, S/S CLEANING, OTHER MAINTENANCE WORK | PALUKHAMAN,BAJARI
335 | SAMBALPUR | Jharsuguda | BHOJPUR | SIRID | 2022-04-21 | 8:00 | 12:00 | BRAHMANANDA SAHOO, ESO-JAMANKIRA | 0.8 | DTR MAINTENNANCE,TREE BRANCHES TRIMMING, AB SWITCH REPAIRING, S/S CLEANING, OTHER MAINTENANCE WORK | BADUNCHUAN,GADADHARPUR
336 | SAMBALPUR | Jharsuguda | BHOJPUR | DIMIRIMUNDA | 2022-04-09 | 8:00 | 12:00 | PURNA CHANDRA NAG, L/M-C | 0.5 | DTR MAINTENNANCE,TREE BRANCHES TRIMMING, AB SWITCH REPAIRING, S/S CLEANING, OTHER MAINTENANCE WORK | LETEIKANI,BABEJUDI
337 | SAMBALPUR | Jharsuguda | FASHIMAL | FASHIMAL | 2022-04-25 | 8:00 | 12:00 | PURNA CHANDRA NAG, L/M-C | 0.6 | DTR MAINTENNANCE,TREE BRANCHES TRIMMING, AB SWITCH REPAIRING, S/S CLEANING, OTHER MAINTENANCE WORK | GORIYABAHAL,PUKUDA
338 | SAMBALPUR | Jharsuguda | FASHIMAL | GULJIPALI | 2022-04-25 | 8:00 | 12:00 | PURNA CHANDRA NAG, L/M-C | 0.7 | DTR MAINTENNANCE,TREE BRANCHES TRIMMING, AB SWITCH REPAIRING, S/S CLEANING, OTHER MAINTENANCE WORK | BUDELKANI,KUMARANPOI
339 | SAMBALPUR | Jharsuguda | JAMANKIRA | SARDA | 2022-04-13 | 8:00 | 12:00 | PURNA CHANDRA NAG, L/M-C | 0.8 | DTR MAINTENNANCE,TREE BRANCHES TRIMMING, AB SWITCH REPAIRING, S/S CLEANING, OTHER MAINTENANCE WORK | SARDA
340 | SAMBALPUR | Jharsuguda | Kusumi | Bandbahal | 2022-04-07 | 8:00 | 15:00 | R.N. KISAN, L/M-A | 0.8 | DTR MAINTENNANCE,TREE BRANCHES TRIMMING, AB SWITCH REPAIRING, S/S CLEANING, OTHER MAINTENANCE WORK | KANSAR,BANDABAHAL
341 | SAMBALPUR | Jharsuguda | Kusumi | Kusumi Town | 2022-04-15 | 8:00 | 15:00 | R.N. KISAN, L/M-A | 1 | DTR MAINTENNANCE,TREE BRANCHES TRIMMING, AB SWITCH REPAIRING, S/S CLEANING, OTHER MAINTENANCE WORK | Kusumi
342 | SAMBALPUR | Jharsuguda | Gochhare | Turei | 2022-04-15 | 8:00 | 15:00 | TOSHABANTA ROUT, L/M-C | 0.8 | DTR MAINTENNANCE,TREE BRANCHES TRIMMING, AB SWITCH REPAIRING, S/S CLEANING, OTHER MAINTENANCE WORK | Turei
343 | SAMBALPUR | Jharsuguda | Kusumi | Bandbahal | 2022-04-23 | 8:00 | 15:00 | R.N. KISAN, L/M-A | 0.8 | DTR MAINTENNANCE,TREE BRANCHES TRIMMING, AB SWITCH REPAIRING, S/S CLEANING, OTHER MAINTENANCE WORK | KANSAR,BANDABAHAL
344 | SAMBALPUR | Jharsuguda | Kusumi | Laidaguna | 2022-04-23 | 8:00 | 15:00 | R.N. KISAN, L/M-A | 0.9 | DTR MAINTENNANCE,TREE BRANCHES TRIMMING, AB SWITCH REPAIRING, S/S CLEANING, OTHER MAINTENANCE WORK | TAINSAR,K.JAMANKIRA
345 | SAMBALPUR | Jharsuguda | KUCHINDA | TOWN-I | 2022-04-09 | 9:00 | 14:00 | SAPTAMENDU ROY, ESO-KUCHINDA | 1.5 | TREE BRANCHES TRIMMING, AB SWITCH REPAIRING, OTHER MAINTENANCE WORK | TOWN
346 | SAMBALPUR | Jharsuguda | KUCHINDA | TOWN-II | 2022-04-10 | 9:00 | 14:00 | SAPTAMENDU ROY, ESO-KUCHINDA | 1.2 | TREE BRANCHES TRIMMING, AB SWITCH REPAIRING, OTHER MAINTENANCE WORK | TOWN
347 | SAMBALPUR | Jharsuguda | KUCHINDA | TOWN-I | 2022-04-23 | 9:00 | 14:00 | SAPTAMENDU ROY, ESO-KUCHINDA | 1.5 | TREE BRANCHES TRIMMING, AB SWITCH REPAIRING, OTHER MAINTENANCE WORK | TOWN
348 | SAMBALPUR | Jharsuguda | KUCHINDA | TOWN-II | 2022-04-24 | 9:00 | 14:00 | SAPTAMENDU ROY, ESO-KUCHINDA | 1.2 | TREE BRANCHES TRIMMING, AB SWITCH REPAIRING, OTHER MAINTENANCE WORK | TOWN
349 | SAMBALPUR | Jharsuguda | KUCHINDA | SAIDA | 2022-04-15 | 9:00 | 14:00 | SAPTAMENDU ROY, ESO-KUCHINDA | 0.8 | TREE BRANCHES TRIMMING, AB SWITCH REPAIRING, OTHER MAINTENANCE WORK | SAIDA,SINKOLPOSHI
350 | SAMBALPUR | Jharsuguda | KUCHINDA | GHOSA | 2022-04-27 | 9:00 | 14:00 | SAPTAMENDU ROY, ESO-KUCHINDA | 0.7 | TREE BRANCHES TRIMMING, AB SWITCH REPAIRING, OTHER MAINTENANCE WORK | GHOSA,LADOMAL
351 | SAMBALPUR | Jharsuguda | HADIPALI | JUNANI | 2022-04-07 | 9:00 | 14:00 | KEDAR DHURUA, L/M-A | 0.75 | TREE BRANCHES TRIMMING, AB SWITCH REPAIRING, OTHER MAINTENANCE WORK | JUNANI
352 | SAMBALPUR | Jharsuguda | HADIPALI | KHANDOKATA | 2022-04-11 | 9:00 | 14:00 | KEDAR DHURUA, L/M-A | 1.2 | TREE BRANCHES TRIMMING, AB SWITCH REPAIRING, OTHER MAINTENANCE WORK | KHANDOKATA,PARUABHADI
353 | SAMBALPUR | Jharsuguda | HADIPALI | HADIPALI | 2022-04-13 | 9:00 | 14:00 | KEDAR DHURUA, L/M-A | 1 | TREE BRANCHES TRIMMING, AB SWITCH REPAIRING, OTHER MAINTENANCE WORK | KUTRACHUAN,PURNAPANI
354 | SAMBALPUR | Jharsuguda | HADIPALI | HADIPALI | 2022-04-22 | 9:00 | 14:00 | KEDAR DHURUA, L/M-A | 1 | TREE BRANCHES TRIMMING, AB SWITCH REPAIRING, OTHER MAINTENANCE WORK | KUTRACHUAN,PURNAPANI
355 | SAMBALPUR | Jharsuguda | LASA | CHANDANIMAL | 2022-04-19 | 9:00 | 14:00 | JAGAMOHAN NAIK, L/M-C | 1 | TREE BRANCHES TRIMMING, AB SWITCH REPAIRING, OTHER MAINTENANCE WORK | CHANDANMAL,LINGAPALI
356 | SAMBALPUR | Jharsuguda | LASA | GUNDURUCHUAN | 2022-04-29 | 9:00 | 14:00 | JAGAMOHAN NAIK, L/M-C | 1 | TREE BRANCHES TRIMMING, AB SWITCH REPAIRING, OTHER MAINTENANCE WORK | GUNDURUCHUAN,
357 | SAMBALPUR | Jharsuguda | LASA | LASA | 2022-04-05 | 9:00 | 14:00 | JAGAMOHAN NAIK, L/M-C | 1 | TREE BRANCHES TRIMMING, AB SWITCH REPAIRING, OTHER MAINTENANCE WORK | LAD,TAISORE,LASA
358 | Sambalpur | Brajrajnagar | Muchbahal | junadihi feeder | 06.04.2022 | 07:30AM | 11:00AM | Minaketan Pradhan | 1MW | 33kv shutdown | Gumadera town, belpahar town
359 | Sambalpur | Brajrajnagar | Jharupada, | rengali feeder, jamgaon | 06.04.2022 | 07:30AM | 11:00AM | Manash ranjan mohanty | 1MW | 33kv shutdown | Panchgaon
360 | Sambalpur | Brajrajnagar | Jharupada, | Bhikam pali, Rengali | 11.04.2022 | 07:30AM | 11:00AM | Manash ranjan mohanty | 1MW | tree trimming, dtr maintenance | Panchgaon
361 | Sambalpur | Brajrajnagar | Pandri | charpali feeder | 08.04.2022 | 07:30AM | 11:00AM | ashim dash | 0.3MW | 33kv shutdown | Bandhbahal
362 | Sambalpur | Brajrajnagar | Bandhbahal | Bandhbahal | 12.04.2022 | 07:30AM | 11:00AM | ashim dash | 0.3MW | 33kv shutdown | Bandhbahal
363 | Sambalpur | Brajrajnagar | Muchbahal | town feeder, Junadihi feeder | 12.04.2022 | 09:00AM | 01:00PM | biraj patel | 1MW | Tree trimming, dtr maintenance, ab switch repairing | Gumadera town, belpahar town
364 | Sambalpur | Brajrajnagar | Brajrajnagar | Gandhichowk feeder | 07.04.2022 | 07:30AM | 11:00AM | chitta ranjan patel | 1MW | 33kv shutdown | Gandhichowk
365 | Sambalpur | Brajrajnagar | Brajrajnagar | Gandhichowk feeder | 11.04.2022 | 07:30AM | 11:00AM | chitta ranjan patel | 0.1MW | AB switch repairing | Gandhichowk
366 | Sambalpur | Brajrajnagar | Brajrajnagar | Gandhichowk feeder | 27.04.2022 | 07:30AM | 11:00AM | chitta ranjan patel | 0.1MW | AB switch repairing & Tree trimming | Gandhichowk
367 | Sambalpur | Brajrajnagar | Brajrajnagar | Brajrajnagar feeder | 07.04.2022 | 07:30AM | 11:00AM | Adekha Behera | 0.5MW | 33kv shutdown | Brajrajnagar
368 | Sambalpur | Brajrajnagar | Brajrajnagar | Lamtibahal feeder | 07.04.2022 | 07:30AM | 11:00AM | Rashmi Ranjan Lenka | 0.5MW | 33kv shutdown | Lamtibahal.
369 | Sambalpur | Brajrajnagar | Dhulunda | kankatora, dehri dhipa, charpali , Remta | 19.04.2022 | 08:00AM | 13:00PM | Manash ranjan mohanty | 0.5MW | Tree trimming, dtr maintenance, ab switch repairing | Panchgaon
370 | Sambalpur | DEOGARH | Telimunda | TINKIBIR NEW FEEDER | 2022-04-09 | 8:00 | 11:00 | SUNIL MOAHAPATRA | 0.3 MW | LINE AB SWITCH MAINTAINACE , DTR AB SWITCH MAINTAIANNACE & OTHER ACTIVITY | TINKIBIR NEW FEEDER
371 | Sambalpur | DEOGARH | Telimunda | REAMAL NEW FEEDER | 2022-04-15 | 8:00 | 12:00 | SUNIL MOAHAPATRA | 0.5 MW | LINE AB SWITCH REPLACEMENT | REAMAL NEW FEEDER
372 | Sambalpur | DEOGARH | Deogarh | TOWN-1 | 2022-04-09 | 8:00 | 13:00 | ABHILASH SWAIN | 1 MW | 11/.44 S/S & LINE AB SWITCH MAINTAINANCE | TOWN-1 FEEDER | AS PER 33KV SHUTDOWN
373 | Sambalpur | DEOGARH | Deogarh | TOWN-3 | 2022-04-10 | 8:00 | 11:00 | ABHILASH SWAIN | 0.5 MW | 11/.44 S/S & LINE AB SWITCH MAINTAINANCE | TOWN-3 FEEDER
374 | Sambalpur | DEOGARH | Deogarh | TOWN-2 | 2022-04-17 | 8:00 | 11:00 | ABHILASH SWAIN | 0.8 MW | 11/.44 S/S & LINE AB SWITCH MAINTAINANCE | TOWN-2 FEEDER
375 | Sambalpur | DEOGARH | Kandhal | KATAPALI FEEDER | 2022-04-09 | 8:00 | 13:00 | DEEPAK KUMAR BEHERA | 0.8MW | TREE TRIMING & INSULATOR CHANGE & AB SWITCH REPLACEMENT | KATAPALI FEEDER
376 | Sambalpur | DEOGARH | Kandhal | SAMARKHAI FEEDER | 2022-04-11 | 8:00 | 13:00 | DEEPAK KUMAR BEHERA | 0.7MW | TREE TRIMING & INSULATOR CHANGE & DTR MAINTAINANCE | SAMARKHAI FEEDER
377 | Sambalpur | DEOGARH | Bhaktabadkudar | THIANAL | 2022-04-14 | 8:00 | 13:00 | DEEPAK KUMAR BEHERA | 0.9MW | TREE TRIMING & INSULATOR CHANGE & DTR MAINTAINANCE | THIANAL FEEDER
378 | Sambalpur | DEOGARH | Bhaktabadkudar | KALLA | 2022-04-15 | 8:00 | 13:00 | DEEPAK KUMAR BEHERA | 0.6MW | TREE TRIMING & INSULATOR CHANGE & DTR MAINTAINANCE | KALLA FEEDER
379 | Sambalpur | DEOGARH | Bhaktabadkudar | KHAJURKHAMAR | 2022-04-16 | 8:00 | 13:00 | DEEPAK KUMAR BEHERA | 0.7MW | TREE TRIMING & INSULATOR CHANGE & DTR MAINTAINANCE | KHAJURKHAMAR FEEDER
380 | Sambalpur | DEOGARH | Barkote | KADOPADA | 2022-04-18 | 8:00 | 13:00 | DEEPAK KUMAR BEHERA | 0.8MW | TREE TRIMING & INSULATOR CHANGE & DTR MAINTAINANCE | KADOPADA FEEDER
381 | Sambalpur | DEOGARH | Bhaktabadkudar | BAHADAPOSI | 2022-04-19 | 8:00 | 13:00 | DEEPAK KUMAR BEHERA | 0.8MW | TREE TRIMING & INSULATOR CHANGE & AB SWITCH REPLACEMENT | BAHADAPOSI- FEEDER
382 | Sambalpur | DEOGARH | Barkote | DANDASINGHA | 2022-04-20 | 8:00 | 13:00 | DEEPAK KUMAR BEHERA | 0.6MW | TREE TRIMING & INSULATOR CHANGE & DTR MAINTAINANCE | DANDASINGHA FEEDER
383 | Sambalpur | DEOGARH | Budhapal | BUDHAPAL | 2022-04-06 | 7:00 | 12:00 | SRIKANT SAI | 30 KW | TREE TRIMING & INTERMEDIATE POLE ERECTION | BUDHAPAL FEEDER
384 | Sambalpur | SED | BADABAZAR | BADABAZAR | 2022-04-09 | 09-AM | 02-PM | PARAMESWAR DALABEHERA | 2 | PSS Maintenance & Tree Trimming | BADABAZAR,CHANDAN NAGAR,TELI PADA,MADHAB BANDH,NURSING MANDIR,
385 | Sambalpur | SED | BADABAZAR | FARMROAD | 2022-04-13 | 09-AM | 02-PM | PARAMESWAR DALABEHERA | 2 | PSS Maintenance & Tree Trimming | KHETRAJPUR,FARMROAD, GURUDWARA GALI
386 | Sambalpur | SED | Ainthapali 33/11KV | FATAK | 2022-04-08 | 9:00 | 14:00 | NABA KISHORE DAS | 1.5 | Preventive Maintenance | Shanti nagar,Katardhua,Dorabandh,Budharaja,Fatak,Professor Colony,Deheripali
387 | Sambalpur | SED | Ainthapali 33/11KV | COLLEGE | 08-04-2022 | 9:00 | 14:00 | NABA KISHORE DAS | 2 | Preventive Maintenance | Church Chowk,Gopalmal,AN Guha Lane,Modipada,Dhuchrapada,Hospital Staff Quarters,Gujrati Colony
388 | Sambalpur | SED | AINTHAPALI | KHETRAJPUR | 2022-04-08 | 9:00 | 14:00 | PRADEEP PANIGRAHI | 2.5 MW | TREE TRIMMING, AB SWITCH REPARING | STATION PADA ,DAL MILL, KHETRAJPUR | MAINTENANCE PURPOSE
389 | Sambalpur | SED | AINTHAPALI | BURLA | 2022-04-08 | 9:00 | 14:00 | PRADEEP PANIGRAHI | 1 MW | TREE TRIMMING, AB SWITCH REPARING | DURAGAPALI, KANIJHURI, LAXMI DUNGRI | MAINTENANCE PURPOSE