## Sheet1
Planned Outages Request For the Month Of October 21
OUTAGE REQUESTED ON ACCOUNT OF TPWODL
SR NO | Name of circle | Name of Division | 33KV PSS Name | Name of 11KV Feeder | Date of Outage | Isolation Time | Restoration Time | Name of Outage Person | Affected Load in MW | Reason of Outage | Key areas affected | Remarks
1 | Bargarh | Bargarh Electrical Division (BED) | KHUNTLIPALI | KHUNTLIPALI | 2021-10-01 | 9:00 | 14:00 | Mr. Amit Kumar Pradhan (ESO of Khuntlipali) | 50 AMPS | Tree trimming work | Khuntulipali,Dhatukpali and Gondturum (Mahulpali) PSS remain shutdown- | Outage from GSS
2 | Bargarh | Bargarh Electrical Division (BED) | DHATUKPALI | PAPANGA-2 | 2021-10-01 | 9:00 | 14:00 | Pabitra Padhee (ESO of Thuapali) | 40 AMP | Tree trimming work | Khuntulipali,Dhatukpali and Gondturum (Mahulpali) PSS remain shutdown- | Outage from GSS
3 | Bargarh | Bargarh Electrical Division (BED) | Tora | Remunda | 01.10.21 | 9:00 | 14:00 | KISHOR NANDA (Lineman-B Of Tora) | 2.1MW | Line AB Switch Maintenance,Tree Trimming | Adgoan,Kuruan,Patrapali,Bausenpali,Madrasi Pada | Outage from PSS
4 | Bargarh | Bargarh Electrical Division (BED) | TURUNGA | NEW INDUSTRIAL & OLD INDUSTRIAL | 2021-10-03 | 9:00 | 14:00 | Pradipta Pradhan (ESO of Ambapali) | 95 &175 AMPS | Tree trimming work | Turunga and Dasmile PSS remain shutdown | Outage from GSS
5 | Bargarh | Bargarh Electrical Division (BED) | Tora | GAISIMA | 04.10.21 | 9:00 | 14:00 | DILIP SAHU (LINEMAN-B OF TORA) | 2.2MW | New Transformer Charged (25 KVA),Tree Trimming | Khandta,Malipali,Jitatikra | Outage from PSS
6 | Bargarh | Bargarh Electrical Division (BED) | DUNGURI PSS | LAKHANPUR | 2021-10-04 | 9:00 | 14:00 | Pradipta Sarangi (ESO of Bhukta) | 170 AMPS | Tree trimming work | Dungri PSS remain shutdown- | Outage from GSS
7 | Bargarh | Bargarh Electrical Division (BED) | DUNGURI PSS | LAKHANPUR | 2021-10-05 | 9:00 | 14:00 | Pradipta Sarangi (ESO of Bhukta) | 170 AMPS | Tree trimming work | Dungri PSS remain shutdown- | Outage from GSS
8 | Bargarh | Bargarh Electrical Division (BED) | ATTABIRA PSS | SARANDA | 2021-10-05 | 9:00 | 14:00 | Sanjiv Naik (ESO of Attabira No.1) | 100 AMPS | Tree trimming, AB Switch maintenance, | Attabira,Patrapali,Thuapali and Bheden PSS remain shutdown- | Outage from GSS
9 | Bargarh | Bargarh Electrical Division (BED) | ATTABIRA PSS | KANDPALI | 2021-10-05 | 9:00 | 14:00 | Bhabani Pandey (ESO of Attabira No.2) | 370 AMPS | Tree trimming work | 11 KV LASTALA BRANCH - LASTALA,LURUPALI, KATHADERA,KALANGAPALI | Outage from GSS
10 | Bargarh | Bargarh Electrical Division (BED) | ATTABIRA PSS | RENGALICAMP | 2021-10-05 | 9:00 | 14:00 | Ajay K Mahapatra (ESO of Rengalicamp) | 330 AMPS | Tree trimming work | Rengalicamp,Kalapni | Outage from GSS
11 | Bargarh | Bargarh Electrical Division (BED) | BHEDEN PSS | BHEDEN | 2021-10-05 | 9:00 | 14:00 | BABAJI PADHAN (LINEMAN-B OF BHEDEN) | 65 AMPS | Tree trimming, AB Switch maintenance, | BHEDEN | Outage from GSS
12 | Bargarh | Bargarh Electrical Division (BED) | THUAPALI PSS | PAPANGA NEW | 2021-10-05 | 9:00 | 14:00 | Pabitra Padhee (ESO of Thuapali) | 30 AMPS | Tree trimming work | PAPANGA VILL, BANDHUPALI, CHUCHNDA, BADTITILIPALI, SUNA LARAMBHA | Outage from GSS
13 | Bargarh | Bargarh Electrical Division (BED) | Tora | SUGARMIL | 06.10.21 | 9:00 | 14:00 | SANTOSH MAJHI( LINEMAN-A OF TORA) | 1.9MW | Tree Trimming,AB Switch Maintenance | Nagenpali Village,Tora Chowk | Outage from PSS
14 | Bargarh | Bargarh Electrical Division (BED) | BHUKTA | DARLIPALI | 2021-10-08 | 9:00 | 14:00 | Pradipta Sarangi (ESO of Bhukta) | 80 AMPS | Tree trimming work | All 04Nos PSS name Bhukta,Ambabhona,Kandpala and Dungri PSS remain shutdown- | Outage from GSS
15 | Bargarh | Bargarh Electrical Division (BED) | ATTABIRA PSS | KANDPALI | 2021-10-09 | 9:00 | 14:00 | Bhabani Pandey (ESO of Attabira No.2) | 370 AMPS | Tree trimming work | TOPE BRANCH - TOPE, SINGHPALI, PARMANPUR, PITHA PUTAL, BHALUPATRA, JANGED, KUKETIRA | Outage from Attabira PSS
16 | Bargarh | Bargarh Electrical Division (BED) | BHEDEN PSS | SAHARATIKRA | 2021-10-11 | 9:00 | 14:00 | MANOJ PADHAN (LINEMAN-B OF BHEDEN) | 80 AMPS | Tree trimming, AB Switch maintenance, | SAHARATIKRA, BARAM TELA, TALMUNDA, SWADITIKRA | Outage from GSS
17 | Bargarh | Bargarh Electrical Division (BED) | Tora | Tora | 12.10.21 | 9:00 | 14:00 | SANTOSH MAJHI( LINEMAN-A OF TORA) | 1.5MW | Tree Trimming,AB Switch Maintenance | Tora Village | Outage from PSS
18 | Bargarh | Bargarh Electrical Division (BED) | Tora | Industrial 1 | 17.10.21 | 9:00 | 14:00 | BAIRAGI CHANDRA DAS (LINEMAN-C OF TORA) | 1.3MW | Tree Trimming,Pole Straight | Hatpada,Mastertikra,Talipada | Outage from PSS
19 | Bargarh | Bargarh Electrical Division (BED) | KANDPALA | KUMBHO | 2021-10-18 | 9:00 | 14:00 | Pradipta Sarangi (ESO of Bhukta) | 55 AMPS | Tree trimming work | All 04Nos PSS name Bhukta,Ambabhona,Kandpala and Dungri PSS remain shutdown- | Outage from GSS
20 | Bargarh | Bargarh Electrical Division (BED) | ATTABIRA PSS | ATTABIRA TOWN/SARANDA | 2021-10-18 | 9:00 | 14:00 | Sanjiv Naik (ESO of Attabira No.1) | 100 AMPS | Tree trimming work | Attabira,Patrapali,Thuapali and Bheden PSS remain shutdown- | Outage from GSS
21 | Bargarh | Bargarh Electrical Division (BED) | ATTABIRA PSS | KANDPALI | 2021-10-18 | 9:00 | 14:00 | Bhabani Pandey (ESO of Attabira No.2) | 370 AMPS | Tree trimming work | PAHADSIGIRA, NUA BHATIMUNDA, DIRLIPALI, BHORSIPALI, CHADARIPALI | Outage from GSS
22 | Bargarh | Bargarh Electrical Division (BED) | ATTABIRA PSS | RENGALICAMP | 2021-10-18 | 9:00 | 14:00 | Ajay K Mahapatra (ESO of Rengalicamp) | 330 AMPS | Tree trimming work | Rengalicamp,Kalapni | Outage from GSS
23 | Bargarh | Bargarh Electrical Division (BED) | THUAPALI PSS | OLD PAPANGA | 2021-10-18 | 9:00 | 14:00 | Pabitra Padhee (ESO of Thuapali) | 150 AMPS | Tree trimming work | NUPURSINGHA, GURDA, MATI, NIDHANPALI | Outage from GSS
24 | Bargarh | Bargarh Electrical Division (BED) | BHEDEN PSS | BARPADAR | 2021-10-18 | 9:00 | 14:00 | SHIVSHANKAR MAHANTA (LINEMAN-B OF BHEDEN) | 78 AMPS | Tree trimming work | Attabira,Patrapali,Thuapali and Bheden PSS remain shutdown- | Outage from GSS
25 | Bargarh | Bargarh Electrical Division (BED) | KHUNTLIPALI PSS | SANKRIDA | 2021-10-21 | 9:00 | 14:00 | Mr. Amit Kumar Pradhan (ESO of Khuntlipali) | 60 AMPS | Tree trimming work | Khuntulipali,Dhatukpali and Gondturum (Mahulpali) PSS remain shutdown- | Outage from GSS
26 | Bargarh | Bargarh Electrical Division (BED) | GONDTURUM | SHIALKHANDA | 2021-10-21 | 9:00 | 14:00 | Pabitra Padhee (ESO of Thuapali) | 35 AMP | Tree trimming work | Khuntulipali,Dhatukpali and Gondturum (Mahulpali) PSS remain shutdown | Outage from GSS
27 | Bargarh | Bargarh Electrical Division (BED) | BHUKTA | RUCHIDA | 2021-10-26 | 9:00 | 14:00 | Pradipta Sarangi (ESO of Bhukta) | 100 AMPS | Tree trimming work | RUCHIDA VILL | Outage from GSS
28 | BARGARH | BWED | BALITIKRA | TULANDI FEEDER | 2021-10-08 | 9:00AM | 4:00PM | SUKUMAR JENA | 5MW | TREE CUTTING,FUSE REPLACEMENT,AB SWITCH REPAIR,CONDUCTOR STRINGING | TULANDI,KAINSIR,SATALMA,KHEMSARA,BARGUDA,VATIGAON
29 | BARGARH | BWED | BALITIKRA | RESHAM FEEDER | 2021-10-08 | 9:00AM | 3:00PM | SUKUMAR JENA | 3MW | CABLE STRINGING,JUMPER REPAIR,TRANSFORMER OIL CHANGE,FUSE REPLACE,TREE CUTTING | RESHAM,AIRAGUDI,AILAPALI
30 | BARGARH | BWED | BALITIKRA | TULANDI FEEDER | 2021-10-22 | 9:00AM | 4:00PM | SUKUMAR JENA | 5MW | JUMPER REPAIR,TRANSFORMER OIL CHANGE,FUSE REPLACE,TREE CUTTING,PIN INSULATOR CHANGE,DISC INSULATOR CHANGE,AB SWITCH REPAIR. | TULANDI,KAINSIR,SATALMA,KHEMSARA,BARGUDA,VATIGAON
31 | BARGARH | BWED | BARPALI | RAMPUR FEEDER | 2021-10-22 | 9:00AM | 4:00PM | SUKUMAR JENA | 5MW | TREE CUTTING,FUSE REPLACEMENT,AB SWITCH REPAIR,CONDUCTOR STRINGING,JUMPERING | AITHAPALI,BAGBADI,CANBAR,REMTA,KUMBHARI
32 | BARGARH | BWED | BARPALI | BANDHAPALI FEEDER | 2021-09-03 | 8:00AM | 2:00PM | DEEPAK KUMAR DAS | 3MW | JUMPER REPAIR,TRANSFORMER OIL CHANGE,FUSE REPLACE,TREE CUTTING,PIN INSULATOR CHANGE,DISC INSULATOR CHANGE,AB SWITCH REPAIR. | GOPAIPALI,NUAPALI,BHURAKHAPALI
33 | BARGARH | BWED | CHARMUNDA | TINKANI FEEDER | 2021-10-04 | 8:00AM | 4:00PM | DEEPAK KUMAR DAS | 1MW | TREE CUTTING,FUSE REPLACEMENT,AB SWITCH REPAIR,CONDUCTOR STRINGING,JUMPERING | KEBAD,TILEIMAL,JUPAIPALI
34 | BARGARH | BWED | BARPALI | BADAGAO FEEDER | 2021-10-05 | 8:00AM | 4:00PM | DEEPAK KUMAR DAS | 3MW | TREE CUTTING,FUSE REPLACEMENT,AB SWITCH REPAIR,CONDUCTOR STRINGING,JUMPERING | BADGAON,JHOPAIPALI,JALPALI,RAXA
35 | BARGARH | BWED | BARPALI | FULAPALI FEEDER | 2021-10-08 | 8:00AM | 2:00PM | DEEPAK KUMAR DAS | 3MW | TREE CUTTING,FUSE REPLACEMENT,AB SWITCH REPAIR,CONDUCTOR STRINGING | FULAPALI,GADGADTALA,BHANJIPALI
36 | BARGARH | BWED | CHARMUNDA | SUJIA FEEDER | 2021-10-09 | 9:00AM | 3:00PM | DEEPAK KUMAR DAS | 1MW | CABLE STRINGING,JUMPER REPAIR,TRANSFORMER OIL CHANGE,FUSE REPLACE,TREE CUTTING | MAHADA,SUJIA,TAMGAON
37 | BARGARH | BWED | CHARMUNDA | AGALPUR FEEDER | 2021-10-22 | 9:00AM | 3:00PM | DEEPAK KUMAR DAS | 3MW | TREE CUTTING,FUSE REPLACEMENT,AB SWITCH REPAIR,CONDUCTOR STRINGING,JUMPERING | AGALPUR,TENTLIPALI,JHOPIAPALI.
38 | BARGARH | BWED | BARPALI | BARPALI TOWN FEEDER | 2021-10-04 | 9:00AM | 3:00PM | KAILASH CHANDRA BALA | 5MW | CABLE STRINGING,JUMPER REPAIR,TRANSFORMER OIL CHANGE,FUSE REPLACE,TREE CUTTING | BARPALI TOWN
39 | BARGARH | BWED | BARPALI | BARPALI TOWN FEEDER | 2021-10-09 | 9:00AM | 3:00PM | KAILASH CHANDRA BALA | 5MW | TREE CUTTING,FUSE REPLACEMENT,AB SWITCH REPAIR,CONDUCTOR STRINGING,JUMPERING | BARPALI TOWN
40 | BARGARH | BWED | BARPALI | BARPALI TOWN FEEDER | 2021-10-16 | 9:00AM | 3:00PM | KAILASH CHANDRA BALA | 5MW | TREE CUTTING,FUSE REPLACEMENT,AB SWITCH REPAIR,CONDUCTOR STRINGING,JUMPERING | BARPALI TOWN
41 | BARGARH | BWED | BARPALI | BARPALI TOWN FEEDER | 2021-10-17 | 9:00AM | 3:00PM | KAILASH CHANDRA BALA | 5MW | CABLE STRINGING,JUMPER REPAIR,TRANSFORMER OIL CHANGE,FUSE REPLACE,TREE CUTTING | BARPALI TOWN
42 | BARGARH | BWED | BARPALI | BARPALI TOWN FEEDER | 2021-10-19 | 9:00AM | 3:00PM | KAILASH CHANDRA BALA | 5MW | TREE CUTTING,FUSE REPLACEMENT,AB SWITCH REPAIR,CONDUCTOR STRINGING,JUMPERING | BARPALI TOWN
43 | BARGARH | BWED | BARPALI | BARPALI TOWN FEEDER | 2021-10-24 | 9:00AM | 3:00PM | KAILASH CHANDRA BALA | 5MW | JUMPER REPAIR,TRANSFORMER OIL CHANGE,FUSE REPLACE,TREE CUTTING,PIN INSULATOR CHANGE,DISC INSULATOR CHANGE,AB SWITCH REPAIR. | BARPALI TOWN
44 | BARGARH | BWED | JHARBANDH | TAPPER | 05.10.2021 | 9AM | 2PM | PRIYABRATRA MEHER | 2 | TREE TRIMMING | DUNGURI CHADHA, SALDIHI
45 | BARGARH | BWED | JHARBANDH | SARGUL | 06.10.2021 | 9AM | 2PM | SIDHESWAR SAHU | 1.5 | TREE TRIMMING | BOTHUGUDA, KOTNA
46 | BARGARH | BWED | DAVA | DAVA | 07.10.2021 | 9AM | 2PM | SIDHESWAR SAHU | 2.5 | TREE TRIMMING | RAJENDRAPUR, PALSADA
47 | BARGARH | BWED | DAVA | PULUPALI | 16.10.2021 | 9AM | 2PM | SIDHESWAR SAHU | 3 | TREE TRIMMING | PUKURIPALI, BADANKI
48 | BARGARH | BWED | PADAMPUR | GAISULET | 4.10.2021 | 9AM | 2PM | SURENDRA DORA | 2 | TREE TRIMMING | KANSAR KHAIRIPALI, BUDAMAL
49 | BARGARH | BWED | PADAMPUR | GAISULET | 5.10.2021 | 9AM | 2PM | GANESH BAGARTI | 2 | POLE EERECTION WORK | KANSAR KHAIRIPALI, BUDAMAL
50 | BARGARH | BWED | PADAMPUR | GAISULET | 6.10.2021 | 9AM | 2PM | GANESH BAGARTI | 2 | TREE TRIMMING | KANSAR KHAIRIPALI, BUDAMAL
51 | BARGARH | BWED | PADAMPUR | MELCHHAMUNDA | 7.10.2021 | 9AM | 2PM | SURENDRA DORA | 2 | JUMPER DRESSING | MAHULPALI, KENDUBHATA
52 | BARGARH | BWED | PADAMPUR | TOWN-2 | 8.10.2021 | 9AM | 2PM | SURENDRA DORA | 1 | TREE TRIMMING | KAPSULA, GAISILET ROAD
53 | BARGARH | BWED | LAKHMARA | SAMBALPURI | 02.10.2021 | 9AM | 2PM | PREMANANDA BARIK | 1 | JUMPER DRESSING | SAMBALPURI,SAREIKELA, LAKHMARA
54 | BARGARH | BWED | LAKHMARA | BADIKATA | 4.10.2021 | 9AM | 2PM | PREMANANDA BARIK | 3 | JUMPER DRESSING | DHUMABATA,BADIKATA SAPLAHAR
55 | BARGARH | BWED | PADAMPUR | BARIKEL | 5.10.2021 | 9AM | 2PM | PREMANANDA BARIK | 1.5 | TREE TRIMMING | BARIKEL,SINGHANPUR,MALDA
56 | BARGARH | BWED | DAHITA | DANGACHHANCHA | 7.10.2021 | 9AM | 2PM | PREMANANDA BARIK | 1 | TREE TRIMMING | DAHITA,DANGACHHANCHA,BADIMAL
57 | BARGARH | BWED | DAHITA | SILATPALI | 19.10.2021 | 9AM | 2PM | PREMANANDA BARIK | 0.5 | TREE TRIMMING | AMBAHAL,BUDEN,SILATPALI
58 | BARGARH | BWED | PADAMPUR | LAKHMARA | 23.10.2021 | 9AM | 2PM | PREMANANDA BARIK | 0.5 | CONDOCTOR STRINGING | BHEUNRIA,SATIBHATA,PURENA
59 | BARGARH | BWED | DAHITA | JAMARTALA | 28.10.2021 | 9AM | 2PM | PREMANANDA BARIK | 0.5 | CONDOCTOR STRINGING | DAHIGAON,JAMARTALA,BEHERATAL
60 | BARGARH | BWED | GAISILET | 11KV Gaisilete Feeder | 4.10.2021 | 10:00AM | 02:00PM | BIJAY KISSAN( JEE) | 1.5 | Tree triming,v-cross arm change,Dis insulator change | RAISELPADAR , GAISILET
61 | BARGARH | BWED | GAISILET | 11KV lebdi Feeder | 5.10.2021 | 10:00AM | 02:00PM | RANJAN KUMAR JENA | 2 | Tree triming,v-cross arm change,Dis insulator change | LEBDI, JAGALPAT
62 | BARGARH | BWED | GAISILET | 11KV Firingmal Feeder | 6.10.2021 | 10:00AM | 02:00PM | BIJAY KISSAN( JEE) | 1.2 | Tree triming,v-cross arm change,Dis insulator change | BHOIPALI,TORCHA
63 | BARGARH | BWED | GAISILET | 11KV TalpalIFeeder | 7.10.2021 | 10:00AM | 02:00PM | RAGHUMANI BAGARTI | 1.2 | Tree triming,DTR oil change,Load balancing | TALPALI,JUBAKHOL
64 | BARGARH | BWED | GAISILET | 11KV Gurumunda Feeder | 8.10.2021 | 10:00AM | 02:00PM | BIJAY KISSAN( JEE) | 1 | Tree triming,v-cross arm change,Dis insulator change | GURUMUNDA, SAUTHKHANDI
65 | BARGARH | BWED | KUNDAKHAI | 11KV kundakhai Feeder | 19.10.2021 | 08:00AM | 01:00PM | SAROJ KUMAR BARIK | 1.2 | DTR oil change,lt cable stringing | KUNDAKHAI,MALAMUNDA
66 | BARGARH | BWED | KUNDAKHAI | 11KV jamudpali Feeder | 23.10.2021 | 08:00AM | 01:00PM | SAROJ KUMAR BARIK | 1.5 | Tree triming,v-cross arm change,Dis insulator change | BUDERPALI,MAGHA
67 | BARGARH | BWED | MELCHHAMUNDA | 11kv Melchhamunda Feeder | 4.10.2021 |  |  | SANJIB KU NAYAK | 2.2 | TREE TRIMMING | MELCHHAMUNDA, TAL,GYAN
68 | BARGARH | BWED | MELCHHAMUNDA | 11KV Sargibahal Feeder | 5.10.2021 | 08:00AM | 02:00PM | MUNSI GADTIA | 2.8 | POLE EERECTION WORK | SARGIBAHAL,JAMLA,BISIPALI
69 | BARGARH | BWED | PADAMPUR | 11KV Melchhamunda Feeder | 6.10.2021 | 08:00AM | 02:00PM | MOHAN SAHU | 2.5 | TREE TRIMMING | KANSINGA, DANGHAT
70 | BARGARH | BWED | MELCHHAMUNDA | 11 KV Ghenss Feeder | 7.10.2021 | 08:00AM | 02:00PM | MUNSI GADTIA | 1.5 | JUMPER DRESSING | SALEPALI, MELCHHAMUNDA
71 | BARGARH | BWED | MELCHHAMUNDA | 11 KV Sargibahal Feeder | 8.10.2021 | 08:00AM | 02:00PM | MUNSI GADTIA | 2.8 | TREE TRIMMING | MELCHHAMUNDA, TAL,GYAN
72 | BARGARH | BWED | PADAMPUR | 11 KV Melchhamunda Feeder | 16.10.2021 | 08:00AM | 02:00PM | SANJIB KU NAYAK | 2.5 | JUMPER DRESSING | SARGIBAHAL,JAMLA,BISIPALI
73 | BARGARH | BWED | MELCHHAMUNDA | 11 KV Belmunda Feeder | 17.10.2021 | 08:00AM | 02:00PM | SANJIB NAYAK | 2.2 | JUMPER DRESSING | KANSINGA, DANGHAT
74 | BARGARH | BWED | MELCHHAMUNDA | 11 KV Belmunda Feeder | 18.10.2021 | 08:00AM | 02:00PM | SANJIB NAYAK | 2.2 | TREE TRIMMING | SALEPALI, MELCHHAMUNDA
75 | BARGARH | BWED | PADAMPUR | 11 KV Melchhamunda Feeder | 19.10.2021 | 08:00AM | 02:00PM | SANJIB KU NAYAK | 2.5 | TREE TRIMMING | MELCHHAMUNDA, TAL,GYAN
76 | BARGARH | BWED | MELCHHAMUNDA | 11 KV Ghenss Feeder | 25.10.2021 | 08:00AM | 02:00PM | MUNSI GADTIA | 1.5 | TREE TRIMMING | SARGIBAHAL,JAMLA,BISIPALI
77 | BARGARH | BWED | PADAMPUR | 11 KV Melchhamunda Feeder | 23.10.2021 | 08:00AM | 02:00PM | SANJIB KU NAYAK | 2.5 | CONDOCTOR STRINGING | KANSINGA, DANGHAT
78 | BARGARH | BWED | MELCHHAMUNDA | 11 KV Sargibahal Feeder | 19.10.2021 | 08:00AM | 02:00PM | MUNSI GADTIA | 2.8 | CONDOCTOR STRINGING | SALEPALI, MELCHHAMUNDA
79 | BARGARH | BWED | MELCHHAMUNDA | 11 KV Melchhamunda Feeder | 20.10.2021 | 08:00AM | 02:00PM | SANJIB KU NAYAK | 2.2 | Tree triming,v-cross arm change,Dis insulator change | MELCHHAMUNDA, TAL,GYAN
80 | BARGARH | BWED | MELCHHAMUNDA | 11 KV Ghenss Feeder | 21.10.2021 | 08:00AM | 02:00PM | MUNSI GADTIA | 1.5 | Tree triming,v-cross arm change,Dis insulator change | SARGIBAHAL,JAMLA,BISIPALI
81 | BARGARH | BWED | MELCHHAMUNDA | 11 KV Belmunda Feeder | 22.10.2021 | 08:00AM | 02:00PM | SANJIB NAYAK | 2.2 | Tree triming,v-cross arm change,Dis insulator change | KANSINGA, DANGHAT
82 | BARGARH | BWED | SOHELA | SOHELA TOWN | 03.10.2021 | 8.00AM | 02:00PM | DUSMANTA DEEP | 2 | MAINTENANCE | SOHELA TOWN, BANJARI, LAMBURUPALI
83 | BARGARH | BWED | SOHELA | LUHURACHATI | 02.10.2021 | 8.00AM | 02:00PM | LOKESH CHOUDHURI | 3 | MAINTENANCE | DUMERPALI, MADHUPUR, AINLAPALI, PANDAKIPALI, KASIPALI,KUDOPALI
84 | BARGARH | BWED | SOHELA | GRINJEL | 05.10.2021 | 8.00AM | 02:00PM | PRATYUSH MISHRA | 3 | MAINTENANCE | GRINJEL,BEHERAPALI, BUDAMAL,MANGALPALI,MACHIMORA,BRAHMANIDIHI,
85 | BARGARH | BWED | SOHELA | INDUSTRIAL | 04.10.2021 | 8.00AM | 02:00PM | BULU JENA | 1 | MAINTENANCE | GARVANA,HALDIPALI,DUMERPALI
86 | BARGARH | BWED | DASMILE | 11KV BISHIPALI | 06.10.2021 | 9:00AM | 02:00PM | LALJI HIAL,BHAGIRATHI BHUE | 2 | TREE TRIMING & 11Kv JUMPERING | SARKANDA,BISHIPALI,SAMAKATA,KHARMORA,KARANDOLA,TARAKANA
87 | BARGARH | BWED | DASMILE | 11KV SRIGIDA | 08.10.2021 | 9:00AM | 02:00PM | CHAKITRAM PATEL | 1 | TREE TRIMING & 11Kv JUMPERING | SRIGIDA,JATALA,SALLEPALI,JATALA,ULABA
88 | BARGARH | BWED | DASMILE | 11KV KENDPALI | 16.10.2021 | 9:00AM | 02:00PM | SUMANTA ROUL | 2 | TREE TRIMING & 11Kv JUMPERING | KENDPALI,SAHAJBAHAL,PODHMUNDA, JHANKARPALI
89 | BARGARH | BWED | SOHELA | 11KV PADAMPUR | 22.10.2021 | 9:00AM | 02:00PM | KHIRODRA BEHERA | 7 | TREE TRIMING & 11Kv JUMPERING | CHICHINDA,BAUSENMORA,PANIMORA, BANDALA,SALEPALI,HIRAPALI,KUSURDA
90 | BARGARH | BWED | SOHELA | 11KV KANGAON | 25.10.2021 | 9:00AM | 02:00PM | SATYAM PATRA,BHAGIRATHI BHUE | 1 | TREE TRIMING & 11Kv JUMPERING | KANGAON,BARIHAPALI,DAMKIPALI
91 | BARGARH | BWED | ARDA | SAIPALI | 05.10.2021 | 9:00AM | 02:00PM | CHITTARANJAN SAHU | 3 | MAINTENANCE | BADBAUSEN,KHUNTPALI,SAIPALI,MAHABARNA,BADIPALI
92 | BARGARH | BWED | ARDA | LAUMUNDA | 07.10.2021 | 9:00AM | 02:00PM | TAPI BAG | 3 | MAINTENANCE | LAUMAUNDA,PATHHARLA,BENIACHAL, KHANDA,SATBANDHA,CHERENGAMUNDA
93 | BARGARH | BWED | ARDA | JOKHIPALI | 09.10.2021 | 9:00AM | 02:00PM | CHITTARANJAN SAHU | 2 | MAINTENANCE | PAHANDI,JOKHIPALI,BHATIGAON,PHULERPALI
94 | BARGARH | BWED | BIJEPUR | KHARMUNDA | 11.10.2021 | 9:00AM | 02:00PM | SHYAMA PRADHAN | 2.5 | MAINTENANCE | KHARMUNDA,SADHUPALI, T GANDAPALI,KEIUTHIPALI
95 | BARGARH | BWED | BIJEPUR | BARMUNDA | 13.10.2021 | 9:00AM | 02:00PM | TAPAN NAIK | 3.5 | MAINTENANCE | PADA,BARMUNDA,MAJHIPALI,BANDUPALI, BADIPALI,BALANDA
96 | BARGARH | BWED | GHENSS | GHESS | 04.10.2021 | 8:00AM | 01:00PM | SWARUP MAHANANDIA | 2 | TREE TRIMING & SECTION MAINTETANCE | GHENSS
97 | BARGARH | BWED | GHENSS | JHAR | 05.10.2021 | 8:00AM | 01:00PM | LALIT KU NAIK | 3 | TREE TRIMING & SECTION MAINTETANCE | TALPADAR,JHAR,PETUPALI
98 | BARGARH | BWED | GHENSS | LEKHAPATHAR | 06.10.2021 | 8:00AM | 01:00PM | SWARUP MAHANANDIA | 3 | TREE TRIMING & SECTION MAINTETANCE | KHAPADA,BANABIRA,PRADHANPALI
99 | BARGARH | BWED | GHENSS | KUCHIPALI | 07.10.2021 | 8:00AM | 01:00PM | SESHADIP KUMBHAR | 2 | TREE TRIMING & SECTION MAINTETANCE | KUCHIPALI,BIRJAM,SANIMAL
100 | BARGARH | BWED | SOHELA | CHHURIAPALI | 08.10.2021 | 8:00AM | 01:00PM | CHHAYAKANTA NAYAK | 2 | TREE TRIMING & SECTION MAINTETANCE | TUNGIBANDLI,TANDOOL,KHAIRPALI
101 | BARGARH | BWED | BIJEPUR | BIJEPUR | 04.10.2021 | 9:00AM | 2:00PM | UTTAM KU NAIK | 2 | TREE TRIMING & SECTION MAINTETANCE | BIJEPUR
102 | BARGARH | BWED | GHENSS | JARING | 07.10.2021 | 9:00AM | 2:00PM | SUDHAKAR PRUSTY | 2 | TREE TRIMING & SECTION MAINTETANCE | JARING
103 | BARGARH | BWED | GHENSS | SARANDAPALI | 09.10.2021 | 9:00AM | 2:00PM | SUDHAKAR PRUSTY | 1 | TREE TRIMING & SECTION MAINTETANCE | SARANDAPALI
104 | BARGARH | BWED | GHENSS | SARANDAPALI | 11.10.2021 | 9:00AM | 2:00PM | BIBHUTIBHUSAN PATTANAIK | 2 | TREE TRIMING & SECTION MAINTETANCE | SARANDAPALI
105 | BARGARH | BWED | GHENSS | BANBASPALI | 17.10.2021 | 9:00AM | 2:00PM | BIBHUTIBHUSAN PATTANAIK | 2 | TREE TRIMING & SECTION MAINTETANCE | BANBASPALI
106 | BARGARH | BWED | GHENSS | DUMARLPALI | 19.10.2021 | 9:00AM | 2:00PM | NARENDRA KU MEHER | 3.5 | TREE TRIMING & SECTION MAINTETANCE | DUMARLPALI
107 | BARGARH | BWED | GHENSS | KATAPALI | 21.10.2021 | 9:00AM | 2:00PM | NARENDRA KU MEHER | 1 | TREE TRIMING & SECTION MAINTETANCE | KATAPALI
108 | KALAHANDI | KEED | KESINGA | JAGANATHPADA | 2021-10-04 | 9AM | 2PM | Mr. Surya Kanta Prusti | 10 | Tree Trimming | Kesinga Town, Boringpadar, Jaganathpur, Durga Rice Mill
109 | KALAHANDI | KEED | ATTANGUDA | SAIDHAM | 2021-10-04 | 9AM | 1PM | Mr. Binayak Rout | 2.5 | Tree Trimming & Maintenance | Saidham, Jugsaipatna, Kruguda, Sagada
110 | KALAHANDI | KEED | ATTANGUDA | KERUGUDA | 2021-10-04 | 9AM | 1PM | Mr. Binayak Rout | 2.5 | Tree Trimming & Maintenance | Saidham, Jugsaipatna, Kruguda, Sagada
111 | KALAHANDI | KEED | NARLA | BALIPADA | 2021-10-05 | 8AM | 2PM | Mr. Deepak Ku. Behera | 14.5 | Tree Trimming & Railway Crossing work | Narla, M.Rampur, Lanjigarh & Karlamunda Block
112 | KALAHANDI | KEED | NARLA | OLD LANJIGARH | 2021-10-05 | 8AM | 2PM | Mr. Deepak Ku. Behera | 14.5 | Tree Trimming & Railway Crossing work | Narla, M.Rampur, Lanjigarh & Karlamunda Block
113 | KALAHANDI | KEED | NARLA | URLADANI | 2021-10-05 | 8AM | 2PM | Mr. Deepak Ku. Behera | 14.5 | Tree Trimming & Railway Crossing work | Narla, M.Rampur, Lanjigarh & Karlamunda Block
114 | KALAHANDI | KEED | NARLA | BARABANDHA | 2021-10-05 | 8AM | 2PM | Mr. Deepak Ku. Behera | 14.5 | Tree Trimming & Railway Crossing work | Narla, M.Rampur, Lanjigarh & Karlamunda Block
115 | KALAHANDI | KEED | NARLA | CHATIGUDA | 2021-10-05 | 8AM | 2PM | Mr. Deepak Ku. Behera | 14.5 | Tree Trimming & Railway Crossing work | Narla, M.Rampur, Lanjigarh & Karlamunda Block
116 | KALAHANDI | KEED | NARLA | MOHANGIRI FEEDER | 2021-10-05 | 8AM | 2PM | Mr. Deepak Ku. Behera | 14.5 | Tree Trimming & Railway Crossing work | Narla, M.Rampur, Lanjigarh & Karlamunda Block
117 | KALAHANDI | KEED | NARLA | BORIGAON FEEDER | 2021-10-05 | 8AM | 2PM | Mr. Deepak Ku. Behera | 14.5 | Tree Trimming & Railway Crossing work | Narla, M.Rampur, Lanjigarh & Karlamunda Block
118 | KALAHANDI | KEED | MADANPUR | D.KARLAKUNTA | 2021-10-08 | 8AM | 1PM | Mr. Deepak Ku. Behera | 2 | Tree Trimming | Mohangiri, Manikera, D. Karlakhunta, Madanpur, Singhpur GP
119 | KALAHANDI | KEED | MADANPUR | MADANPUR | 2021-10-08 | 8AM | 1PM | Mr. Deepak Ku. Behera | 2 | Tree Trimming | Mohangiri, Manikera, D. Karlakhunta, Madanpur, Singhpur GP
120 | KALAHANDI | KEED | BISWANATHPUR | POKHARIBANDH | 2021-10-17 | 8AM | 1PM | Mr. Deepak Ku. Behera | 4 | Tree Trimming & Maintenance | Lanjigarh Block
121 | KALAHANDI | KEED | BISWANATHPUR | LANJIGARH | 2021-10-17 | 8AM | 1PM | Mr. Deepak Ku. Behera | 4 | Tree Trimming & Maintenance | Lanjigarh Block
122 | KALAHANDI | KEED | BISWANATHPUR | OLD LANJIGARH | 2021-10-17 | 8AM | 1PM | Mr. Deepak Ku. Behera | 4 | Tree Trimming & Maintenance | Lanjigarh Block
123 | KALAHANDI | KEED | NAKTIGUDA | NO.1 AND NO. 2 11KV FEEDER | 2021-10-06 | 9AM | 2PM | Mr. Debi Prasad Dixit | 11 | Tree Trimming & Maintenance | No.1 , No. 2 & Medical area
124 | KALAHANDI | KEED | KESINGA | KESINGA TOWN FEEDER | 2021-10-08 | 9AM | 2PM | Mr. Surya Kanta Pusti | 2 | Tree Trimming | Kesinga Town, Boringpadar, Jaganathpur, Durga Rice Mill
125 | KALAHANDI | KEED | UTKELA | KUNDABANDH | 2021-10-16 | 9AM | 4PM | Mr. Susant Ku. Behera | 3 | Tree Trimming & Maintenance | Utkela, Kundabandh, Pastikudi
126 | KALAHANDI | KEED | UTKELA | UTKELA | 2021-10-16 | 9AM | 4PM | Mr. Susant Ku. Behera | 3 | Tree Trimming & Maintenance | Utkela, Kundabandh, Pastikudi
127 | KALAHANDI | KEED | UTKELA | BHAWANIPATNA NO 2 | 2021-10-25 | 9AM | 1PM | Mr. Susant Ku. Behera | 3 | Tree Trimming & Maintenance | Utkela, Kundabandh, Pastikudi
128 | KALAHANDI | KEED | NUNMATH | BELKHANDI | 2021-10-19 | 9AM | 2PM | Mr. Amiya Ranjan Panda | 5 | Tree Trimming | Karlamunda, Nunmath, Sisakhal
129 | KALAHANDI | KEED | NUNMATH | TUNDLA | 2021-10-19 | 9AM | 2PM | Mr. Amiya Ranjan Panda | 5 | Tree Trimming | Karlamunda, Nunmath, Sisakhal
130 | KALAHANDI | KWED DHARAMGARH | DASPUR | DASPUR | 2021-10-07 | 9AM | 2PM | UMESH PRADHAN | 1MW | TREE TRIMMING&MAINTENANCE | DASPUR
131 | KALAHANDI | KWED DHARAMGARH | DASPUR | KUMARI | 2021-10-07 | 9AM | 2PM | UMESH PRADHAN | 0.5MW | TREE TRIMMING&MAINTENANCE | KUMARI VILLAGE, CHICHIA
132 | KALAHANDI | KWED DHARAMGARH | DASPUR | BRUNDABAHAL | 2021-10-07 | 9AM | 2PM | UMESH PRADHAN | 0.5MW | TREE TRIMMING&MAINTENANCE | BRUNDABAHAL
133 | KALAHANDI | NED | Sinapali | Sinapali Town | 2021-10-02 | 9AM | 1PM | MR.BINAYA SAHOO. | 0.5 | Tree Trimming & Maintenance | Sinapali.
134 | KALAHANDI | NED | KOMNA | KOMNA TOWN | 2021-10-06 | 8AM | 1PM | MR.SIDHARTH SANKAR | 1.5 | Tree Trimming & Maintenance | KOMNA
135 | KALAHANDI | NED | KHARIAR | KHARIAR TOWN | 2021-10-09 | 9AM | 1PM | MR.NANDA KUMAR NAG | 2.5 | Tree Trimming & Maintenance | KHARIAR TOWN
136 | KALAHANDI | NED | Sinapali | Sinapali. | 2021-10-16 | 9AM | 1PM | MR.BINAYA SAHOO. | 2 | Tree Trimming & Maintenance | Sinapali.
137 | KALAHANDI | NED | BODEN | BODEN TOWN | 2021-10-23 | 9AM | 2PM | MR.ADITYA PRASAD. | 2 | Tree Trimming & Maintenance | BODEN.
138 | Sambalpur | SED | Burla I | Burla Medical | 2021-09-08 | 9:00 | 14:00 | Sanjay Kumar Salangi | 2 | Feeder maintenance, tree treaming , jumper changing | Medical | Shutdown has been planned in line with 33 KV Burla I & III Feeder
139 | Sambalpur | SED | Burla I | Solar Feeder | 2021-09-08 | 9:00 | 14:00 | Sanjay Kumar Salangi | 1 | Feeder maintenance, tree treaming , jumper changing | MCL Colony
140 | Sambalpur | SED | Burla I | Hostal Feeder | 2021-09-08 | 9:00 | 14:00 | Sanjay Kumar Salangi | 1 | Feeder maintenance, tree treaming , jumper changing | Medical & hostal
141 | Sambalpur | SED | Burla I | Doctor Colony | 2021-09-08 | 9:00 | 14:00 | Sanjay Kumar Salangi | 2 | Feeder maintenance, tree treaming , jumper changing | Telgu Pada, Gourpali, PHD
142 | Sambalpur | SED | Burla-III | VCE Feeder | 2021-09-08 | 9:00 | 14:00 | Somnath Seth | 1.2 | Feeder maintenance, tree treaming , jumper changing | VCE Area
143 | Sambalpur | SED | Burla-III | Market Feeder | 2021-09-08 | 9:00 | 14:00 | Somnath Seth | 1 | Feeder maintenance, tree treaming , jumper changing | Burla Market
144 | Sambalpur | SED | Burla-III | Wesco Feeder | 2021-09-08 | 9:00 | 14:00 | Somnath Seth | 1.2 | Feeder maintenance, tree treaming , jumper changing | Wesco Office Area
145 | Sambalpur | SED | Burla-III | Contractor Colony Feeder | 2021-09-08 | 9:00 | 14:00 | Somnath Seth | 1 | Feeder maintenance, tree treaming , jumper changing | Contractor Colony Area
146 | Sambalpur | Jharsuguda | Sharbahal | Sunarimunda | 2021-10-05 | 10.00AM | 12.00PM | Sanjeeb Sahoo | 2 | Tree Trimming,Insulator change | Sunarimunda,Buromal
147 | Sambalpur | Jharsuguda | Sharbahal | Sripura | 2021-10-06 | 10.00AM | 12.00PM | Promotes Sahu | 2.5 | Tree Trimming,Rejumpering | Sripura
148 | Sambalpur | Jharsuguda | Jhanda Chowk | JSG#3 | 2021-10-08 | 10.00AM | 12.00PM | Baren Garnayaak | 2.5 | Tree Trimming,Pole Restraining | Kabarstan
149 | Sambalpur | Jharsuguda | Sahapada | Badmal | 2021-10-09 | 10.00AM | 12.00PM | Promotes Sahu | 2 | Tree Trimming,Conductor Restraining | Badmal
150 | Sambalpur | Jharsuguda | Sahapada | Singhabagha | 2021-10-11 | 10.00AM | 12.00PM | Promotes Sahu | 1 | Tree Trimming,Rejumpering,AB Switch Repair | Singhabagha
151 | Sambalpur | Jharsuguda | RN Pali | Jhilapali | 2021-10-08 | 10.00AM | 12.00PM | Umakanta Satpathy | 1 | Tree Trimming,Pole Restraining | Jhirlapali
152 | Sambalpur | Jharsuguda | RN Pali | RN Pali | 2021-10-09 | 10.00AM | 12.00PM | Umakanta Satpathy | 1.5 | Tree Trimming,AB Switch Repair | RN Pali
153 | Sambalpur | Jharsuguda | Laikera | Sahaspur | 2021-10-06 | 9.00AM | 2.00PM | Sameer Mohanty | 1 | Tree Trimming,Rejumpering,Conductor Restraining | Sahaspur
154 | Sambalpur | Jharsuguda | Laikera | Bhatlaida | 2021-10-07 | 9.00AM | 2.00PM | Sameer Mohanty | 1 | Tree Trimming,Rejumpering,Insulator Change | Bhatlaida
155 | Sambalpur | Deogarh | Deogarh | Deogarh | 2021-10-10 | 8:00AM | 01:00PM | Abhilash Swain | 1.5 | Re-Stringing of Low Sag Conductor | New Covid Hospital, RTO Office, Mahalaxmi Gramin Udyog, Suguda,Chipilipali,kalanda
156 | BOLANGIR | SDO-1 | LALTIKRA | LALTIKRA-01 | 2021-03-10 | 8:00 | 12:00 | JAGANNATH MOHANTY | 2 | Schedule Maintanance | Bolangir Town
157 | BOLANGIR | SDO-1 | POWER HOUSE | HATISAL PADA | 17/10/2021 | 8:00 | 12:00 | JAGANNATH MOHANTY | 2.5 | Schedule Maintanance | Bolangir Town
158 | BOLANGIR | SDO-1 | POWER HOUSE | MALPADA | 25/10/2021 | 8:00 | 12:00 | JAGANNATH MOHANTY | 2 | Schedule Maintanance | Bolangir Town
159 | BOLANGIR | SDO-1 | SUDPADA | KANSADIPADA | 2021-02-10 | 8:00 | 11:00 | DEBDUTTA MOHAPATRA | 3 | Schedule Maintanance | Bolangir Town
160 | BOLANGIR | SDO-1 | JAIL | GANDHINAGAR | 2021-09-10 | 8:00 | 11:00 | DEBDUTTA MOHAPATRA | 2.5 | Schedule Maintanance | Bolangir Town
161 | BOLANGIR | SDO-1 | JAIL | BEHERAPALLI | 23/10/2021 | 8:00 | 12:00 | DEBDUTTA MOHAPATRA | 0.5 | Schedule Maintanance | Bolangir Town
162 | BOLANGIR | SDO-1 | JAIL | GANDHINAGAR | 23/10/2021 | 8:00 | 12:00 | DEBDUTTA MOHAPATRA | 2.5 | Schedule Maintanance | Bolangir Town
163 | BOLANGIR | SDO-1 | SUDPADA | KANSADIPADA | 23/10/2021 | 8:00 | 12:00 | DEBDUTTA MOHAPATRA | 3 | Schedule Maintanance | Bolangir Town
164 | BOLANGIR | SDO-1 | LALTIKRA | Bolangir-1 | 03/10/2021 | 7:00 | 11:00 | RIZAUL HAQUE | 4 | Schedule Maintanance | Bolangir Town
165 | BOLANGIR | SDO-1 | LALTIKRA | Bolangir-2 | 09/10/2021 | 7:00 | 11:00 | RIZAUL HAQUE | 1 | Schedule Maintanance | Bolangir Town
166 | BOLANGIR | SDO-1 | LALTIKRA | Bolangir-3 | 16/10/2021 | 7:00 | 11:00 | RIZAUL HAQUE | 1.5 | Schedule Maintanance | Bolangir Town
167 | BOLANGIR | SDO-1 | INDUSTRIAL | Industrial -1 | 04/10/2021 | 7:00 | 11:00 | NALINI KANTA PATEL | 2 | Schedule Maintanance | Bolangir Town
168 | BOLANGIR | SDO-1 | INDUSTRIAL | Industrial -2 | 10/10/2021 | 7:00 | 11:00 | NALINI KANTA PATEL | 1.5 | Schedule Maintanance | Bolangir Town
169 | BOLANGIR | SDO-1 | INDUSTRIAL | Industrial -3 | 17/10/2021 | 7:00 | 11:00 | NALINI KANTA PATEL | 0.3 | Schedule Maintanance | Bolangir Town
170 | BOLANGIR | SDO-1 | INDUSTRIAL | Industrial -4 | 23/10/2021 | 7:00 | 11:00 | NALINI KANTA PATEL | 0.9 | Schedule Maintanance | Bolangir Town
171 | BOLANGIR | SDO-1 | INDUSTRIAL | Industrial -5 | 30/10/2021 | 7:00 | 11:00 | NALINI KANTA PATEL | 1 | Schedule Maintanance | Bolangir Town
172 | BOLANGIR | SDO-3 | TUSURA | NATRAJ | 22/10/2021 | 8:00 | 12:00 | TAPAN KUMAR NANDA | 1 | Schedule Maintanance | TUSURA NAC
173 | BOLANGIR | SDO-3 | TUSURA | TOWN FEEDER | 07/10/2021 | 8:00 | 12:00 | TAPAN KUMAR NANDA | 1.2 | Schedule Maintanance | TUSURA NAC
174 | Sambalpur | SED | Khetrajpur | Cheruapada &Badbazar | 09.10.21 | 9.00am | 2.00pm | Respected Eso | 12mw | Tree trimming,schedule maintenance work,insultor replace&dtr maintenace | laxmi talkies,gujurati colony,modipada,badbazr,balibandha,tiwarigali,housing board,railway&medical.
175 | Sambalpur | SED | Khetrajpur | Cheruapada &Badbazar | 16.10.21 | 9.00am | 2.00pm | Respected Eso | 12mw | Tree trimming,schedule maintenance work,insultor replace&dtr maintenace | laxmi talkies,gujurati colony,modipada,badbazr,balibandha,tiwarigali,housing board,railway&medical.
176 | Sambalpur | SED | Khetrajpur | Cheruapada &Badbazar | 23.10.21 | 9.00am | 2.00pm | Respected Eso | 12mw | Tree trimming,schedule maintenance work,insultor replace&dtr maintenace | laxmi talkies,gujurati colony,modipada,badbazr,balibandha,tiwarigali,housing board,railway&medical.
177 | Rourkela | Sundargarh | Tumbapali | Jhariapali | 2021-10-01 | 10:00 | 15:00 | Adhikari Debasis Das(ESO) Chemanand Sa (LM) | 0.2 | Tree Trimming & DT Cleaning | Nuamunda,Tumbapali
178 | Rourkela | Sundargarh | Tumbapali | Tangarpali | 2021-10-01 | 10:00 | 15:00 | Adhikari Debasis Das(ESO) Chemanand Sa (LM) | 0.2 | Tree Trimming & DT Cleaning | Belsara,Tangarpali,Rupabahal
179 | Rourkela | Sundargarh | Tumbapali | Ujalpur | 2021-10-01 | 10:00 | 15:00 | Adhikari Debasis Das(ESO) Nabin Pruseth(LM) | 0.1 | Tree Trimming & DT Cleaning | Kalarpada,Khutmunda
180 | Rourkela | Sundargarh | Sargipali | Sargipali | 2021-10-01 | 10:00 | 15:00 | Ramkrishna Patel(ESO) Subrat Pandey(LM) | 1 | Tree Trimming & DT Cleaning | Sargipali,Jurumal,Raidihi
181 | Rourkela | Sundargarh | College | College | 2021-10-06 | 9:00 | 3:00PM | Prabhat Mallik(ESO), Santanu Mohapatra(LM) | 3 | Tree Trimming &AB Switch Repair | Rangadhipa,Govt College Road
182 | Rourkela | Sundargarh | Sankara | No-1 | 2021-10-06 | 9:00 | 3:00PM | Aditya Patel(ESO), Jayanta Ku. Chalan(LM) | 2.6667 | Tree Trimming & DT Cleaning | Dengibadi,Meheshdihi,Patarapali,Houshing board,Womens college,Block colony,Patarapada,Khamaripada,Adarsh nagar,Ranibagicha,Fitting Pada
183 | Rourkela | Sundargarh | Sankara | Sankara | 2021-10-06 | 9:00 | 3:00PM | Aditya Patel(ESO), Binod Pruset(LM) | 1 | Tree Trimming & DT Cleaning | Sankara,RP Line,Kendupada,Panaspada,Banadurga Colony,Irrigation colony/Office,Bidyut bihar,Amlipali
184 | Rourkela | Sundargarh | Majhapada | Majhapada | 2021-10-06 | 9:00 | 3:00PM | Manas Ranjan Mahana (LEAD ENGG.) Benudhar sa(LM) | 0.75 | Tree Trimming & DT Cleaning | Dudukabahal,Telimalti,Majhapada,Gadiajhor
185 | Rourkela | Sundargarh | Subdega | Tangargaon | 2021-10-06 | 9:00 | 3:00PM | Pragya Ranjan Pati(LEAD ENGG.) Sandeep ku Patel(LM) | 1 | Tree Trimming & DT Cleaning | Tangargaon,Kiralaga,Kurumkel
186 | Rourkela | Sundargarh | Balisankara | Budabahal | 2021-10-06 | 9:00 | 3:00PM | Pragya Ranjan Pati(LEAD ENGG.) Sandeep ku Patel(LM) | 1 | Tree Trimming & DT Cleaning | Sagbahal,Bandega,Lulkidihi
187 | Rourkela | Sundargarh | Kinjirkela | Kinjirkela | 2021-10-06 | 9:00 | 3:00PM | Adhikari Debasis Das(ESO) Mitrabhanu Behera(LM) | 1.16 | AB switch Repair | Kinjirikela,Beheradihi, Gitpahadi
188 | Rourkela | Sundargarh | Kinjirkela | Bandhabahal | 2021-10-06 | 9:00 | 3:00PM | Adhikari Debasis Das(ESO) Raja Rameswar Naik(LM) | 0.5 | Tree Trimming & DT Cleaning | Gitpahadi,Beheradihi
189 | Rourkela | Sundargarh | Kinjirkela | Karuabahal | 2021-10-06 | 9:00 | 3:00PM | Adhikari Debasis Das(ESO) Bhabani Patel(LM) | 0.66 | Tree Trimming & DT Cleaning | Talpada,Jharmunda,Bankibahal
190 | Rourkela | Sundargarh | Kundukela | Kinjirima | 2021-10-06 | 9:00 | 3:00PM | Banamali Hota(ESO) Sagar Damsena(LM) | 1 | Tree Trimming, Restringing | Kinjirima ,Badabahal,Masanikani
191 | Sambalpur | Brajrajnagar | Muchbahal | Junadhihi feeder | 01.10.2021 | 08:00AM | 04:00PM | Minaketan Pradhan | 1.5MW |  | Gumadera town
192 | Sambalpur | Brajrajnagar | Muchbahal,Govindpur | Joraboga feeder, Town feeder , Range office line AB switch to be repair, Taptopi pada AB switch to be repair | 01.10.2021 | 08:00AM | 04:00PM | Biraj patel | 1.8MW |  | Belpahar
193 | Sambalpur | Brajrajnagar | Jharupada, Dhulunda | Jamgaon, Kanaktara | 01.10.2021 | 08:00AM | 04:00PM | Manas ranjan Mohanty | 1.5MW |  | Panchgaon
194 | Sambalpur | Jharsuguda | Kolabira | Jhadeswar | 2021-10-06 | 10:00am | 03:00pm | Chittaranjan Samal | 2mw | Tree trimming | Jhadeswar,Purnabasti Dalki,Sibrampur,Kadopada Phulchangri,Babupada, Bhuliapada,Millatcolony, Goudnagar,Bhati road,orampada
195 | Sambalpur | Jharsuguda | Arda | Dulesara | 2021-10-01 | 10:00am | 12:00pm | Bhopal kumar Chhatria | 1MW | conductor restringing | mangradihi
196 | Sambalpur | Jharsuguda | Bagdihi | Bhalupatra | 2021-10-03 | 01:00pm | 04:00pm | Amit Kumar Mallick | 2MW | Tree trimming | Bhalupatra,Bandhpali,Kelda Keldamal,thakuirpada, Champapada,saraspali,sialram,bhursimal,halkadhipa